VA Ann Arbor Healthcare System                                               	Policy Memorandum S-5

May 15, 2003

- EMERGENCY PREPAREDNESS PLAN

1.	PURPOSE:  Establish plans for coping with facility and community emergencies and disasters, address procedures that deal with facility and staff preparedness as well as patient management issues, and delegation of authority to assure prompt and effective action under emergency conditions.  The procedures and responsibilities contained in this policy and further explained in the Manual are for the guidance of all patients, employees, volunteers, and visitors associated with the VA Ann Arbor Healthcare System (VAAAHS) and should be followed to the fullest extent possible.

2.	POLICY:

a.	This policy outlines procedures to be followed in the event of internal or external emergencies occurring at this facility, such as fire, explosion, or major damage from some unforeseen causes such as lightning, falling aircraft, etc., and seeks to:

(1)	Prevent injuries to persons.

(2)	Rescue casualties and entrapped persons.

(3)	Provide emergency medical care of casualties.

(4)	Prevent damage and loss of property, particularly those records necessary for providing service to beneficiaries.

(5)	Maintain and restore necessary services.

(6)	Furnish casualty and damage information promptly.

(7)	Investigate and analyze cause of emergency and recommend corrective action.

(8)	Expand to treat casualties from a community disaster, and to provide back-up medical support to the Department of Defense (DoD).

b.	Priority of assistance shall be:

(1)	Patients

(2)	VAAAHS volunteers and visitors

(3)	Employees

(4)	Irreplaceable records and valuable property

(5)	Other property

c.	The attached manual is the master plan outlining procedures to be followed in event of internal and external disasters.  Specific plans follow this master plan outlining procedures to be followed in the event of specific disasters:

(1)	Fire

(2)	Community Disaster

(3)	Tornado

(4)	Snow Emergency

(5)	Utilities Failure

- Chemical Spill

(7)	Chemical, Radiological and Biological Terrorism

(8)	Bomb Threat

(9)	Earthquake

(10)	Civil Disturbance/Terrorist Act

(11)	Hospital Evacuation and Relocation

(12)	Communication Failure

(13	VA/DoD Contingency Plan

The Emergency Operations Center (EOC) will determine the plan to be used.  The nature of the disaster and the extent of the damage will determine the course of action.   The Veterans Affairs Ann Arbor Healthcare System Emergency Preparedness Plan uses the following four procedures to prepare for and respond to any and all disasters:

- Mitigation - Reduce the risk through anticipatory actions;

- Preparedness -  Steps taken before an emergency and/or disaster occurs, with focus on the

development of emergency operations plans and systems;

- Response – Focus on minimizing personal injury and property damage through emergency functions such as warning, evacuation, search and rescue, provision of shelter and medical service; and

- Recovery – Begins immediately following an emergency and/or disaster with efforts to restore minimum services and continues with longer-term efforts to return to normal or near normal  operating conditions.

3.	RESPONSIBILITIES:

a.	The regular day-to-day management organization and service responsibilities/authorities will be applicable at all times.  Under certain emergency circumstances, some service functions will be deferred or canceled pending termination of the emergency.  Under these conditions, employees in these services will be made available for other assignments within the Ann Arbor Healthcare System.

b.	Emergency Preparedness Coordinator (EPC). The Director has designated the Chief, Police Service as Emergency Preparedness Coordinator. EPC prepares, coordinates and maintains the Emergency Preparedness Plan, including initial training of all new employees and annual retraining of all employees to assure effective execution of all plans.  The Industrial Hygienist will serve as alternate EPC.  The EPC will activate drills at least twice a year.  One drill will involve an external emergency; the other activation will pertain to an internal emergency.  Activation of the Fire Plan should take place at least once per shift, per quarter in each patient occupied building.  A critique of each fire drill will take place within 48 hours by the Emergency Preparedness Coordinator.

c.	Safety and Occupational Health Committee will critique plan activation(s) within 30 calendar days. Each critique will review issues pertaining to facility preparedness, staff preparedness, and effective management of patients/casualties, during activation. Documentation of plan activation(s) will include problems identified during implementation, corrective actions taken, and staff involvement.

Follow-up on plan activation’s, each identified problem will be addressed by education, system changes, plan updates, reassignment of duties, equipment acquisition, or other corrective action.  Summary reports and critique findings will be forwarded for review by the facility's Safety Committee to the Administrative Executive Board, who monitors and evaluates the overall Emergency Preparedness program effectiveness on an ongoing basis.

- d.	Department Heads will

(1)	Services that are called upon to assist in emergency preparedness responses will prepare and maintain a Service specific policy (Service Plan for Disaster) in support of this Master Plan and route it to the Emergency Preparedness Coordinator annually. Each Service plan will address their individual service-specific recovery phase of a disaster, i.e.- reordering of supplies, processing claims, returning equipment settings to normal and whatever other actions need to be taken to return to a normal operating condition.

(2)	Maintain a current "Emergency Cascade Call Back Chart.”

(3)	Assign employees to assure adequate coverage of the unit responsibilities during semi-annual drills and/or actual disaster scenarios.

(4)	Train personnel annually to perform the details of the Service Plan and document training.

(5)	In the event of a disaster, ensures that all employees in his/her service are notified and make every effort to preserve all records, concentrating on those with highest priority.  Release unassigned personnel and/or those not immediately needed to the Manpower Pool.

e.	All Employees Responsibilities.

(1)	Remain familiar with the provisions of the Plan and execute them in an emergency.

(2)	Report for duty upon learning of a large-scale disaster if communication cannot be

established.

(3)	Review Roles and Responsibilities on an annual basis.

4.	EMERGENCY OPERATION CENTER (EOC):

a.    The principle will be followed that authority is never vacated. The Associate Director will assume the responsibility of activating and manning the EOC in the Director’s Suite. The alternate site for the EOC will the Administrative Officer of the Day’s office on the first floor of building 1 West.

If a key member of the EOC is not present, the person appointed to act in that capacity will assume the responsibilities of the EOC. This same principle applies to all roles and responsibilities associated with this Manual.

a.	The regular management and service responsibilities and authorities will be applicable at all times. Under some emergency circumstances, some service functions will be deferred or canceled pending termination of the emergency.  Under these conditions, employees of these services will be available for other assignments in the VA Ann Arbor Healthcare System.

b.	The VAAAHS Emergency Preparedness Coordinator is a member of the Washtenaw County and the City of Ann Arbor Emergency Management Committees.  As a member, the Emergency Preparedness Coordinator meets and coordinates with these committees monthly. In the event of an emergency of such proportions that assistance is needed from the local community, the VAAAHS has an agreement with Washtenaw County to use whatever resources are available through the Washtenaw Emergency Management Plan. The VAAAHS is part of the Washtenaw County Emergency Management Plan and can be called upon to assist in emergency situations. Accordingly, we can also share whatever resources the Washtenaw County Emergency Management system has for emergencies at our facility.

5.   	PROCEDURES FOR USE OF CONTRACT EQUIPMENT AT PATIENTS RESIDENCE:

a.	Patients that are issued oxygen equipment for use at their residence are given back-up cylinders in the event of cylinder failure and are instructed to call the 24 hour vendor call number for immediate assistance.

b.	Patients that are given pain control devices and nutrition devices for use at their residences are instructed to contact the 24 hour vendor call number for immediate assistance.

c.	All patients are instructed to call their local 911 for immediate medical assistance.

6.	REFERENCES:

o Executive Order 11490, February 26, 1963

o NFPA 1600 - Disaster Management - 1998 edition

o JCAHO Environment of Care Standards

o Circular 10-99-116, October 4, 1988, DM&S VA. Subj: VA/DoD Contingency Planning and National Disaster Medical Systems

o Public Law 97-174, Section 5011A, “Veterans Administration and Department of Defense Health Resources Sharing and Emergency Operations Act,” dated April 1992

o Executive Order 12658, “Assignment of Emergency Preparedness Responsibilities,” dated November 18, 1988; National Security Decision Directive 47 (1982)

o Public Law 93-288, “Robert T. Stafford Disaster Relief and Emergency Assistance Act,” as extended and amended by Public Law 100-707 (1988)

o Presidential Decision Directive #39

o Public Law 100-180, “Transportation of Certain Veterans on Department of Defense Aero medical Evacuation Aircraft,” dated December 5, 1987

o VA Directive 0320, Emergency Preparedness Planning

6.	RESCISSIONS:  Policy Memorandum S-5, dated 16 April 2002

7.	EXPIRATION:   May 2006

8.	FOLLOW-UP RESPONSIBILITY:  Emergency Preparedness Coordinator (07)

# James W. Roseborough

JAMES W. ROSEBOROUGH

Director

Attachments

Distribution: F

- VA Ann Arbor Healthcare System		Policy S-5

- May 15, 2003

- ACTIVATION PROCEDURES

The Emergency Operations Center (EOC) will determine the plan to use.  The nature of the disaster and the extent of the damage will determine the course of action.  If a fire, activate the Fire Plan first.

- ACTIVATION OF THE EMERGENCY PREPAREDNESS PLAN:

A.	Upon notification of an ongoing disaster within the community, the telephone operator will transfer the information or call to the Emergency Operations Center (EOC).  The EOC member will make the decision to implement all or part of this plan:

- During Administrative Hours: 8:00 AM to 4:30 PM - Mon. through Fri.

(1)	Medical Center Director (extension 5458)

(2)	Associate Director (extension 5455)

(3)	Chief of Staff (extension 7901, 7903)

(4) 	Chief of Police/Emergency Preparedness Coordinator (extension 7914)

(5)	Associate Director for Patient Care (extension 7920)

(6)	Chief Information Officer (extension 5733)

- Chief Resource Officer (extension 7972)

(8)	VISN 11 EOC Office. (separate but mandatory call by EOC)

- During Non-Administrative Hours:  The Administrative Officer of the Day (AOD) - (extension 5271 or beeper 348) will assume RESPONSIBILITIES for the Emergency Operations Center until relieved by one of those listed above, in order of priority.

B.	The telephone operator will stand by to receive instructions from the EOC.

C.	Emergency Operations Coordinator will determine the announcement to be made over the PA.

D.	If authorized, the telephone operator will announce:

"ATTENTION PLEASE.  THIS IS AN EMERGENCY PREPAREDNESS SITUATION.  PLEASE ACTIVATE (Insert name of plan given by EOC)."   Repeat once.

- For drills add: "THIS IS A DRILL.  THIS IS ONLY A DRILL."

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

All portable radios will be switched to the Facilities Management frequency and left there until the "All Clear" is given by the EOC with proper identification.  All messages will be given in plain English language. The Facilities Management radio frequency (channel-3) is the Emergency Preparedness frequency at all times.

(2) 	The Public Address (PA) System:

The PA system will be used to transmit actual fire, disaster, or disaster drill information. EOC will give information regarding a fire, drill, or disaster over the PA system.

E.	EOC will initiate the Facility Cascade Notification Plan.  After hours, the Top Management Team can be in communication via 3-way conference call to inform them of the disaster and initiate cascade notification.

F.	EOC may contact department heads by conference call to inform them of the disaster and the type of plan activated.

G.	COMMUNICATIONS:

1.	Radios:

All portable radios will be switched to the Facilities Management frequency and left there until the “All Clear” is given by the EOC with proper identification.  All messages will be given in plain English language.  The Facilities Management radio frequency (channel 3) is the Emergency Preparedness frequency at all times.

2.	The Public Address (PA) System:

The PA system will be used to transmit actual fire, disaster, or disaster drill information.  EOC will give information regarding a fire, drill, or disaster over the PA system.

- The "All Clear" will be given by the EOC, or by the Operator under authorization of the EOC.

Three PA announcements will be given for any drill, or actual emergency at all times. One for alarm location; one for emergency plan activation; and one for the “All Clear” notification.

H.  	QUICK ACTIVATION PROCEDURES:

Tornado and fire emergencies can occur at any time.  For this reason, Tornado or Fire Plans can be activated immediately, WITHOUT THE PRIOR ACTIVATION OF THE EOC.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

ACTIVATION of FIRE PLAN:

- (1)	Employee Responsibilities:

(a)	Upon discovery of fire, all employees will take immediate action at the site of the fire emergency while contacting the telephone operator at extension 3333; telephone operator will then activate the fire plan.  The acronym RACE is used to implement the following procedures:

R - Rescue			Rescue any people

A - Activate Alarm     	Pull fire alarm, call operator at extension 3333

C - Close             		Close all windows and doors

E - Extinguish         	Extinguish fire to the best ability using nearest fire

extinguisher

(b)	Upon hearing fire alarm, identify location of fire by locator charts adjacent to all fire alarm pull stations.  If the fire is not in your area, be alert for additional instructions.  Refrain from calling the telephone operator and using the elevators.

- (2)	Operator receives notification of fire alarm through one of the following sources:

SOURCE				OPERATOR PROCEDURE

VA Police			  	Obtain information and repeat back to source:

Call-in, or			  	Location of fire

personal contact		  	Name of reporter and callback extension

Alarm activation		  	Verify alarm location on printer or CRT screen. Call or

radio VA police to inform them of the alarm location.

Upon notification of FIRE, the telephone operator will:

Make a Public Address Announcement stating "WE HAVE A FIRE - ALARM ACTIVATION ON   (Location)."

- Repeat once.

VA Ann Arbor Healthcare System					       Policy S-5

May 15, 2003

- ACTIVATION of the TORNADO PLAN:

(1)	Telephone operator will announce over the PA System:  “ATTENTION PLEASE - This is an Emergency Preparedness Situation.  Please activate Tornado Warning Plan immediately.  There is currently a tornado warning for our area.”   Repeat once.

(2)	Activate telephone cascade notification IMMEDIATELY.

(3)	All Departments will notify staff IMMEDIATELY upon notification.

(4)	TAKE ALL PATIENTS BACK TO THEIR ASSIGNED ROOMS.

(a)	Move beds and patients away from windows.

(b)	Close window shades and/or drapes, and ALL DOORS: i.e., office, patient rooms, stairway and fire doors.

(c)	Secure patients away from glass sources immediately.

(d)	Ambulatory patients (including wheelchair patients) will be evacuated to inside corridors.

(e)	Patients must remain on the unit until an "All Clear" is issued.

(5)	All other outpatients, employees, and visitors must take cover away from any glass source or doorway.  Seating in center corridors is required.  EOC will instruct the telephone operator to notify the following:

REGULAR HOURS		                      NON-ADMINISTRATIVE HOURS

Chief, Police Service		                    Patient Care Coordinator

Associate Director for Patient Care                         Medical Center Police

Facilities Management                     	                    AOD

VA Ann Arbor Healthcare System			                   Policy S-5

May 15, 2003

- PLAN SELECTION & E.S.F. ACTIVATION(S)

Any plan activation will involve public address and telephone cascade notification. EOC will select plan before activation. E.S.F. #1 IS ALWAYS ACTIVATED FIRST, AFTER ANY PLAN IS SELECTED!!

- Emergency Support Function - Definitions:

- E.S.F. #1  -  Management

- E.S.F. #2  -  Resources

- E.S.F. #3  -  Facility Response Plan Activation

- E.S.F. #4  -  Safety and Security

- E.S.F. #5  -  Health, Medical, & Mass Casualty Care

- E.S.F. #6  - Community Support Services

- E.S.F. # 7 - Recovery Procedures

PLAN                                                    E.S.F. ACTIVATIONS

FIRE                                			2, 4, 5 , 6 & 7

COMMUNITY DISASTER		2, 4, 5, 6 & 7

TORNADO                             		2, 4, 5, 6 & 7

SNOW                                                    2 & 7

UTILITIES FAILURE			2, 4, 6 & 7

CHEMICAL SPILL			2, 4, 6 & 7

CHEMICAL, RADIOLOGICAL AND

BIOLOGICAL TERRORISM		2, 4, 5,  6 & 7

BOMB THREAT				2, 4, 6 & 7

EARTHQUAKE                          		2, 4, 5, 6 & 7

CIVIL DISORDER/                              2, 4, 6 & 7

TERRORIST ACT

HOSPITAL EVACUATION		2, 4, 5, 6 & 7

COMMUNICATION FAILURE	        2 & 6 & 7

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

VA/DoD CONTINGENCY		2, 4, 5 & 6 & 7

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- ACTIVATION ROLES & RESPONSIBILITIES

- ESF #1 - MANAGEMENT

- EMERGENCY OPERATIONS CENTER  (EOC)-  ESF #1

- Primary Location:  Director's office

Alternate Location:  AOD office/as determined by Director

- Off hours: AOD office

- EMERGENCY OPERATIONS COORDINATOR:

- During regular work hours (8:00 a.m. - 4:30 p.m., M-F):

(a)	Medical Center Director			5458

(b)	Associate Director of Operations   	5455

- Chief of Staff                                                                 7901, 7903

- Chief, Police Service/EPC/Incident Commander	7529, 7914 (page 734-670-1751)

- Associate Director for Patient Care	7920

(e)	Chief Information Officer			5733 (page 734 797-9877)

(g)	Chief Resource Officer			7972

- During other than normal working hours:

The AOD (beeper 348) will assume responsibility for the EOC until relieved by one of the above designees.

- RESPONSIBILITIES:

A.	Select and activate a plan, notifies operator of plan to announce. Initiate notification of the Emergency Operations Coordinator list. Coordinates information with the Incident Commander.

B.	Initiate the Facility Cascade Notification Plan, alerting all departments as to the type and location of the disaster and which disaster plan is in effect, via coordination with the telephone operator.

C.	Assure the safety of patients, visitors, and employees.

D.	Notify the VISN Director and the Area Emergency Manager (A.E.M.) when any activation occurs. After emergency or disaster has ended, the Director will forward to the VISN Director a   report of the emergency and its effects on the facility, including casualties, damages, etc.

E.	Establish and maintain liaison with Federal, State, County, and/or Local authorities, American Red Cross, police departments, and other health care institutions, as needed.

F.	Determine when to discontinue other health care activities.

G.  	Coordinate all information from all participants during drill or disaster scenario.  Coordinate all distribution of resources.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- INCIDENT COMMANDER  -  ESF #1

Coordinator: 		Chief, Police Service (07)

1st Alternate:	Industrial Hygienist (50IH)

Primary Location: 	Internal Emergency: Disaster Area

External Emergency: Disaster Site

- RESPONSIBILITIES:

A.	Communicates with VHA, other Federal, State, County, and City of Ann Arbor Emergency Preparedness agencies, and the EOC.  Manage all aspects of the disaster site as the Incident Commander, unless relieved by higher authority.

B.	Operates as liaison with EOC, Triage Physician and Triage Nurse.  Report needs to the EOC.

C.	Facility-specific Emergency Preparedness Coordinator (E.P.C.)

D.	Conducts a comprehensive investigation of the disaster and assesses property damage after all casualties are removed from disaster site.

E.	Interviews witnesses promptly, arrange for photographs of pertinent scenes (with Medical Media Department), analyzes conditions and utilizes experts of any specialization to establish facts or information, and preserve evidence in its original condition.

F.	Coordinates critique of disaster procedures and disaster drills.

G.	Conducts critique of event within two working days, and evaluates issues pertaining to facility and staff preparedness as well as patient management.  Document, identify, and recommend or implement corrective actions to address identified issues, and initiate revisions to this manual to coincide with identified changes.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- MEDIA or PUBLIC INFORMATION:  -  ESF #1

Primary Location:  Emergency Operation Center (EOC)

Alternate Location: Determined by the EOC

- Coordinator:	Public Affairs Officer (PAO)

- RESPONSIBILITIES:

A.	Coordinates factual information pertaining to number of casualties, fatalities, and receive all visitors to the hospital.  Establish contact with appropriate public media.  Release of information: exercise a strict censorship on releasing information with concurrence and approval of the EOC.

B.	During actual internal or external disaster, news releases or prepared statements on damage will be released by the PAO only.

C.	Facilities Maintenance Department will provide and erect signs directing visitors to the PAO.

D.	Representatives of the media are escorted to media room.  VA Police will enforce this restriction.

E.	A messenger will be assigned to the PAO in order to provide information from the EOC about the emergency situation.  Written brief detail is given to the messenger to provide the PAO with accurate information.

F.	Assigns support to the PAO by recording and photographing damage to property and injuries.  This will include photographic support to the Incident Commander, when requested.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- COMMUNICATIONS INFORMATION OFFICER  -  ESF #1 & #3

- Coordinator: Communication Information Officer (CIO)

- Alternate: CIO designee

Primary Location: EOC

Alternate Location: Determined by the EOC

- RESPONSIBILITIES:

A.	Communications during the disaster period will be maintained between the hospital and the community when appropriate by the most expedient means available, utilizing any or all of the following:

1.	Telephone when possible, but only for emergencies.

2. 	Portable radios and short wave radios.

3. 	Hospital Emergency Administrative Radio (H.E.A.R.) located in the telephone operators’ room.

4.	Messenger Department by employees in the office of the VA Police.

B.	Communications between key staff within the hospital will be maintained by telephone when possible.  Messenger service from the Manpower Pool will be utilized if necessary.  Distribution of portable radios to patient care wards will be done via coordination between the CIO, EOC, and the Manpower Pool.  The telephone operators will instruct portable Radio users on portable radio operation.

C.	CIO will survey the radio communications available for contact with their counterparts in the community, other owners or operators. Maintain inventory of emergency portable radios for emergency preparedness usage, within CIO.

D.	Communication lines between the Disaster Site and EOC will be maintained by the CIO via telephone or portable radio.

E.	CIO will also organize messenger service from the EOC, if required. At least one messenger will be on hand at all times to receive or dispatch TWX messages.

F.	If station communications become inoperable or partially inoperable, the CIO will acquire backup systems from the community or seek messenger service from the Manpower Pool.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- BUSINESS OFFICE  -  ESF #1

- Coordinator: Inpatient Supervisor/Business Office Manager

Alternate: Business Office Designee

Primary Location: EOC/TRIAGE

Alternate Location: Admissions Office

- RESPONSIBILITIES:

A.	Reports bed availability to EOC and AC&P; information is used for emergency bed assignments.

- Establishes and maintains a record for each casualty treated and/or hospitalized. Supply of Emergency Medical Tags will be maintained in the Utilization Management office or other appropriate areas.

C.	Reports casualty condition(s) changes of victims to EOC on concurrent basis.

D.	Maintains safekeeping and tracking of all personal valuables, clothing of patients and casualties.

E.	Removes and protects all clinical records from the disaster site or threatened areas.

F.	Provides administrative support, to the clinical staff in the casualty receiving area (Triage), the non-critical casualty receiving area, and the AOD, on off hours.

G.	Organizes and trains supervisors and teams for the following:

1. 	Registration

2.	Patient effects

3. 	Clinical records

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- EMERGENCY SUPPORT FUNCTIONS

- E.S.F. #2  -  RESOURCES

- FACILITIES MANAGEMENT OFFICER  -  ESF #2

- Coordinator: Facilities Management Officer

1st Alternate:  Chief Resource Officer

2nd Alternate: Human Resources Manager

Primary Location:  EOC

Alternate Location: Determined by the EOC

- RESPONSIBILITIES:

A.	Provides necessary resources for emergency repairs or restoration of all utilities, buildings, structures, and all other hospital facilities on the station.

B.	Notifies Emergency Transportation Pool and other teams about the emergency needs.

C.	Provides support for fire protection, stretchers for casualties, and immediately transport Chief, Police Service to the disaster site.

D.	Organizes immediate dispatch of transportation resources as ordered by EOC for any disaster site

E.	Secures and mans freight elevators for movement of casualties and supplies with the Manpower Pool.

- EMERGENCY TRANSPORTATION POOL: TRANSPORTATION (51GT)

A.	The Service Foreman, Transportation Section, is designated "Emergency Transportation Officer."

B.	Emergency Transportation Officer has responsibility to distribute, dispatch, rent, or acquire vehicles to meet this emergency requirement. The following procedures will be used:

(1)	Facility vehicles equipped with a radio connection to the medical center telephone operator and the garage will be utilized first.

(2)		When larger vehicles be required for evacuation of patients from the medical center, commercially owned buses are the most appropriate vehicles and should be contacted.

University of Michigan Transportation Department	(734)-764-3427

Ann Arbor Public Schools Transportation Department      	(734)-994-2330

Ann Arbor Transportation Authority	(734)-973-6500

GSA Motor Pool                                   	(313)-226-3193

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

(3)		Procedures for acquiring non-VA trucks or other emergency equipment:

(a)	Ann Arbor Police Department and Washtenaw County Sheriff's Department maintain a current list of companies providing emergency truck service.  After receiving a telephone call from the EOC, they will call the company.

(b)	Procedure to follow is detailed below:

(1)	In the event emergency vehicles are required to move equipment, supplies, linen, etc., the EOC will request that the Emergency Transportation Officer call the Ann Arbor Police Department (761-2425) and/or Washtenaw County Sheriffs Department (971-3911).

(2)	Emergency Transportation Officer will be prepared to provide the following information:

1	Name, title, and location

2	Reason for emergency

3	Number and size of truck(s) required

4	Enclosed or open type

5	Staging area for vehicles (coordinate with VA Police)

C.	 Should Battle Creek or Detroit VAMC drivers or vehicles be needed to support the emergency transportation pool, call the Engineering/Facility Management Departments at those facilities.

Medical Center			Telephone Number

- Battle Creek

Engineering Service			616-974-3784

- Detroit

Facility Engineering Section	313 576-1000, ext. 4175

Designee, Facility Engineering Section	313 576-1000, ext. 4175

D. 	Helicopter Support:

(1)	Contact Cleveland, Ohio, U.S. Coast Guard Rescue Center (District Headquarters) (1-800-321-4400) and ask for helicopter support for quick transportation of Ann Arbor patients to Detroit VAMC or other health care facilities.

(2)	Landing Site, VA Medical Center, Ann Arbor - Large field west of medical center adjacent to Fuller Road (Mitchell Field).

(3)	Landing Site, University of Michigan - Helicopter pad north of main hospital complex.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- RESOURCES  -  ESF #2

- Coordinator:   Chief Resource Officer

Alternate:  Human Resources Manager

Primary Location:  Resources Office, Bldg. #4

- RESPONSIBILITIES:

This department will perform its normal duties and RESPONSIBILITIES unless otherwise notified by the EOC.

- CENTRAL STERILE SUPPLY  -  ESF #2

- Coordinator:   Central Sterile Supply Supervisor

Alternate:  Designee, Central Sterile Supply

Primary Location:  Central Sterile Supply Office

Secondary Location:  Central Sterile Supply Section

- RESPONSIBILITIES:

A.	Provision of supply activities to meet the needs of the using departments during the emergency with priority attention given to Emergency Room, Operating Room and Triage.

B.	Institutes and maintains adequate records of all supplies and equipment issued.

C.	Coordinates with Emergency Medical Team and EOC on the procurement, maintenance and updating periodically of emergency dressing kit(s) and other supply carts during any plan activation.

D.	Assigns an employee to triage for the provision of supplies. Will bring the triage cart, universal precautions cart, a crash cart, and three needle disposal boxes.

E.	Coordinates with Nutrition and Food Department for additional food supplies if necessary.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- FACILITIES MAINTENANCE -  ESF #2, #3, #4

- Coordinator:  Facilities Maintenance Supervisor

Alternate: Designee, Facilities Maintenance

Primary Location: Facilities Maintenance Office

Alternate Location: Determined by the EOC

- RESPONSIBILITIES:

A.	Provides linen support in emergencies.  This includes the issuance of pillows, blankets, sheets, etc.

B.	At the announcement of any emergency plan, assigned Facilities Maintenance personnel will retrieve and erect emergency directional signs, including those that direct media and casualties to the correct locations.

C.	Perform fire-fighting duties as described in the Fire Plan.

D.	Facilities Maintenance personnel not assigned to specific RESPONSIBILITIES will report to the Manpower Pool until the "All Clear" is given.

E.	Facilities Maintenance employees will take a linen cart with sheets, towels, gowns and blankets to the triage area.  Also two (2) large trashcans with red garbage bags will be taken to the triage area.

F.	Facilities Maintenance supervisor during Non-Administrative hours will coordinate the Manpower Pool. Location will be at the supervisors’ discretion.

- NUTRITION & FOOD DEPARTMENT  -  ESF #2

- Coordinator:   Nutrition & Food Department Head

Alternate: Designated Lead Supervisor

Primary Location: Main Kitchen

- RESPONSIBILITIES:

A.	Provide for the expansion of services to patients, personnel, and volunteer workers.

B.	Nutrition & Food Department employees who report for emergency support duty and are not specifically assigned to food preparation will be sent to the Manpower Pool for duty assignments.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- HUMAN RESOURCES: (MANPOWER POOL)  -  ESF #2 & #5

- Coordinator:   HR Department Head

Alternate:  Designee, HRM Department

Primary Location: BSMT Floor West - Building #1W

Alternate Location: Determined by the EOC

- RESPONSIBILITIES:

A.	Operates the Manpower Pool via communication with EOC.

B.	Manpower Pool Officer will take a portable radio to manpower pool.  A backup portable radio will be available through the CIO.  Coordinate disbursement of orange vests and other proper identification to all Manpower Pool and other employees participating in the emergency scenario.

C.	Upon announcement of plan, all supervisors from Facilities Maintenance and Voluntary Department will immediately dispatch to the Manpower Pool, employees not otherwise assigned specific duties under this plan.

D.	HR Officer (or alternate) will immediately set up the Manpower Pool for employee registration and assignments.

E.	Any assistance from the Manpower Pool is coordinated through the EOC, this will include coordination of resources from the clinical pool and/or clinical resources.

F.	One Freight elevator (Clinical Addition) will be used for transportation of patients and supplies between the basement and the 7th floor.  One Freight Elevator will be used for access to floors 3 through 7.

G.	All equipment will be brought to the Manpower Pool and be distributed via coordination with the EOC.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- PHARMACY DEPARTMENT  -  ESF #2 & #5

- Coordinator:   Pharmacy Department Head

Alternate:  Designee, Pharmacy Department

Primary location:  Pharmacy Office

- RESPONSIBILITIES:

A.	Coordinates with the Emergency Medical Team and Casualty Treatment Area(s) with the procurement, maintenance, and periodical updating of medicine kits for trauma and cardiac emergency.

B.	Dispatches a Pharmacist and a Pharmacy Technician with appropriate supplies to the Emergency Medical Team in the ambulance garage (triage site) or area where an emergency triage area has been set up.

C.	A second Pharmacist and Pharmacy Technician are needed when the Triage Team responds off-site to receive casualties.  Blue Cart will accompany to off-site triage site.

- VOLUNTARY DEPARTMENT  -  ESF #2

- Coordinator:   Volunteer Coordinator

Alternate:  Designee

Primary Location:  Volunteer Office

- RESPONSIBILITIES:

A.	This Department will organize volunteers on duty and direct them to the Manpower Pool Area for assistance as needed.

B.	Volunteers will be assigned to assist outpatients as needed

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- E.S.F. #4  -  SAFETY & POLICE

- VA POLICE  -  ESF #4

- Coordinator: VA Police

1st Alternate:  Industrial Hygienist

2nd Alternate: Infection Control Practitioner

Primary Location:  Emergency Operations Center (EOC)

Alternate Location:  Determined by EOC

- RESPONSIBILITIES:

A.	When disaster signal is sounded, will secure the scene and will not allow any unauthorized traffic to approach near the building or pass on roads where fire equipment and pumps are located.  VA Police will be utilized to its fullest extent to provide adequate security.

B.	VA Police will:

1.	Control egress and ingress to hospital

2.	Control internal disaster site

3.	Seal off disaster casualty treatment areas (i.e., Radiology, Surgery and Laboratory.)

4.	Meet and direct incoming emergency vehicles to the triage area

5.	Notify AOD off-hours if local city sirens are heard

C.	Assist in distribution of emergency communication equipment as needed.

D.	Direct all media and news reporters to a site designated by the EOC.

E.	Provide traffic information as outlined in specific plans.

F.	Provides transportation security of Emergency Medical Triage Team and Chaplain from the EOC and Triage Staging Area to the disaster site.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- CHEMICAL SAFETY OFFICER  -  ESF #4

- Coordinator:	 Industrial Hygienist

1st Alternate:  Radiation Safety Officer

Primary Location:  Internal Emergency: Disaster Site

External Emergency: EOC

Alternate Location: Determined by the EOC

- RESPONSIBILITIES:

A.	Develops a comprehensive plan for specific protective, monitoring and decontamination measures related to the chemical affects of on-site fire or explosion.

B.	Organizes and supervises specialized teams that will be capable of conducting chemical monitoring.

C.	Maintains liaison with the Ann Arbor Fire Department, keeping abreast of technical developments and current training needs.

D.	Advises the EOC of the chemical hazards at the on-site disaster. Provides the most appropriate manner in which to handle them.

E.	Maintains communication with Incident Commander at all times. Serve as the Incident Commander during the Chemical Spill Plan activation.

- INFECTION CONTROL PRACTITIONER  -  ESF #4,& 5

- Coordinator:  Infection Control Practitioner

1st Alternate:   Infection Control Designee

Primary Location:  Emergency Operations Center

- RESPONSIBILITIES:

- A.	Maintains communication with clinical staff during treatment and/or decontamination of casualties.

- B.	Coordinates biohazard identification procedures with Industrial Hygienist during casualty treatment and preplanning of care.

- C.	Assists in technical expertise during identification of biohazard, chemical, pathological, or any unknown illness sustained by casualties.

- D.	Monitors usage of personal protective equipment during triage.  Notifies SPD when re-supply of PPE is needed in the PPE cart.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- E.S.F. #5  -  MEDICAL CARE & MASS CASUALTIES

- PROFESSIONAL DEPARTMENTS OFFICE:  -  ESF #5

- Coordinator:  Chief of Staff

1st Alternate:  ACOS/Ambulatory Care or Medicine Department Designee

2nd Alternate:  Chief, Medicine Service

Primary Location:  Chief of Staff’s Office

Alternate Location: Determined by the EOC

- RESPONSIBILITIES:

A.	Exercises overall Information and supervision of the professional care provided for casualties.

B.	Assures medical and/or surgical staff notified immediately upon the decision to utilize their specialty.

C.	Maintains liaison with clinical department chiefs to assure adequate Information and supervision of all aspects of professional care required.

D.	Informs EOC on the progress of casualty treatment associated with his staff.

- TRIAGE COORDINATION:

Triage requires clinical and administrative coordination of available resources to safely and efficiently sort casualties and dispatch them to the clinically indicated treatment area.

- PRIMARY TRIAGE LOCATION:  AMBULANCE GARAGE

- ALTERNATE LOCATION:  AT EOC’S DISCRETION

- Designated Triage Coordinators:

- (1)	Physician Triage Coordinator:

Surgery Department or Chief Surgical Resident, or

Surgeon of the Day (during non-administrative hours)

- RESPONSIBILITIES:

(a)	Supervises triage teams.

(b)	Examines and sorts casualties for further definitive treatment.

(c)	Obtains appropriate clinical supplies and personnel.

(d)	Maintains radio contact with EOC for additional assistance and availability of beds for patient transfer.

(e)	Arranges transfer of the dead to the morgue.

(f)	Directs stretcher-bearers.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- (2)	Patient Care Triage Coordinator:

Head Nurse, Ambulatory Care or Triage Staff RN,

or SICU RN (designated by the Patient Care Coordinator during non-administrative hours).

- RESPONSIBILITIES:

(a)	Assists in triage of patients and ordering appropriate clinical supplies and personnel.

(b)	During absence of Administrative Coordinator during Non-Administrative hours, directs manpower pool at the triage site.

- (3)	Administrative Coordinator: Associate Director for Operations

- RESPONSIBILITIES:  Responsible for efficient flow of patients at triage site.

(a)	Takes portable radio to triage site.

(b)	Assists Triage Coordinator in performing indicated administrative tasks and takes initiative in identifying and curtailing potential management problems in the delivery of health care.

(c)	Facilitates communication between Triage personnel, EOC, Incident Commander, and other appropriate personnel.

- Communicates need for additional resources to the EOC.

- Ensures smooth traffic flow through the triage area.

- Other Department RESPONSIBILITIES to the Triage Area:

(1)	Patient Care:

(a)	All Patient Care units will send stretcher, wheelchair, and rolling IV pole to triage area.

(b)	Patient Care personnel may be requested to assist at the triage area.

(2)	SPD:

Brings the triage supply box to the ambulance garage, along with a universal precaution cart, a crash cart, three (3) needle disposal boxes, and a Personal Protective Gear (PPE) cart.

(3)	Pharmacy:

Brings the triage pharmacy cart to the ambulance garage.  A staff pharmacist and

technician will assist with medication dispensing until cleared by the triage physician.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

(4)	 AOD/Utilization Management Department:

(a)	Maintains a medical records documentation kit, utilize during drills or actual disaster Scenarios.

(b)	A minimum of two (2) MIS persons will respond to the triage site during Administrative Hours to place ID tags on casualties, keeps a disaster patient log, and to initiate patient records.

(c)	During non-administrative hours, someone is assigned by the AOD or Patient Care Coordinator to do the above.

(5)	 Respiratory Therapy:  Bring one (1) "H" tank, three (3) "E" tanks, and three (3) ambu bags to the triage site.  A Respiratory Therapist will remain at the triage site to assist as designated.

(6)	 VA Police:  Direct traffic of ambulances and victims to the triage area.

(7)	 Facilities Maintenance:  Bring a linen cart with sheets, towels, gowns and blankets, and two (2) large trash cans with red garbage bags for disposal of contaminated waste.

(8) 	 Facilities Management Department:   Operate at least two (2) freight elevators for transport of supplies and equipment initially, and then transport of patients to designated treatment areas, when notified.

(9)	 Medicine/Surgery Department:   Additional physicians may be needed to assist in the triage     area. Coordination of all clinical support needs will be through the manpower pool.

- Triage Operation:

(1)	Casualties from an internal disaster will be transported from the disaster site to the triage area unless the EOC designates an alternate triage site. Coordination with the Incident Commander on any specific transportation route will be completed between the EOC and IC, prior to casualty or patient movement.

(2)	For an external community disaster, the Medical Resource Communication Center (MRCC) will contact the Telephone Operator or Chief, Police Service at the medical center to indicate the number and status of victims.  VA Police will direct ambulances and victims to the ambulance garage.

(3)	Upon activation of the Plan and the triage of casualties is known the Triage Team will assemble in the ambulance garage.

(4)	Departments responsible for support supplies and/or equipment for triage will go to the ambulance garage.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

(5)	The Manpower Pool will assemble in the auditorium - Building #1(or at a location designated by the EOC).  Employees are assigned to patient transport and assistance. An orange vest with a yellow horizontal stripe & personal VA name tag will identify employees.

(6) 	Utilization Management employees will initiate a casualty log, utilizing each name and social security number (if known), time of arrival, treatment received, and temporary assignment of medical care and care provider, of each casualty.  An ID tag and card is secured on each casualty. If the name and/or social security number is unknown, identification numbers beginning with "1," is used.

(7)	Physician and Patient Care personnel will examine patients and determine the clinically indicated treatment area:

- Medical Emergencies:   MICU, or the ER, if MICU beds are not available, then the

endoscopy unit on 7W in Building 1E.

Surgical Emergencies:  OR, SICU or ER if the OR cannot receive the patient 				immediately, PACU, endoscopy unit or cardiac observation unit.

Walking Wounded:  Subspecialty Clinics

Hysterical or Behavioral Emergencies:  Psychiatry Outpatient Clinic

Possible Fractures:  Radiology, 3rd floor

Burns (severe):  U of M Burn Unit

Pre-Op Unit:  Ambulatory surgery unit: 5 North

- Cardiac Observation Unit: 6 North

- Fractures/Post-Op:  5 North

(8)	Documentation in the patient record will include name, social security number, vital signs, allergies, chief problem, assigned treatment area, and intervention performed in the triage area.

(9)	Casualties sent to Radiology can be returned to the triage area after x-rays, or a physician can review the x-ray in Radiology.  Status of each x-rayed casualty will be relayed to EOC for further movement or care consideration.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- PATIENT CARE CLINICAL POOL:  -  ESF #5

- Coordinator:  Designee, Patient Care Department

- Primary Location:  Manpower Pool

Alternate Location: Determined by the EOC

- RESPONSIBILITIES:

A.	All expanded role Patient Care personnel and Patient Care personnel in orientation will report to the Patient Care Clinical Pool, located in the Man Power Pool for reassignment if necessary.

B.	Assign Patient Care personnel to triage, walking wounded area, or other Patient Care units as needs dictate.

C.	The Associate Director for Patient Care will obtain a radio via communication with the EOC.

- PATIENT CARE DEPARTMENT  -  ESF #5

- Coordinator: Associate Director for Patient Care

Alternate: Designee, Patient Care Department

Primary Location: EOC

- Secondary Location: Office of Associate Director for Patient Care

- RESPONSIBILITIES:

- A.	Communicate Plan Activation to Patient Care employees.

- B.	Coordinate Patient Care activities and Patient Care Clinical Pool.

- C.	Direct each Patient Care unit to send a stretcher, wheelchair, and rolling IV pole to the triage area.

- D.	Each Patient Care Coordinator on inpatient units will determine bed availability and potential discharges in collaboration with MIS.

- E.	Each Patient Care Coordinator will coordinate evacuation of ward if directed by the EOC

- F.	Radio communication needs of each Patient Care area during a disaster are reported to the EOC.  The EOC will direct the CIO to meet the needs of Patient Care units, such as the OR, the ICU’s, the ER, and the walking wounded area.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- AMBULATORY CARE  -  ESF #5

- Coordinator: ACOS, Ambulatory Care

- Alternate: Acting ACOS, Ambulatory Care or assigned ER Physician

Primary Location: Triage Area

External Emergency: Triage Area

- RESPONSIBILITIES:

A.	Provide medical and Patient Care to patients sent to the emergency room from the triage area.

B.	Provide medical and Patient Care to patients sent to the Subspecialty Clinic treatment room for "walking wounded,” type injuries.

C.	Contact EOC for additional clinical support personnel (physicians and nurses) if needed.

D.	Normal operation of Admitting and Outpatient Clinics will be determined contingent upon the nature or severity of the disaster.

- ANESTHESIA DEPARTMENT  -  ESF #5

- Coordinator:  Anesthesia Department Head

Alternate: Designee, Anesthesia Department

Primary Location:   Anesthesia Office

- RESPONSIBILITIES:

A.	Anesthesia Department will remain in communication with the Surgery Department in order to provide any necessary emergency anesthesiology services.

B.	Assign a Nurse Anesthetist to the Triage Area.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- RELATIVE WAITING AREA:  -  ESF #5

- Coordinator:	 Chaplain Department

Additional Support: Designee, Social Work Department

Primary Location: Chapel

- RESPONSIBILITIES:

A.	Assist in locating relatives and/or friends of casualties.

B.	Provide identified crisis intervention to relatives or friends arriving to see casualties.

C.	Initiate list of identified families waiting to see casualties.

- OUTPATIENT DISCHARGE AREA:  -  ESF #5

- Coordinator:  Volunteers designated by Voluntary Department

- Primary Location:  Extended Care Center ECC  Dining Room

- RESPONSIBILITIES:

- Supervises ambulatory patient movement to transportation vehicles or relocation within medical center.

- INPATIENT DISCHARGE UNIT:  -  ESF #5

- Coordinator:  Patient Care Coordinator ECC or designee

- Primary Location:  ECC Dining Room

- RESPONSIBILITIES:

A.	Ambulatory patients are sent to the ECC dining room with personal articles in a paper bag. The medical record and unit dose medications should accompany each patient.

B.	Patient Care Coordinators on the inpatient units will identify patients who could be discharged. This information will be given to the secretary to the AD/PCS.

C.	ECC Patient Care staff will request ECC patients remain out of the dining area to allow for use of the dining room as a discharge unit.

D.	Social Worker will maintain a log of patients entering or leaving the inpatient discharge unit.

E.	A Social Worker will facilitate transportation home for discharged patients.

F.	A list will be given to Nutrition & Food Production of those patients in the discharge/holding area so meals can be provided.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- DENTAL DEPARTMENT  -  ESF #5

- Coordinator:  Dental Department Head

Alternate: Designee, Dental Department

Primary Location: Dental Clinic

- RESPONSIBILITIES:

A.	When directed by EOC, department designee will provide a dental designee to the Emergency Room for emergency treatment of maxilla-facial and dental conditions.

B.	Provide a list of on-call dentists and dental designees who can report to the Operating Room.

- CHILD CARE AREA:  -  ESF #4 & #5

- Coordinator: Designated ECC Patient Care staff

- Location: ECC 2nd Floor Game Room

- RESPONSIBILITIES:

In the event of a large community disaster, some Ann Arbor staff will have to bring their children with them to report for duty. This area will be established for children of staff. Available volunteers and employees will assist in providing child-care. A log is kept of names of children, the parents and the department to which the employee is assigned. A list of the number of children will be provided to Nutrition & Food Department so meals can be provided.

- CHAPLAIN DEPARTMENT  -  ESF #5

- Coordinator:  Chaplain Department Head

Alternate: Available Chaplain

Primary Location: Emergency Operations Center

Secondary Location: Triage Area

- RESPONSIBILITIES:

A.	Provide ministerial services to casualties, patients, etc., where necessary. If necessary, will arrange for additional coverage by members of the clergy of various faiths.

B.	Assist in locating relatives or friends of casualties.

C.	Provide crisis intervention support to relatives or friends arriving to see casualties.

D.	Initiate list of families, friends, and relatives waiting to see casualties.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- DERMATOLOGY DEPARTMENT  -  ESF #5

- Coordinator:  Dermatology Department Head

Alternate: Designated staff

Primary Location:  Dermatology Office

- RESPONSIBILITIES:

A.	Determine action to be taken to discharge or place inpatients on leave of absence to make additional beds available.

B.	Remain available to provide clinical personnel at the disaster site, triage or surgical wards.

C.	Provide physician coverage to wards whenever necessary.

- PATHOLOGY & LABORATORY DEPARTMENT  -  ESF #5

- Coordinator:  Laboratory Department Head

Alternate: Designee Laboratory Department

Primary Location: Laboratory Department

- RESPONSIBILITIES:

A.	Provide for the expansion of laboratory departments to meet the needs of the emergency, including phlebotomists obtaining necessary lab tests if needed

B.	Upon notification by the EOC, send a Pathologist to the triage area to coordinate activation of expanded mortuary and blood donor units.

C.	Test priority will be given to casualties except those in ICU or Surgery.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- MEDICINE DEPARTMENT  -  ESF #5

- Coordinator:  Medical Department Head

Alternate:  Medical Resident

Designee: AO/Medical Department

Primary Location: Office of the Medical Department

- RESPONSIBILITIES:

A.	Determine when to discharge or place inpatients on leave of absence to make additional beds available.

B.	Establish communication with the EOC, and provide a list of available clinical staff for triage or surgical wards.

C.	Conduct all necessary training for Medical Department personnel to assure that the plan can be placed into operation with minimal supervision and direction.

D.	Provide physician coverage to medical or surgical wards whenever necessary.

- SURGERY DEPARTMENT  -  ESF #5

- Coordinator:  Surgery Department Head

Alternate: Designee, Surgery Department

Designee: AO/Surgery Department

Primary Location: Office of the Surgery Department

- RESPONSIBILITIES:

A.	Chief serves as the Triage Coordinator, and during irregular hours, the Surgical Officer of the Day SOD serves in this capacity.

B.	Determine discharge of or placement of inpatients on leave of absence to make additional beds available.

C.	Review OR schedule(s) for continuation or non-continuation of all surgery.

D.	Expand existing facilities to provide definitive treatment to casualties.

E.	Conduct all necessary training for Surgery Department staff to ensure that plan can be placed into operation with minimal supervision and direction. Training should include Otolaryngology staff.

F.	Establish communication with the EOC and provide a list of available clinical staff. Provide active surgical caseload to the EOC.  Establish and relay a list of available clinical staff for movement to either the Disaster Site or assignment in Triage. Send other clinical staff (including Otolaryngology) as requested, to any location identified by the EOC.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- PSYCHIATRY DEPARTMENT  -  ESF #5

- Coordinator:  Psychiatry Department Head

Alternate: Designee, Psychiatry Department

Primary Location: Psychiatric Outpatient Clinic

- RESPONSIBILITIES:

A.	Assistance to the Triage Officer for psychiatric problems diagnosed before or after triaged casualties.

B.	Assesses actions to be taken to discharge or place inpatients on leave of absence to make additional beds available.

C.	Assess the need to dispatch a Psychiatrist to the 8 West Day Room for receiving behavioral, psychiatric emergencies sent from triage area.

D.	Psychiatry Department assists Psychology Department, as needed.

E.	Provide debriefing to all employees after each drill or actual scenario, as part of the critique session after each drill, at the call of the EOC.

- PSYCHOLOGY DEPARTMENT  -  ESF #5

- Coordinator:  Psychology Department Head

Alternate: Designee, Psychology Department

Primary Location: Mental Hygiene Clinic

- RESPONSIBILITIES:

Assigned Psychologists, in conjunction with Psychiatry Department, will provide staff to provide counseling and support departments to casualty victims, families, etc. See Psychiatry Department.

- RADIOLOGY DEPARTMENT  -  ESF #5

- Coordinator:  Radiology Department Head

Alternate: Designated Physician, Radiology Department

Primary Location: Radiology Department Area

- RESPONSIBILITIES:

A.	Provide emergency diagnostic radiological service for all casualties. Provide a Radiologist to interpret x-ray findings.

B.	Provide one Radiology Technician to the Emergency Room to coordinate the provision of radiological services.

C.	Maintain communication with EOC for coordination of emergent radiological procedures.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- NEUROLOGY DEPARTMENT  -  ESF #5

- Coordinator:  Neurology Department Head

Alternate: Designee, Neurology Department

Primary Location: Office of the Neurology Department

- RESPONSIBILITIES:

A.	Assign clinical staff to assist medical and surgical teams. One physician is assigned to the triage area.

B.	Immediately determine action to be taken to discharge or place inpatients on leave of absence to make additional beds available.

- RESPIRATORY THERAPY  -  ESF #5

- Coordinator: Supervisor, Respiratory Therapy Department

Alternate: Acting Supervisor, Respiratory Therapy Department

Primary Location: Office, Respiratory Therapy Department

- RESPONSIBILITIES:

A.	Assign one Respiratory Therapist to triage area to assist in oxygen therapy.

B.	Provide one "H" tank, three "E" tanks and three ambu bags to Triage site.

C.	Two Respiratory Therapists will assist triage team when traveling off-site.

- SOCIAL WORK DEPARTMENT  -  ESF #5

- Coordinator:  Social Work Department Head

Alternate: Designee

Primary Location: Office of the Social Work Department

- RESPONSIBILITIES:

A.	Assist Utilization Management Department in the identification of patients for relocation to other facilities.

B.	Assist in locating relatives and friends of patients.

C.	Coordinate out-placement of patients with community agencies, and assist in the referral of patients and families to proper agencies.

D.	Provide crisis intervention to relatives and friends arriving to see patients in the chapel.

E.	Assist in ECC Dining Room with the discharged inpatients to obtain transportation home.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- PROSTHETIC AND SENSORY AID SECTION:  -  ESF #5

- Coordinator:  Prosthetic and Sensory Aid Section

Alternate: Prosthetic Clerk

Primary Location: Office of Prosthetic & Sensory Aid Section

- RESPONSIBILITIES:

This department will perform its normal RESPONSIBILITIES and duties unless otherwise notified by the EOC.

- VA Ann Arbor Healthcare System	                           Policy S-5

May 15, 2003

### E.S.F. #6 – Community Support Services

#### Coordinator: Emergency Preparedness Coordinator

Alternate: Industrial Hygienist

Primary Location: Disaster Scene

## Responsibilities:

It is the responsibility of the Emergency Preparedness Coordinator (EPC) to inform the Emergency Operation Center (EOC) in the event any type of support is needed from the immediate community, Washtenaw County. The following services listed have support agreements with the Veterans Affairs Ann Arbor Healthcare System:

- Ann Arbor Police Department – 994-2911

- Washtenaw County Sheriff’s Dept. –  (734) 971-1153

- Washtenaw County Emergency Operations Center – (734) 971-1153

- Washtenaw County Hazardous Materials Decontamination Team – (734) 971-1153

- American Red Cross (Washtenaw County)– (734) 971-5300

- Michigan State Police, Ypsilanti Post – (734) 483-9510

- Federal Bureau of Investigation (Ann Arbor) – (7340 995-1310

- Drug Enforcement Administration -  (313) 234-4001

- Bomb Dog – Washtenaw County Sheriffs Department – (734) 971-8400

- Toledo, Ohio Police Dept. – (419) 245-3149

VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

## E.S.F. # 7 – Recovery Procedures

- RESPONDING SERVICES

# Coordinator: Service Chiefs or Designee

- Primary Location: Disaster Site

- Alternate Location: Service Area of Responsibility

- Responsibilities:

- Recovery procedures start within the response phase by the repair of necessary resources, treatment of the wounded or sick or bringing systems that are down, back on line.

- Once the threat has been met and the disaster situation is primarily over, it is the responsibility of all responding services to do whatever is necessary to return to normal operations and readiness.

- Restoring Services and Recovering Costs:

- Restoring Operating Systems:

In the event that operating systems, including data management, utility or patient services are disrupted because of a direct system malfunction or as the result of another disaster, the Service Chief or designee for those systems will take immediate steps to restore service.

  - Where full service cannot be restored in a timely manner, temporary or partial service shall be provided to minimize disruption to patient care and other support services.

  - Full and permanent service shall be restored as soon as possible to all affected areas.

  - Initial funds to cover the cost of restoring operating systems shall be taken out of the specific service’s operating budget.

  - If additional funds are needed, emergency requests shall be submitted to the Director through the Associate Director for Operations.

- B.   Restoring Supplies and Equipment:

- a.  Service Chiefs are responsible for insuring that all supplies and equipment needed to execute

- their particular service related duties during an emergency are available at all times.

  - The condition of emergency equipment and stock of emergency supplies shall be checked at least annually and after all implementations of emergency preparedness drills.

  - Stock supplies that have been depleted shall be replaced within thirty days.

  - Emergency equipment that is not in good condition shall be repaired or replaced. If the equipment is not useable, back-up equipment shall be provided for use until repairs are completed or a replacement is delivered.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- b.  Acquisition & Material Management will process emergency orders for supplies and equipment needed for disaster management as priority requests.

- c.   During the period of the emergency, telephone requests for supplies and services will be accepted when needed to expedite services.

- C.  Recovering Costs of Emergency Response:

- After the period of the emergency has ended, Service Chiefs may submit requests to the Chief Resource Officer/Budget section for reimbursement of costs associated with restoring operating systems.

- D.   Medical Care Cost Recovery:

- Actions to recover medical care costs will be taken in accordance with the policies of the Medical Care Cost Recovery (MCCR) program.

- Recovery Process and Post Disaster Activities:

- Remove all supplies and resources that were brought to the disaster scene to individual service areas and assist in cleanup as necessary.

- Place personnel back into a normal working schedule as soon as possible.

- Inventory all equipment that was used for disaster response and reorder supplies that were used as part of the response. Bring supplies back to normal operating levels.

- Clean all equipment as necessary and place back into a serviceable condition.

- Review individual service response procedures and resources for effectiveness.

- Evaluate service response for additional training for emergency situations. Each service should ensure their personnel are trained on what their response would be in any of the situations covered by this emergency preparedness plan.

- Provide counseling as needed for employees as needed.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- ADDITIONAL SUPPORT FUNCTIONS

- NUCLEAR MEDICINE DEPARTMENT

- Coordinator:  Nuclear Medicine Department Head

Alternate: Designee, Nuclear Medicine Department

Primary Location: Office of the Nuclear Medicine Department

- RESPONSIBILITIES:

A.	Assigned clinical and technical staff will assist other clinical departments according to their discipline as determined by the Nuclear Medicine Department.

B.	Assure that the emergency preparedness plan can be placed into effect with minimal supervision and direction.

- EXTENDED CARE CENTER (ECC)

- Coordinator: Director, ECC

Alternate: Patient Care Manager, ECC

Primary Location: ECC

- RESPONSIBILITIES:

A.	Prepare ECC Dining Room to receive discharged inpatients.  Require ECC patients to remain in their rooms.  ECC Patient Care staff will monitor and log inpatients in the Discharge Holding Area.

B.	The Coordinator will immediately determine action to be taken to discharge or place inpatients on leave of absence to make additional beds available, via coordination with Social Work Department. Notify EOC of available beds.

C.	Coordinate preparation of the ECC game room for childcare, in the event of extensive community or national disaster.

D.	Communicate needs for childcare center to the EOC.

- OTOLARYNGOLOGY DEPARTMENT

This department reports to the Surgery Department Coordinator for assignment during an emergency plan activation.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- MEDICAL LIBRARY DEPARTMENT

- Coordinator:  Library Department Head

Alternate: Medical Librarian

Primary Location: Office of the Library Department

- RESPONSIBILITIES:

This department will perform its normal responsibilities and duties and provide support to Medical Media, when notified.

- RADIATION ONCOLOGY

- Coordinator:  Radiation Oncology Department Head

Primary Location: Office, Radiation Oncology Department

- RESPONSIBILITIES:

- This department will perform its normal RESPONSIBILITIES and duties unless otherwise notified.

- REHABILITATION MEDICINE DEPARTMENT

- Coordinator:  Rehabilitation Medicine Department Head

Alternate: Coordinator, Rehabilitation Medicine Department

Primary Location: Office of Rehabilitation Medicine Department

- RESPONSIBILITIES:

- Those employees not assigned to a special team or unit will report to the manpower pool for assignment.

- RESEARCH DEPARTMENT

- Coordinator: Associate Chief of Staff for Research

Alternate: Administrative Officer for R&D

Primary Location: Office, ACOS, Research

- RESPONSIBILITIES:

A.	Physicians and nurses assigned to Research Department will communicate their availability to the Emergency Operations Center.

B.	In the event of a chemical disaster, a research chemist will be assigned as an advisor to the Hazardous Materials Officer (Industrial Hygienist).

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- EDUCATION DEPARTMENT

- Coordinator: ACOS for Education

Primary Location: Office of the ACOS for Education

- RESPONSIBILITIES:

This department will perform its normal RESPONSIBILITIES and duties unless otherwise notified. The staff of the ACOS Education may be called upon to help coordinate training of employees of various departments about the Emergency Preparedness Plan.

- AUDIOLOGY AND SPEECH PATHOLOGY DEPARTMENT

- Coordinator:  Audiology and Speech Pathology Department Head

Primary Location:  Audiology & Speech Pathology Department

- RESPONSIBILITIES:

- This department will perform its normal RESPONSIBILITIES and duties unless otherwise notified.

- CANTEEN DEPARTMENT

- Coordinator:  Canteen Department

Alternate: Designee, Canteen Department

Primary Location: Office of the Canteen Officer

- RESPONSIBILITIES:

Assist Nutrition and Food Department in providing supplies and services to patients, personnel and volunteer workers.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- FIRE EMERGENCY - ESF #2, 3, 4, 5, 6 & 7

It is the responsibility of every employee to recognize the importance of fire prevention, and in the event of a fire, the necessity of ensuring its prompt Information in order to safeguard the lives of patients, visitors and employees.

- IMMEDIATELY AT THE SCENE OF FIRE:

A.	All employees will take immediate action upon discovery of a fire, after calling the telephone operator (dial 3333).

The acronym RACE is used to implement procedures.

R	Rescue			Rescue any people

A	Activate Alarm		Pull fire alarm

Call operator, 3333

C	Close			all windows and doors

E	Extinguish			fire to best of ability, using                                          						fire extinguisher

B.	All ceiling lights in evacuation routes, and patient occupied rooms are turned on.  Horizontal evacuation to adjacent wings will only be permitted at this time.

C.	Reassure patients.  (DO NOT SHOUT FIRE.)

D.	Ambulatory patients will be evacuated horizontally if necessary, through smoke barrier doors to a safe area as designated by the charge nurse or person in charge.

E.	Doors will be closed to rooms with bed patients. An employee will be left in the room to reassure the safety of patient(s). If there are not sufficient employees to assign to these rooms, the charge nurse will initiate patient movement on the ward to accommodate staffing levels.

- PERSONNEL ON THE SAME FLOOR OF DRILL OR FIRE:

A.	Close windows, all doors, and turn off fans.

B.	Reassure patients.  (DO NOT SHOUT FIRE.)

C.	Close doors to rooms with bed patients.  An employee is assigned in attendance, in each patient room, to reassure the safety of patients. In the event of an actual fire, be prepared to receive patients from the fire area, and evacuate only horizontally to an adjacent wing.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- SPECIFIC RESPONSIBILITIES:

A.	Facilities Management employees will respond to the fire and perform assigned duties.

B.	The doctor or nurse in charge of the patient area where the fire occurs will have full responsibility to direct horizontal patient evacuation and fire fighting until relieved by someone of higher authority, or arrival of the Ann Arbor Fire Department.  Patient evacuation will only involve horizontal evacuation to adjacent wings.

C.	Every supervisor when the fire occurs in a non-patient area will have full responsibility to direct horizontal evacuation and fire fighting until relieved by someone of higher authority, or on the arrival of the Ann Arbor Fire Department.

D.	Facilities Maintenance Personnel during regular working hours, Monday through Friday, 8:00 a.m. - 4:30 p.m., will report to the scene of the fire as assigned and will assist in fire fighting duties and assist in horizontal evacuation as directed by the person in charge.  In the event of a fire other than the day tour, Saturdays, Sundays, or holidays, all Facilities Maintenance employees on duty will report to the scene and assist in fire fighting duties and assist in horizontal evacuation as directed by the nurse or person in charge.

E.	Patient Care Department Personnel in the event of a fire other than the day tour, Saturdays, Sundays, or holidays, one Patient Care employee from each Patient Care unit will report to the scene of the fire and assist as directed by the nurse or person in charge.  Only horizontal evacuation to adjacent wings is permitted.

F.	Laboratory, Radiology & Food Department if a fire is in the working areas, persons will perform duties as appropriate under (A) and (B) above.  During irregular duty hours, all available employees will report to the scene of the fire and assist.

G.	All other employees are responsible to know the fire alarm location and be alert for additional instructions.  Employees will refrain from calling the telephone operator and from using the elevator. Vertical evacuation is not permitted without the consent of the Director or direction of the Ann Arbor Fire Chief.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- Fire Signals:

A.	Upon activation of any fire alarm device, a light will automatically show on the corresponding section of the annunciation panel, centrally located throughout the medical center in Stairway #1, Building #1.  Along with the indicator light on the annunciation panel, the numeric type bell tone will identify specific locations on the locator chart.

B.	Fire alarm locations are located in this manual and on a chart placed adjacent to all fire alarm pull stations.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- FIRE ALARM CODE SCHEDULE

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- COMMUNITY CASUALTY  -  ESF #2, 4, 5, 6 & 7

NOTE: This plan is a general guide, and is essential that everyone concerned maintain an awareness and attitude of complete flexibility to handle any situation as it develops. This is a general plan to encompass overall actions for any emergency situation to include a community disaster or emergency situation.

- Major Objectives:

1. 	Provide emergency surgical, medical, and hospital treatment for casualties without delay.

2.  Administer initial and continued medical care of casualties and critically ill non-casualty patients.

3.	Treat casualties to the limit of the medical center's ability to expand.

4.  Remain as self-sufficient as possible for all aspects of operation during the first 24 hours following the disaster.

5.   Coordinate blood supply requirements with American Red Cross.

6.   Adjust available personnel resources to meet expanding requirements for an indefinite period of time (12 our shifts).

7.   Coordinate resources (oxygen tanks, feeding pumps, Nebulizers and Aspirators) for VA outpatients assigned to our medical center.

- OPERATIONS:

- A.	Ambulance Reception

Location: Ambulance Garage

Alternate Location: Determined by the EOC

- B.	Triage

- Location: Ambulance Garage

Alternate Location: Determined by the EOC

(2)	Triage is the process of receiving, sorting and classification of the injured. Staffed by a sufficient number of physicians, nurses and designees to maintain a rapid movement of casualties.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- C.	Ambulatory Casualty Treatment

(l)	Location: 	Administrative hours-Subspecialty Clinic

Non-administrative hours - Emergency Room

(2)	Provide treatment for injuries such as minor laceration’s, minor fractures, first and some second-degree burns, hysteria, sprains, and contusions of a relatively minor nature.

- D.	Manpower Pool

(l)	Location: Basement #1W - Auditorium

(2)	Provide a ready force of medical center personnel for assignments as needed.

- E.	Public Information Center

(l)	Location: A917, Director's Conference Room

(2)	Designated Spokesman: Public Affairs Officer

- F.	Elevators

(l)	The west freight elevators in the clinical addition will be used to transport casualties and supplies. Elevator No.5 will operate between basement and the 3rd floor level for exclusive use in transporting supplies and patients. Elevator No.6 will operate between 4th and 9th floors. Freight elevators on the east end of the clinical addition will be used for routine daily functions during emergencies. Freight elevator operations during emergencies, is the responsibility of designated (locksmiths) Facilities Management employees only. West-end freight elevators are used during emergency scenarios, until the “all clear” is given. Additional need for elevator usage during any emergency will be determined by the EOC.

(2)	 Monitoring elevator operation, one Facilities Management supervisor will maintain radio contact with all elevators and relay instructions from the EOC to elevator operators.

- TRIAGE KIT:

A triage kit and carts have been assembled and are equipped with instruments and appliances for dealing with immediate life threatening situations. The kits are stored in SPD.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- EMERGENCY MEDICAL RECORD:

Individual disaster record packets will be used at the triage location to tag and record casualties. These tags will be utilized by the triage team and will accompany the patient at all times. Each record packet contains:

1 - Pre-numbered disaster tag with pre-numbered gummed labels

1 - Pre-numbered identification bracelet

1 - Pre-numbered Personal Property envelope

1 - Plastic clothing bag

1 - Pre-numbered identification tag for securing clothing bag

- EXPANSION OF FACILITIES:

- A.	Identification Procedure (Inpatients/Beds)

(l)	Immediately upon activation of the Community Casualty Plan, the Bed Reporting Officer, or the AOD will compile a listing by wards of the number of empty beds in the medical center.

(2)	Concurrently, ward physicians under the direction of department chiefs, will identify patients who can be immediately discharged or transferred to another health care facility. Identify inpatients that can be transferred to another ward, via reporting number and ward location of patients to the AC&P or AOD.

(3)	A combined listing of items 1 and 2 above will be furnished to the Physician Triage Officer.

- B.	DISCHARGE PROCEDURES:

Patients identified to be discharged or transferred will be instructed to collect their personal items at their bedside and report to the ECC Dining Room.

- C.	OUTPATIENTS:

Clinic physicians will identify scheduled and walk-in patients who may be immediately released. These patients will be directed to the ECC Dining Room where they will be released.

- LIMITATION OF CARE:

This plan is based on the assumption that this medical center possesses staff and facilities to meet any type of community related emergency involving casualties. However, in the event that our facilities are strained to the limits of our ability to cope with the situation, the EOC will arrange for transportation of casualties to another facility where definitive medical care can be administered.

PHARMACY CACHE:

The pharmaceutical cache is a stockpile of medication and medical supplies to support patient care in the event of a significant incident related to Weapons of Mass Destruction (WMD).  The cache is designed to maintain the infrastructure of the facility and ensure supplies are available to treat patients, staff, and individuals seeking treatment during a WMD event.  The cache will be made available to the community at the discretion of the Director. See Appendix A.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- TORNADO  -  ESF #2, 3, 4, 5, 6 & 7

- WATCH PHASE NOTIFICATION:

Tornado Watch - Severe weather conditions exist which could spawn a tornado, severe thunderstorms will occur at a minimum, which could involve strong winds and heavy rainfall, severe lightning, and/or flash flooding.

A.	Telephone Operator will be notified by the Washtenaw County Sheriff or City of Ann Arbor Office of Emergency Preparedness via the Quick Call Device Activation located in the telephone operator's area, or by radio or television media.  Sirens will not sound in a watch phase.

B.	Upon notification that a Tornado Watch is in effect, the telephone operator will notify the Chief, Police Service, Secretary to the Director, and Associate Director for Patient Care during administrative hours and the AOD during non-administration hours.

C.	Tornado Warning Plan will be reviewed by all key staff and/or Departments notified at this time.

- WARNING PHASE NOTIFICATION

Tornado Warning - A tornado or funnel cloud has been observed and is within a 10-mile radius of the VAMC.

A.	The telephone operator will be notified via the Quick Call Device activation, located in the telephone operator's area.

B.	Local city sirens are activated.  This emergency notification alert tone warns area residents to take cover immediately!  This alert tone must not be taken lightly.

C.	Emergency Operations Center (EOC) will be notified by the telephone operator upon activation of sirens, or Quick Call Device activation, or notification from a media source (i.e. radio or television broadcast). Tornado Warning Plan must be activated at this time.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- TORNADO WARNING ACTIVATION PROCEDURES

- Telephone operator will announce over the PA system:

“ATTENTION PLEASE.  THIS IS AN EMERGENCY PREPAREDNESS SITUATION.  PLEASE ACTIVATE TORNADO WARNING PLAN IMMEDIATELY.”  Repeat once.

A.	Activate telephone cascade notification IMMEDIATELY.

B.	IMMEDIATE notification to all working employees is mandatory.

C.	TAKE ALL PATIENTS TO THEIR ASSIGNED ROOMS.

D.	Move beds and patients away from windows.

E.         Close window shades and/or drapes, and ALL DOORS: i.e., office, patient room, stairway, and fire doors.

F.	Secure patients away from glass sources immediately.

G.	Ambulatory patients (including wheelchair patients) will be evacuated to inside corridors.

H.	Patients must remain on the unit until an "ALL CLEAR" is issued.

I.	All other outpatients, employees, and visitors must take cover away from any glass source or doorway.  Seating in center corridors is required. Employees in the T-3 trailer will take cover in Building #3 basement.

J.	VA Police or other staff will instruct all patients, staff, and visitors in the smoking shelter (west admissions entrance, Bldg. 1W) to take cover in the 1North corridor; this includes the offices in T-2, Ambulatory Care Outpatient Area.

K.	Patient Care staff will instruct all patients and visitors in the smoking shelter at the ECC I west entrance to take cover in the ECC I center corridor.

L.	Cancel elective surgery, secure patients away from glass sources, anesthetic gas usage, and any doorway.

M.	Suspend all unnecessary computer usage and usage of electricity. Turn off computers outside of patient care areas.

N.	Cancel all activities in auditorium and evacuate to the basement corridor adjacent to the recreation office.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- Prepare to shift to Community Disaster Plan.

Resume regular working operations after the "ALL CLEAR" is given and heard!  Assessment of damage to the medical center will be done immediately by Facilities Management Department.  This will delay any immediate issuance of the "ALL CLEAR" by the Chief, Police Service or VA Police.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- SNOW EMERGENCY  -  ESF #2, 3, 6 & 7

- PURPOSE:

A.	Accommodates patients, employees, and visitors during the time snow or related inclement weather prevent routine mobility and necessitates furnishing or arranging for lodging and meals.

B.	To enhance visitor identification and information in a snow disaster.

C.	Identify and transport critical medical personnel in a snow disaster.

D.	To form and maintain a personnel pool during a snow disaster.

E.	To facilitate communication with Federal, state, and local disaster officials and the news media during a snow disaster.

- RESPONSIBILITY:

A.	The EOC will activate this plan in accordance with this policy.

B. 	The following department heads have the primary responsibility to implement, upon proper notification, key phases of the snow disaster plan:

Department Head                      	Key Phase

Facilities Management Department	Arrange room and board and mobilize 	volunteers & visitors

Nutrition & Food Department	Provide meals.

Facilities Management Department 	Arrange general transportation.

Organize and carry out snow removal

Business Office -  Bed Reporting Officer	Bed Information.

Patient Care Department	Identify and mobilize critical medical 	people.

Human Resources Department	Maintain emergency manpower pool.

C.	Specific Roles and Responsibilities in a snow disaster will be itemized in each department's internal disaster plan.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- UTILITIES FAILURE  -  ESF #2, 3, 4, 6 & 7

- Electricity Failure

- Elevator/Dumbwaiter Failure

- Domestic Water Supply

- Steam Distribution

- HVAC Systems

- Medical Gas Systems

- Vacuum Systems

- Sanitary Sewer System

- Nitrous Oxide & Nitrogen

- Oxygen Supply

- Communications System - Telephone

- Fire Alarm System

- PRIMARY RESPONSE STEPS DURING ANY INTERRUPTION or OUTAGE

A.	Identify type of outage or interruption.

B.	Notify immediate supervisor.

C.	Reference Utility Failure Response Summary

D.	Secure patient care activities.  Restrict patient movement to patient care areas only.

E.	Do not interrupt working activities.  Continue to adapt to any utility interruption until it corrected.

F.	Be prepared to shift to another plan as directed by immediate supervisor.

G.	Wait for the "All Clear" before resuming normal working conditions.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- UTILITY FAILURE RESPONSE SUMMARY

| System: | Phone Contact: | Actions |
| --- | --- | --- |
| Domestic Water | D-5437 EW – 7914 | D – Fac Mgmt Svc. EW – Notify VA Police |
| Electrical Distribution (Power Loss) | D – 5437 EW – 7914 | D – Fac Mgmt Svc immediately EW – Notify VA Police |
| Elevators | D – 5437 EW – 7914 | D – Fac Mgmt Svc EW – Notify VA Police |
| Fire Alarm | D – 5437 EW – 7914 | D/EW – Utilize telephone system as back up Dial 333 to report fire Follow up w/Fac Mgmt Svc for repair |
| HVAC Systems | D – 5437 EW – 7914 | D – Fac Mgmt Svc EW – Notify VA Police |
| Medical Air | D – 5437/5212 EW - 7914 | D – Fac Mgmt Svc Respiratory Therapy (5212) for portable compressor EW – Notify VA Police |
| Nitrous Oxide & Nitrogen | D – 5437 EW – 7914 | D – Fac Mgmt Svc EW – Notify VA Police |
| Nurse Call | D – 5437 EW – 7914 | D – Fac Mgmt Svc EW – Notify VA Police |
| Oxygen | D – 5437/5212 EW – 7914 | D – Fac Mgmt Svc Respiratory Therapy (5212) for portable oxygen cylinder EW – Notify VA Police |
| Pagers | D – 0 EW – 0 | D/EW – Notify Switchboard operator Follow up with IRM for repair |
| Sanitary Sewer | D – 5437 EW – 7914 | D – Fac Mgmt Svc EW – Notify VA Police Follow up w/Fac Maint for clean up |
| Steam Distribution | D – 5437 EW – 7914 | D – Fac Mgmt Svc EW – Notify VA Police |
| Telephone | N/A N/A | D – Notify switchboard in person or by runner EW – Notify switchboard or AOD in person or by Runner |
| Vacuum | D – 5437/5375 EW – 7914 | D – Fac Mgmt Svc SPD (5375) for portable suction pump EW – Notify VA Police |

D = Day shift or normal working hours               EW = Evenings, weekends or anything other than normal working hours.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- CHEMICAL SPILL  -  ESF #2, 4, 6 & 7

- GENERAL:

Unplanned releases of toxic or hazardous chemicals may threaten the health and well being of hospital employees, patients, and visitors, as well as the surrounding community.  It is the responsibility of all hospital employees to recognize potential hazards and to be familiar with the proper actions to take in response to a spill or other accident.

- RESPONSIBILITIES:

A.	The Industrial Hygienist is responsible for the development and implementation of an on-site spill response program.

B.	The Industrial Hygienist is responsible for training the chief of each Department in the proper responses to a spill or other emergency.

C.	Department heads are responsible for training their employees.

D.	The Industrial Hygienist is responsible for coordinating the on-site spill response, and for providing communication with local police and/or fire (Haz-Mat) officials.

E.	All hospital employees are responsible for notifying their supervisor of potentially hazardous conditions.

- GENERAL PROCEDURES FOR SPILL RESPONSE:

A.	Clear the area of unnecessary personnel.

B.	Determine if the spill can be handled with an on-site spill kit.  If the spill cannot be handled with a spill kit, call extension 3333 for plan activation.

C.	The responding personnel will then decide whether or not to contact Haz-Mat officials.

D.	Shift to Community Disaster Plan if casualties develop due to a large spill/emergency.

- NOTIFICATION:

At all times, the EOC is involved in all communication and decision making during the activities of this plan.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

CHEMICAL, RADIOLOGICAL & BIOLOGICAL TERRORISM –ESF 2, 4, 5, 6 & 7

General: It is the policy of the VA Ann Arbor Healthcare System to provide for the safe management of patients contaminated with hazardous materials in compliance with 29 CFR 1910.120 and recommendations set forth by JCAHO.

RESPONSIBILITIES:

A.  The Industrial Hygienist and Radiation Safety Officer are responsible for the deployment and implementation of an on-site decontamination team.

B.  Only Emergency Treatment Room (ETR) staff that have received patient decontamination training will be responsible for medical management and decontamination of patients.

C.  All hospital employees are responsible for notifying their supervisor should they suspect they are dealing with a chemical, radiological or biological terrorism event.

GENERAL PROCEDURES:

A.  Should an event occur and a patient(s) requiring decontamination arrive; they should be restricted to the ambulance bay.

B.  The decontamination team shall assemble the decontamination station in the ambulance bay and prepare to decontaminate.

C.  The ETR will be cleared of all patients and non-essential personnel not involved with the event.

D.  The Medical Center Police will secure the ambulance bay and prevent traffic from entering.

E.  All EMS traffic will be diverted to other local hospitals.

F.  After decontamination, patients are to be taken to the ETR for appropriate care and follow-up.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- BOMB THREAT  -  ESF #2, 4, 6 & 7

- PURPOSE:

A.	To provide a procedure for proper notification of designated personnel and non-VA authorities upon receipt of an oral or written warning that a bomb or similar missile or device has been planted at this medical center.

B.	To provide channels for expanding search operations and evacuation of patients.

C.	To activate emergency care or protective or restoration procedures should the bomb or similar device explode.

- RECEIPT OF THREATENING TELEPHONE CALLS:

The telephone switchboard will usually be the means through which these calls are received.  Operators or any person receiving a bomb threat must remain calm and keep the following in mind:

1.	Do not attempt to have the call traced.

2.	Keep the caller in conversation.  This may lead to valuable information as to their identity.  Note anything in the background, such as music, voices, aircraft, etc., that might distinguish the perpetrator.  Note this information on the "Initial Bomb Threat Report" (see attached).

3.	Ask questions.  Note if the caller indicates knowledge of the medical center by their description of locations.  Get them to give a definite area where the bomb may explode.  Note any accent or foreign language. Remember, the longer a person talks, the more we can learn about them.

4.	All such calls are to be treated as authentic.  Do not ignore it and hope that nothing will happen.

5.	Notify only the VA Police.  They will notify EOC and any other outside agencies on an as-needed basis.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- MEDICAL CENTER DIRECTOR OR RANKING LAW ENFORCEMENT OFFICER:

A.	Offer full and complete cooperation with all law enforcement agencies. Activate and open doors to areas that they request.

B.	Notify the telephone operator to notify the Chief of VA Police, Facilities Management Service, Associate Director for Patient Care Services, and the AOD.

C.	Do not inform patients or employees of the incident unless told to do so by person in charge.  In the event the patients do learn of the bomb threat, reassure them that all is well and being taken care of.

- SEARCH PROCEDURES:

A.	Facilities Management Service has basic responsibility for conducting a visual search only, of the medical center in cooperation with police and others involved.  (NOTE: DO NOT TOUCH, MOVE, OR OPEN ANY OBJECT, CONTAINER, OR DOOR WITHOUT PRIOR NOTIFICATION TO THE RANKING LAW ENFORCEMENT PERSON IN CHARGE.)  Medical center master keys should be temporarily turned over to the designated law enforcement officer when asked to do so.

(1)	Portable radios and/or cellular telephones should not be used near the suspected location of explosive device.  VA Police will coordinate all information transmitted on any portable radio.  Telephones (not cellular telephones) should be considered the primary source of communication outside of verbal communication.

B.	The following areas are usually places where a bomb might be left:

(1)	Public areas (lobby, entrances, Canteen, stairways, hallways, etc.).

(2)	Outside areas surrounding building.

(3)	In the lobby concealed in potted plants, stuffed into or behind chairs.

(4)	Public telephone booths on all floors.

(5)	Admitting office and waiting area.

(6)	Toilets, male and female.

(7)	Storerooms and janitor closets.

(8)	Locker rooms.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

C.	In such situations, the decision to evacuate any ward, floor, or medical center building is up to the Director (or person acting in that capacity), in conjunction with the ranking law enforcement official. The police may recommend evacuation of the medical center, the decision to do so will come from the Director, Associate Director, or Chief of Staff within the EOC.

- LOCATED BOMB:

A.	Any unusual package or tubular objects are to be suspect.

B.	If an unusual object or package is found, DO NOT TOUCH IT.

C.	Clear the area and attempt to isolate the object by closing doors. Obtain professional assistance to isolate the area and follow instructions.

D.	When police arrive, allow them to take charge. Offer them full cooperation and comply with their instructions.

- ASSISTANCE:

THE VA POLICE WILL CALL  911 FOR ASSISTANCE, IF NEEDED, WHEN A BOMB THREAT HAS OCCURRED AT THE ANN ARBOR VA MEDICAL CENTER.

If the bomb explodes and the resulting injuries and damage are declared an internal disaster, the Fire Emergency Plan will be used and modified as the situation dictates.

* Exclude Picric Acid pick-up and disposal.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

BOMB THREAT CALL CHECKLIST

1.	Wording of Threat:  __________________________________________________________________
________________________________________________________________________________________
________________________________________________________________________________________

2.	Questions to Ask:  (Record response and repeat in sequence).

a.	When will the bomb explode?           ________________A.M.            _________________P.M.

b.	Where is the bomb?                         __________________________________________________

c.	What building is it in?                     __________________________________________________

d.	What floor is it on?                         __________________________________________________

e.	What does it look like?                  __________________________________________________

f.	Where did you place it?                   __________________________________________________

g.	Who are you?                                __________________________________________________

h.	Can we help you?                          __________________________________________________

3.	Caller’s Voice and Manner Description:

Was he/she:

YES       NO                                         YES     NO                           YES         NO

Calm	        ______   ______	Laughing          _____  _____	Raspy         ______   ______

Angry	        ______   ______	Sobbing            _____  _____	Deep           ______   ______

Excited	        ______   ______	Distinct            _____  _____	Crackling    ______   ______

Slow	        ______   ______	Slurred             _____  _____	Accent         ______   ______

Rapid	        ______   ______	Nasal               _____  _____	Disguised    ______   ______

Soft		        ______   ______	Stutter              _____  _____	Male           ______   ______

Loud	        ______   ______	Lisp                 _____  _____	Female        ______   ______

Profane	        ______   ______	Incoherent        _____  _____	Familiar*     ______   ______

*If familiar, whom did caller sound like?  ___________________________________________________

4.	Date and Time Call Received:          ____________________________________________________

5.	Receiver’s Name:        	____________________________________________________

DELIVER TO EMERGENCY OPERATIONS CENTER IMMEDIATELY

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

THREAT RECORD

1.	Exact Wording of Threat:   _____________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________

2.	A. 	Person Making the Threat:

(1)  Name  ______________________________________________________________________

(2)  Address  ____________________________________________________________________

(3)  Patient   ______     Employee  ______     Visitor  ______     Other  _____

B.	Describe Circumstances Surrounding Threat:

_______________________________________________________________________________________

_______________________________________________________________________________________

3.	Threatening Person’s Voice and Manner:

YES       NO                                         YES     NO                           YES         NO

Calm	        ______   ______	Laughing          _____  _____	Raspy         ______   ______

Angry	        ______   ______	Sobbing            _____  _____	Deep           ______   ______

Excited	        ______   ______	Distinct            _____  _____	Crackling    ______   ______

Slow	        ______   ______	Slurred             _____  _____	Accent         ______   ______

Rapid	        ______   ______	Nasal               _____  _____	Disguised    ______   ______

Soft                 ______   ______	Stutter              _____  _____	Male           ______   ______

4.	Date and Time of Threat:  ___________________________________________________________

5.	Person Reporting Threat:  ___________________________________________________________

6.	Witnesses:  _______________________________________________________________________

_______________________________________________________________________

DELIVER TO EMERGENCY OPERATIONS CENTER IMMEDIATELY

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

EARTHQUAKE  -  ESF #2, 3, 4, 5, 6 & 7

An Earthquake can occur at any time without any prior notification. An earthquake of 4.1 to 5.4 Richter Scale is possible in Southeastern Michigan. This plan is a guide for early response and procedures in the event an actual earthquake occurs at this medical center.

- INITIAL RESPONSE AND INSTRUCTIONS:

A.	You will not have advance warning, and will not be able to take action during the initial quake.

B.	Respond by stepping under a doorway or take refuge under a desk or bed.

C.	Protect your head from injury.

D.	Use these same responses to protect any patient within your work area.

E.	Remain calm. Do not permit patients or your fellow employees to know that you’re excited or scared (so is everyone else).

F.	In Building #1, do not be surprised if the fire alarms and sprinkler system are activated.

G.	Tune in am/fm radio (if you have one) for information as to the extent of community damage.

H.	Public Address announcements will be made if the system is operational and actively manned.

- AFTER THE QUAKE:

A.	Instruct patients, employees, and visitors to take precautions against additional aftershocks (i.e., stay away from windows and out from under bookshelves, light fixtures, and equipment which may fall and hurt someone).

B.	Caution against using any elevator. Use stairwells after a vertical evacuation order has been given by the EOC or Ann Arbor Fire Department.

C.	Do not allow anyone to run out into the street.

D.	Direct movement of bed patients from any obvious hazards.

E.	Designate someone who is calm and capable to remain with any person who is excited or hysterical.

F.	Request additional assistance as necessary; set up a runner or other form of communication between the EOC and your site.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

G.	Check patient, visitors, and employees to see if any require medical attention and provide as needed.

- CONTINUAL OBSERVATION FOR HAZARDS:

A.	Check for fires if you see a fire activate the fire alarm system, or call 3333, or get a messenger down to the EOC.  Get the message out first; you are already caring for patients.

B.	If you smell gas, report it to EOC.

C.	If electrical equipment shows damage, report it to EOC.

D.	Turn off any electrical equipment not being used except lights and life support equipment (i.e., computers, equipment, anything that you are not using and that is drawing electrical current).

E.	Report to EOC any broken water or sewer pipes, or any structural damage to the building.

F.	Continue efforts to assure patients, visitors, and employees of their safety. Make every effort to carry out routine procedures. Remember to defend in place. You are not the only one experiencing difficulties at the present time.

- ADDITIONAL PRECAUTIONS:

A.	Do not turn on any additional electrical switches.

B.	If you smell gas, do not light matches or a lighter.

C.	Do not use in-house telephones until you are cleared to do so.

D.	Do not eat or drink anything from an open container near shattered glass.

E.	Watch for wandering patients or employees, control your census of staff and patients until the evacuation or rescue starts.

- SUMMATION:

A.	Help is on the way; stay safe and alive by not being a hero.

B.	As soon as any form of assistance is operational, it will come to you.

C.	Prepare to shift to the Community Casualty Plan.

D.	Work together.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- CIVIL DISTURBANCE/TERRORIST ACT - ESF #2, 4, 6 & 7

NOTE: As circumstances dictate, the provisions of Community Disaster/Terrorist Act Plan will be effected in addition to the instructions contained in this chapter.

- OBJECTIVES:

To provide countermeasure for medical center emergencies resulting from riots, civil disturbances, or individuals threatening violence.

- GENERAL PROCEDURES:

A.	Medical center personnel should be prepared for a possible five-day emergency.  Since emergencies can last for a long time, it is important that personnel understand this possibility and be prepared for it. Working shifts of up to 12 hours is a possibility.

B.	Department heads should be prepared for an increased rate of emergency admissions during the first days of the emergency; staffing plans should make provision for this contingency.

C.	Admissions personnel should expect the number of incoming patients to increase as darkness approaches.

D.	Medical center personnel should draw shades and drapes at dusk and use a minimum of light throughout the facility.

- RESPONSIBILITIES OF SERVICE CHIEFS:

- A.	Nutrition & Food Department:

(l)	Emergency feeding operation will be implemented.

(2)	Arrangements will include the possibility of feeding families of employees, police, and military personnel for up to five days.

(3)	Disposable dishes/cups/utensils will be used to the extent possible at the discretion of EOC.

- B.	Patient Care Department:

(l)	Regular medical center services/departments will be maintained, but visitation privileges will be canceled.

(2) 	Patients will be confined to their bedsides/wards.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

C.	Surgical Department:

- All elective surgery will be canceled until further notice.

- D.	Utilization Management Department:

- Emergency medical records may be utilized.

- E.	SPD Department:

Emergency sources of supply for food, water, drugs, medical supplies, and blood will be contacted and provisions made for adequate deliveries.

- F. 	Prepare to shift to Community Casualty Plan.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- HOSPITAL EVACUATION AND RELOCATION  - ESF #4, 5, 6 & 7

If a disaster strikes the medical center building, the Director or EOC will order evacuation from one part of the building to another, or to an outside refuge, as appropriate.

- Ward Evacuation:

If only part of the medical center is to be evacuated, notify the Chief Nurse or designee who will notify the Head or Charge Nurse of the ward(s).  The Head Nurse will automatically take charge of the ward in the emergency and carry out the instructions given for evacuation.  Should a fire break out in a particular ward, the Head Nurse will follow all fire procedures without waiting for official notification.  All non-Patient Care personnel assigned to the respective ward (i.e., Social Worker, Physician's Designee, etc.) will assist in the patient evacuation under direction of the Head Nurse.  It is the intent of this directive to establish a routine procedure for the evacuation of the medical center.  These procedures will be described as Horizontal, Vertical, or Total Evacuation.

(1)	Horizontal Evacuation: In case of a fire or other internal disaster on a ward, patients will be evacuated to an adjacent ward on the same floor.  Ambulatory patients will be instructed to form a chain by holding hands and following a designated person to a safe area.  Non-ambulatory patients will be removed under the direction of the nurse in charge.  All rooms will be searched to determine that the ward has been entirely evacuated and doors closed.  Oxygen control valves will be shut off during evacuation at the discretion of the Ann Arbor Fire Department.

(2)	Vertical Evacuation: VERTICAL EVACUATION MUST BE GRANTED, BY THE DIRECTOR OR FIRE DEPARTMENT AUTHORITIES, PRIOR TO ACTUAL MOVEMENT OF PATIENTS TO ANOTHER FLOOR.  In case it becomes necessary to evacuate to another floor, ambulatory patients under the direction of the nurse in charge will form a chain by holding hands and follow a lead person down the nearest safe stairway.  (It is good policy to evacuate at least two floors.)  Only if directed by Fire Department Authorities, can employees use elevators for non-ambulatory patients. Removal of patients by means of blanket carry or drag, stretcher, mattress, bed, or various carries MUST be anticipated.  All rooms will be searched to determine that the wards have been entirely evacuated and doors closed.

(3)	Evacuation of Visitors, Volunteers and Employees:  Any required evacuation of visitors, volunteers and employees will follow the evacuation of patients and will be conducted along the same lines (e.g. horizontal, vertical, total).

(4)	Operating Room Procedure: The Patient Care Supervisor, Operating Room, and the EOC will communicate on the progress or status of surgery in the Operating Room. This is necessary so that protective measures can be taken for the safety of the surgical team and the patient. In any case, it is vital that surgery not be interrupted.  In other instances, based upon the decision of the surgeon, surgery may be discontinued and the operative wound closed.  In case of fire, protective action can be taken by concentrating fire-fighting equipment and personnel in the area. The spread of smoke will be contained by activation of the fire plan.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- Total Evacuation and Relocation:

A.	EOC will instruct to evacuate the medical center complex.  Patients, personnel and visitors will be evacuated by means of Government vehicles, privately owned vehicles and any other means that may be available from outside sources. Mutual Understanding of Operation (MUOs) agreements are in place with the facilities listed in paragraph D, this page.

B.	In this situation, all patients must be removed from the building to an outside area, or contact will be made to the EOC.  Designated patient transfers to local hospitals in coordination with the Chief of Staff, and Ambulatory Care & Business Office will occur at this time.  Depending on the circumstances, transfer may be made to other VA installations.  Also, local schools or the National Guard Armory can be contacted for use of transporting vehicles if needed to assist our Transportation Unit, Facilities Management Department. It can be assumed that Vertical evacuation is in effect when total evacuation is declared. All patients should already be grouped on first and second floors (possibly third also), and evacuation to the outside area can be accomplished quickly by following the Vertical evacuation procedures issued by the EOC.

C.	Food, medical supplies, and other needed equipment will be transported to the relocation areas for available use as needed.

D.	The following relocation areas have been established:

- St. Joseph Mercy Hospital

University of Michigan Hospital

VAMC Battle Creek

VAMC Saginaw

VAMC Detroit

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- Medical Center Bed Expansion:

- A.	If needed, cots can be obtained from the American Red Cross in Ann Arbor and Detroit.  Cots from the latter location will take from 4 to 6 hours to reach this facility.  These cots can be set up as follows:

Auditorium	75 cots

Auditorium Stage	16 cots

Corridor, Bldg 1E 2 West                                    	20 cots

Corridor, Bldg 1E 3 West	17 cots

Corridor, Bldg 1E 3 East	17 cots

Corridor, Bldg 1E 4 West	16 cots

Corridor, Bldg 1E 6 West	17 cots

Corridor, Bldg 1E 6 East	17 cots

Corridor, Bldg 1W 6 North	17 cots

Corridor, Bldg 1E 5 West	16 cots

Corridor, Bldg 1E 5 East	17 cots

Corridor, Bldg 1E 7 East                                     	20 cots

Corridor, Bldg 1E 7 West	17 cots

Corridor, Bldg 1E 8 West	16 cots

TOTAL                                                            298 cots

- B.	Additional areas can be used are as follows:

- Building 1E , 1 North Ambulatory Care

- NOTE:

- Building 1E – Clinical Addition

Building 1W – Original Building

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- Emergency Evacuation of Records and Documents

A.	Medical Records Section will remove patient medical records in the following priority: Priority 1 - central locator card file; Priority 2 - medical and administrative records.

B.	Ward Administration Section staff not assigned to duties elsewhere, will remain in their normal work area and assist in the movement of medical or related records to a safe area designated by the person in charge.  The priority of removal of patient medical files will be: Priority 1 - plastic charts, Priority 2 – soft-back or medical record folders in file cabinets.

C.	Employee Health will observe the following priorities in evacuating employee health records:  Priority 1 - employee health cards; Priority 2 - employee health charts.

D.	Human Resources will observe the following priorities in evacuating personnel records:  Priority 1 - Official Personnel Folders; Priority 2 - applications and tests; Priority 3 - receipt records.

E.	Resource Office will observe the following priorities:  Priority 1 - employee payroll records; Priority 2 - patient funds records; Priority 3 - receipt records; and Priority 4 - money.

F.	Communication Information Officer will observe the following priorities in evacuating DHCP records:  Priority 1 - backup copies of all DHCP systems data; Priority 2 - backup tapes of CIO office computers.

G.	Efforts will be made to protect other records and documents by the custodians of those records with due regard to the safety of employees and the importance of the records.

H. 	Prepare to shift to the Community Casualty Plan and maintain communication with the EOC. Directions to return to the medical center will be given, or a change in emergency preparedness plan will occur.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- COMMUNICATION FAILURE  -  ESF #2, 3, 6 & 7

Upon verification of the failure of the telephone system, the following procedures will be taken:

A.	CIO will survey the amount of telephone outages to determine whether this plan should be activated.

B.	Two messengers will distribute portable radios and messages.  Additional messengers are the responsibility of the Communications Officer.  Designated employees will obtain portable radios from the CIO, and be trained by the Telephone Operator on the operation of the issued portable radio. Designated employee(s) are to be determined by the user department supervisor on duty at the time of the communication failure.

C.	Communications Officer will survey all forms of communication available within the community for usage as backup support.  Cellular phone distribution and additional pagers are a temporary solution, and distribution of available cellular phones or pagers is at the call of the Communications Officer. Additional pagers would have to be activated by the University of Michigan Hospital switchboard. This backup network will be necessary if repair of the telephone system will take longer than one working day (8 hours).

D.	Communication between the EOC will be maintained with portable radio(s) or cellular phone. If an explosion caused any telephone outage, cellular phones will not be distributed and portable radios will not be used within 30 feet of a suspected bomb threat location. Cellular phones will not be used on any patient care floor.  Communication between Patient Care and other related patient care areas will be maintained by the best possible resource.

E.	Messenger service and portable radios will be used until the telephone system is operable.

F.	All portable radios will be returned to CIO once the "ALL CLEAR" is given by VA Police.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- EMERGENCY PREPAREDNESS EDUCATION & TRAINING

- EDUCATION:

A.	A minimum of two emergency preparedness drills will be conducted annually within the medical center, one for internal emergencies and one for external emergencies.

B.	Each department will review their department-specific emergency preparedness plans on an annual basis along with their department-specific safety policy.

C.	In patient care areas, the fire plan will be reviewed on a quarterly basis.  In non-patient care areas, semi-annual review of the fire plan is required in each department.

D.	Each department will conduct annual training of their department-specific emergency preparedness plan in the following areas as they relate to each work environment:

(1)    Activation(s) of all plans, department response.

(2)    Emergent care procedures of casualties.

(3)	Emergency callback of personnel during non-administrative hours.

(4)	Expanded functions of daily operations.

(5)	Fire Plan and/or hospital evacuation procedures.

(6)	Failure of utilities, as they relate to work environment (i.e., electricity, telephone system, nurse-call system, heating and/or air conditioning, plumbing systems, pressurized steam system, medical gas system/equipment, and medical/surgical vacuum systems).

(7)	Documented completion of equipment user/operational training, as this equipment pertains to patient care usage and treatment.

E.	All employees will be trained in the above items as part of their annual emergency preparedness training program within each department.

F.	All documentation of training will be accessible on DHCP or through the facility Education Department. An annual summary of training will be forwarded to the Safety Committee when requested (See Appendix B, Policy Memorandum S-3) as part of the annual safety requirements.

G.	All department-specific emergency preparedness plans will be reviewed annually within each department and will include procedures on the above mentioned training topics.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- RESPONSIBILITIES:

The regular day-to-day management organization and department RESPONSIBILITIES and authority will be applicable at all times.  Under certain emergency circumstances, some department functions are deferred or canceled pending termination of the emergency.  Under these conditions, employees will be available for other assignments within the medical center or in the community.

All employees will:

(1)	Remain familiar with the provisions of the Emergency Preparedness Plan and execute them in an emergency.

(2)	Will report for duty upon learning of a large scale disaster if communication cannot be established.

- PRIORITY OF CARE:

This program outlines procedures to follow in the event of internal or external emergencies occurring at this medical center, and seeks to:

(1)	Prevent injuries to persons.

(2)	Rescue casualties and entrapped persons.

(3)	Provide emergency medical care of casualties.

(4)	Prevent damage and loss of property, and medical records.

(5)	Maintain and restore necessary services.

(6)	Investigate and analyze cause of emergency and recommend corrective action.

- PRIORITY OF ASSISTANCE:

.	Patients

Medical center volunteers and visitors

Employees

Irreplaceable records and valuable property

Other property

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- TYPES OF PLANS:

The Emergency Preparedness Plan is the master plan outlining procedures to be followed in the event of internal or external disasters.

(1)	Fire

(2)	Community Disaster

(3)	Tornado

(4)	Snow Emergency

(5)	Utilities Failure

- Chemical Spill

(7)    Chemical, Radiological, or Biological Terrorism

(8)	Bomb Threat

(9)	Earthquake

(10)	Civil Disturbance/Terrorist Act

(11)	Hospital Evacuation and Relocation

(12)	Communication Failure

(13)	VA/DoD Contingency Plan

- FIRE DRILLS:

A.	Fire drills are conducted by the Safety Specialist. These drills are held at varying times during the 24-hour day and will be conducted on each tour-of-duty at least once a quarter in patient care areas.  Fire drills are held in administrative areas once a year. Drills are closely observed to evaluate the adequacy of training in the activation of the fire plan.  Fire drills will include fire alarm system activation.

B.	Drill Signals: Fire drill signals are the same as for an actual fire.

C.	Fire drills may be repeated if the Safety Specialist is not satisfied with employee response during each drill.

- Fire drill self-critique is available by accessing the mailman menu, typing, “fire” then pressing

enter.  Follow instructions for completion.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- FIRE PLAN TRAINING:

A.	The Fire Plan is reviewed at least annually with the rest of the Emergency Preparedness Plan by the Emergency Preparedness Committee.

B.	The Safety Specialist is responsible for rendering technical advice and assistance in developing, coordinating and directing the medical center fire protection program.

C.	The Safety Specialist will conduct classes covering proper procedures for turning in a fire alarm, fire fighting equipment, and other basic fire fighting procedures. A refresher course will be conducted annually for all employees. Requests for training can be completed by contacting the Safety Office at extension 3803 or 7772.

D.	Supervisors are responsible for removing fire hazards, training employees to understand how to turn in a fire alarm, use first aid, fire fighting equipment, and understand fire evacuation routes.

E.	Department Heads are responsible to ensure that their employees:

(1)	Report as scheduled for initial training, quarterly or semi-annual fire prevention refresher courses.

(2)	Know the location and type of fire alarm code and fire fighting equipment available in their work areas.

(3)	Participate in all fire drills.

CHEMICAL, RADIOLOGICAL, OR BIOLOGICAL TERRORISM TRAINING:

A.	Chemical, radiological, and biological terrorism training will be reviewed annually and new hazards added as they are identified

B.	The Industrial Hygienist and, if appropriate, an infectious disease practitioner, will be responsible for technical advice and assistance in developing, coordinating, and directing the medical center response to chemical, radiological, or biological terrorism planning.

C.	Classes in specific chemical, radiological, and biological hazards will be provided by the Industrial Hygienist.  The infectious disease section and/or national resource experts will provide specific infectious disease training.  Media presentations will be available for off-shift training and especially potential hazardous exposures.

D.	Supervisors are responsible for assuring employees are trained on how to recognize and respond to threats and possible terrorist acts.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- CHEMICAL SPILL PRE-PLANNING:

A. 	An emergency response team will be designated by the Safety Committee. The response team can include, but may not be limited to:

(1) Industrial Hygienist

(2) Radiation Safety Officer

(3) Safety Specialist

B. 	Spill kit training will be conducted for all employees on a pre-assignment basis by their supervisor.

C. 	The emergency response team will only be called if a spill occurs on-site and cannot be handled with an ordinary spill kit.  It will be the team's decision as to whether or not a HazMat team needs to be called in.

D.	Call 3333 to report a spill that cannot be handled with an ordinary spill kit.

E. 	The Ann Arbor Fire Department is informed of potential hazards, which they will deal with, in the facility.

- CRITIQUE REQUIREMENTS:

Upon the issuance of the "ALL CLEAR," plan activation(s) will be critiqued immediately in the ambulance garage or a location determined by the EOC during administrative hours only.  Off shift drills will be critiqued within two working days via written format.

A.	Written critique by each observer assigned to critique each plan activation will be forwarded to the VA Police Office (07) within two working days after each plan activation.

B.	Each critique should include problems identified during the implementation of the plan including facility preparedness, staff preparedness and management of casualties, as well as recommended corrective actions.

C.	All plan activation’s that occur each year will also be part of the annual review of the effectiveness of the emergency preparedness program.  Each annual review will be conducted under the guidelines of the JCAHO Environment of Care Standard associated with the emergency preparedness program.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

- SAFETY AND OCCUPATIONAL HEALTH COMMITTEE:

A.	The Safety and Occupational Health (S&OH) Committee will meet to critique semi-annual plan activations.  Additional meetings may be required and will be held at the call of chairperson.

B.	The S&OH Committee is responsible for conducting semi-annual plan activations of the Emergency Preparedness Plan, critiquing each plan activation, reviewing the effectiveness of the Emergency Preparedness Plan, and developing training sessions in emergency preparedness in relationship to supervisory and employee annual training needs.

C.	Annual review of the Emergency Preparedness Plan and overall effectiveness will be conducted by the Administrative Executive Board and the Safety and Occupational Health Committee.

Appendix A

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

##### PHARMACEUTICAL CACHE

1.	PURPOSE:  The pharmaceutical cache is a stockpile of medication and medical supplies to support patient care in the event of a significant incident related to Weapons of Mass Destruction (WMD).  The cache is designed to maintain the infrastructure of the facility and ensure supplies are available to treat patients, staff, and individuals seeking treatment during a WMD event.  The cache will be made available to the community at the discretion of the Director.

2.	POLICY:

a.	The Under Secretary for Health has determined that the VA Ann Arbor Healthcare System (VAAAHS) will maintain a small drug cache to support 1000 casualties for a two to three day period.

b.	The cache is configured and supported centrally by the Pharmaceutical Benefits Management (PBM) Emergency Pharmacy Service.  Replacement products will be centrally purchased and drop-shipped in advance of product expiration dates.  A stock rotation program will be centrally managed with local assistance. Cache contents are considered protected information.

c.	Routine access will be limited to selected individuals with responsibility to maintain accountability and rotate stock.  Pharmacy will be the primary component for maintenance and operation of the cache (if activated).

d.	Only the Emergency Operation Center (EOC) or the Director will initiate activation and use of the cache.   Only pharmacy staff is authorized access to the drug cache.  The cache policy will be maintained as part of the VAAAHS Emergency Management Plan

e.	The response time for personnel to open the cache (from notification to activation) is expected to be one hour or less.  Loading and delivery of the first items to the triage site is expected to occur in less than 15 minutes.

3.	ACTION:

a.	Cache activation occurs when the Emergency Management Plan is activated for an incident related to WMD.  Notification procedures will follow a normal duty day (normal staffing) plan and an off-hours (1600 to 0800 hours, weekends, and holidays) plan.

b.	Activation procedure for normal duty days:

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

(1)	Normally, the Emergency Operations Center will determine the scope and nature of the disaster and assess the requirements for patient care.

(2)	The Chief, Pharmacy Service, or designee will be informed of the need for pharmaceuticals and supplies.  If the Chief, Pharmacy Service (or designee) is unavailable, a pharmacist present in the Inpatient Pharmacy will handle the communication (extension 5108).

(3)	The Pharmacy may conduct a review of on-hand supplies that can support immediate patient care requirements.

(a)	If on-hand supplies will handle immediate needs, notification will continue to prepare for impending cache activation since an incident has occurred.

(b)	If on-hand supplies will not handle immediate needs, the Pharmacy will prepare to open the cache.  This may include procuring a radio, notifying other personnel needed to support operations, and ensuring a safe environment (no immediate threat of chemicals or weapons in getting to the cache site).

(4)	The Emergency Operations Center will direct Pharmacy personnel to activate the cache when final determination that it is needed is confirmed.  Since the Chief, Pharmacy Service or Inpatient Pharmacy Supervisor (or designee) normally maintains the cache, these individual will be the primary staff to deploy the drug cache.

(5)	Once the cache is opened, the Pharmacy will contact the Emergency Operation Center for instructions on what items are needed first and where the delivery point is located.

(6)	While the cache is being loaded, other pharmacy staff will be deployed to assist with distribution of cache items at the triage site (and to account for controlled substances if deployed).  All controlled substances will be accounted for on green sheets.

(7)	Pharmacy personnel opening the cache will notify the Emergency Operations Center when cache items leave the storage area.  Further instructions will be provided on delivering more items at this time.

c.	Activation procedure for off-hours, weekends, and holidays:

(1)	The overall procedure is the same as during a normal duty day.  The primary difference is that personnel are not as readily available and the Pharmacy Service Cascade List (callback roster) must be used to obtain personnel.

(2)	During off-hours, the Inpatient Pharmacy will be the primary point of contact.  The pharmacist on duty will be responsible for initiating the Pharmacy Service Cascade List and communicating with the Emergency Operations Center until a supervisor arrives on site.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

(3)	If a supervisor is unable to be contacted, or cannot reach the medical center, the pharmacist on duty will determine who will open the cache via the callback roster.

(a)	The person of first choice will be an individual with additional training to open the cache (one who assists with maintenance).

(b)	It is preferred that a pharmacist opens the cache, unless a technician having additional training is available.

(c)	During an incident, a minimum of one registered pharmacist must be maintained in the Inpatient Pharmacy at all times.  The pharmacist will notify the Emergency Operation Center he/she cannot leave the Pharmacy.

(d)	In the event one pharmacist is on duty the Emergency Operations  Center will determine whether to wait for the Cascade List to obtain more pharmacy staff, or whether to have the pharmacist leave the pharmacy to open the drug cache under emergency conditions.

d.	Accessing the Pharmaceutical Cache:

(1)	The key and electronic codes to the cache will be available in the Inpatient Pharmacy Vault.  The Emergency Operations Center may designate other individuals to support opening the cache and provide access via the sealed envelopes.

(2)	The following keys and codes are needed to access the cache:

(a)	Service elevator key 2EX1 (needed to access cache floor)

(b)	Pharmacy key 2SK27 (needed for door deadbolt)

(c)	Electronic access to open door (or key 2SK33 located in the Director’s safe)

(d).	Alarm code for inactivating alarm.

e.	Maintaining the Pharmaceutical Cache:

(1)	Chief, Pharmacy Service will ensure that all inspections and inventories are accomplished and documented in accordance with criteria established by PBM Strategic Health Group (SHG).

(2)	Inspections of the cache include a visual inspection of the cache space to ensure security and environmental requirements are still intact.

(3)	Cache product rotation and inventory system entries will be accomplished in a timely manner as required by PBM SHG.

(4)	All cache controlled substances are subject to the monthly narcotic inspection process and the inventory must be entered into and maintained in Veterans Health Information

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

System and Technology Architecture (Vista) Controlled Substance software as a separate narcotic area of use.

(a)	Controlled substance inventories do not require a physical count of the cache contents, but must include the status of seal (intact or not) and the number on the seal.

(b)	Morphine totes must be checked preferably daily, but at least every 72 hours.

(c)	Diazepam cart must be checked at least weekly.

(d)	Monthly inspections will require a physical count of the cache contents done by the Controlled Substance Security Officer and the Chief, Pharmacy Service (or pharmacist designee).

(5)	Records will be maintained for each cart and tote:

(a)	Dates of access, inventories, and seal checks.

(b)	The number of each seal.

f.	Locating Items in the Pharmaceutical Cache:

(1)	Carts are color-coded to assist with locating appropriate supplies for each type of event:

(a)	Blue = Biological

(b)	Green = Chemical

(c)	Red = Explosion/Burn

(d)	Orange = Radiological

(e)	Yellow = Medical & Surgical Supplies

(2)	Each cart has an inventory list for the entire cache.

(3)	A layout (map) and cart list is located under the alarm panel inside the door to the cache so individuals can quickly find and deploy items.  All carts have wheels that allow for movement without extra equipment.

(4)	Morphine is stored in the inpatient pharmacy vault in sealed totes.  Devices for the syringes and sheets to account for each syringe are also in the totes.  Doses of morphine should indicate patient name or number, and the provider ordering the morphine.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

##### CONTINGENCIES FOR DEPLOYMENT OF THE PHARMACEUTICAL CACHE

1.	PURPOSE:  The pharmaceutical cache is a stockpile of medication and medical supplies to support patient care in the event of a significant incident related to Weapons of Mass Destruction (WMD).  The cache is designed to maintain the infrastructure of the facility and ensure supplies are available to treat patients, staff, and individuals seeking treatment during a WMD event.  This policy describes plans for physical deployment of the cache.

2.	POLICY:

a.	The cache will be deployed under the conditions described in Pharmaceutical Cache policy.

b.	Cache will be deployed in either a large-scale or small-scale deployment.

(1)	A large-scale deployment is when IV solutions must be moved in approximately pallet quantities.

(2)	A small-scale deployment is when IV solutions can be moved by the case as needed.

c.	The cache will likely be physically deployed to one of three areas, depending on the scale and circumstances:  Auditorium, Emergency Room area, and Inpatient Pharmacy.

(1)	The Emergency Room area will be the first area for deployment of supplies.

(2)	Auditorium will be used when capacity exceeds the Emergency Room.

(3)	The Inpatient Pharmacy will be used as a staging area for supplies and for back-filling the usual inventory of IV solutions.

d.	The cache will be moved via the quickest route that is least likely to encounter patient traffic.

3.	PROCEDURE:

a.	Emergency Room Deployment

(1)	Route of Choice:  West Service Elevators (5 & 6) outside the cache to the first floor then to Emergency Room.

(2)	1st Alternate Route (when hall is too crowded for transport):  West Service Elevators (5 & 6) to basement, basement to Main Service Elevators (S5 & S6) in new building, to first floor to emergency room or deploy from service elevator lobby.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

b.	Auditorium Deployment:

(1)	Route of Choice:  West Service Elevators (5 & 6) to basement to Auditorium.

(2)	1st Alternate Route:  Dependent on functioning elevators.

c.	Inpatient Pharmacy Deployment:

(1)	Route of Choice:  West Service Elevators (5 & 6) to basement, basement to Main Service Elevators (S5 & S6) in new building, to B1 to Pharmacy Warehouse

(2)	1st Alternate Route:  Dependent on functioning elevators.

d.	Deployment Plan for Elevator Malfunctions:

(1)	West Service Elevator Malfunction:

(a)	IV Solutions not deployable in pallets.  Therefore, they must be deployed on wire carts using passenger elevators (1, 2, 3, 4, S3, S4, P3, P4) or main service elevators (S5 & S6).  To deploy in pallets requires removal of the wall in the 6th floor elevator lobby.

(b)	The cache will not be accessible with Pharmacy Service keys.  Therefore, the Police will use keys to access 6th floor space from passenger elevators.

(2)	Main Service Elevator Malfunction (S5 & S6):

(a)	Deployment cannot occur to ER through basement.  Therefore, the Police must clear 1st floor hall for supply movement or the cache be moved through the 5th floor to the Main Passenger Elevators (S3, S4, P3, P4).

(b)	Cache cannot be deployed to the Inpatient Pharmacy.  Therefore,

deploy directly from the cache storage area or to auditorium.

(3)	Combined Elevator Malfunction:

(a)	Stairs will be utilized to transport supplies down to the 5th floor.  If possible, the pharmacy dumbwaiter or the East Elevators will be used for transport.

(b)	If all elevators and dumbwaiters are malfunctioning, the manpower pool will be used to transport supplies down stairwells.

4.	RESPONSIBILITY:

a.	Pharmacy Service will transport the cache to the needed areas by the route of choice.

- VA Ann Arbor Healthcare System	Policy S-5

May 15, 2003

b.	Police:

(1)	Will clear hallways as needed to allow transportation of supplies.

(2)	Open south door in 6th floor elevator lobby to allow access to the cache service doors if the West Service Elevators are not functional.  The alternative is to obtain the bypass key from the Director’s safe to open the north door of the cache storage area.

c.	Emergency Command Center:

(1)	Instruct Pharmacy Service where to deploy the cache.

(2)	Provide assistance from the manpower pool as needed to transport supplies down stairwells during elevator malfunctions.

- I.  EXECUTIVE SUMMARY

Public Law 97-174, Section 5011A, "Veterans Administration and Department of Defense Health Resources Sharing and Emergency Operations Act" mandated a fourth mission to the VA to serve as the primary contingency back-up to Department of Defense medical services.  The VA ANN ARBOR HEALTHCARE SYSTEM is designated as a primary receiving center.  Upon activation of the VA/DoD Contingency Plan, the medical center will provide primary, secondary, and tertiary medical care to active duty military personnel in accordance with the requirements of PL 97-174.  Due to its geographical location, the VA Ann Arbor Healthcare System (VAAAHS) also coordinates support from the secondary centers located at the Battle Creek and Saginaw, and works closely with the Federal Coordinating Center at the Detroit VA Medical Center.  Military medical liaison and administrative support services will be provided to the VAAAHS by Wright Patterson Air Force Base located in Dayton, Ohio.

- II.  INTRODUCTION

A.  PURPOSE:  This contingency plan is an overall summary of the medical center's role upon activation of the VA/DoD Contingency Plan.  The plan identifies the process and scope of providing short notice back-up medical support to the Department of Defense.  Specific responsibilities and responses to formal activation of the plan are identified in the attachments.

B.  SCOPE:  This plan is applicable to all persons employed by the VAAAHS.  This is a component plan of our VAMC Emergency Preparedness Program (EPP), Medical Center Policy Memorandum S-5.

C.  IMPLEMENTATION:  Upon notification by the Secretary of Veterans Affairs, the Chief Medical Director (CMD) of the Veterans Health Administration (VHA) will activate the VA component of the Contingency Hospital System (CHS).  The VISN 11 Network Director will notify the Medical Center Medical Center Director who will initiate the Medical Center emergency notification of "Cascade" system, as necessary.  Cascade recalls appropriate personnel to provide services consistent with our mission.

D.  POLICY:

1.  Promulgation.  This plan is required reading/study for all key personnel, service chiefs, and persons assigned specific roles in the plan or its attachments.  It will be included in the orientation of all persons whose position may require their participation in any way.

2.  During a time of military conflict or national emergency, the major goal of the VA is to provide the maximum number of staffed beds to active duty military casualties in as short a time as possible while continuing to perform the VA's mission of providing care to eligible service-connected veterans who retain the highest priority for VA admission and care.  The primary focus of VA Ann Arbor Healthcare Systems will shift to the care of patients in accordance with the following admission priorities:

a.  Bona fide medical emergencies

b.  Service-connected (SC) veterans

c.  VA/DoD contingency casualties/active duty patients

d.  Other eligible VA beneficiaries

e.  NSC veterans with no special eligibility

f.  CHAMP VA and Sharing Agreement patients.

3.  In order to free up beds for military casualties, non-service-connected veterans will be discharged or transferred to other VA or community health care facilities.  Transfers will be made in accord with the procedure outlined in the Medical Center Transfer of Patients Policy.  NOTE:  VA WILL MAINTAIN RESPONSIBILITY FOR CONTINUITY OF CARE FOR PATIENTS OUTPLACED.

4.  VA shall provide the full range of services required by DoD casualties as it would for any veteran patient treated by the VA.

E.  PLANNING ASSUMPTIONS:

1.  The Medical Center may lose staff to Guard and Reserve activation.  Augmentation by staff transfer will be minimal.

2.  Casualties could arrive in any of the primary areas within 72 hours of activation of the VA/DoD Contingency Hospital System (CHS).

3.  Patients will arrive in the Ann Arbor area in generally stable condition, barring complications during travel.  The general planning scenario envisions casualties moving through several echelons of care.  Therefore, our role will be to continue care and supervise recovery.

4.  Additional funding will be made available for the lease of any special purpose equipment and increased contract ambulance and hospitalization costs beyond routine medical center operations.

F.  SUPPORTING ORGANIZATIONS.

1.  ASMRO & VACO.  The Armed Services Medical Regulating Office (ASMRO), Scott AFB, Illinois, will gather information on the number and types of casualties and the availability of transportation and appropriate beds in the Continental United States (CONUS).  ASMRO then directs casualties to military evacuation points overseas or in the U.S.  Patient assignment is coordinated with medical centers by a designated Patient Airlift Center (PAC).  The VHA Emergency Medical Preparedness Office (EMPO) Liaison Officer (LNO) at ASMRO facilitates in this process and feeds advance information back through VHA at Central Office.

2.  VHA VISN 11.

a.  The VISN provides policy/ operational direction and technical assistance to ensure the successful implementation of the VA/DoD CHS.  VISN monitors implementation of Medical Center plans to ensure smooth operation, and initiates improvements or corrective actions that are beyond the scope and/or authority of the Medical Center.

b.  Upon activation of the VA/DoD Contingency Plan  (CONPLAN), the VISN 11 Network Director will establish VISN Emergency Operations Center (VEOC).  The key responsibilities of the VEOC include coordination and resolution of the Medical Center's needs as requested by the Center Medical Center Director.  The VEOC will serve as a clearinghouse between VAMCs in VISN 11 and VACO.

3.  Primary Receiving Centers (PRCs).  VAMC Ann Arbor is designated a PRC with the following responsibilities:

a.  Coordination of bed reporting with Secondary Support Center (SSC) VAMCs.

b.  Transfer of patients to Secondary Support VAMCs.

c.  Coordination of bed availability, patient regulation (ward assignment), airport reception site readiness, etc.

d.  Coordination of primary and secondary transportation assets to accomplish patient movement (airport to PRC, PRC to SSC, etc.).

e.  Coordination with local military hospitals to  ensure appropriate Military Patient Administration Team (MPAT) activities are available.

4.  Secondary Support Centers (SSC).  The Battle Creek and Saginaw VA Ann Arbor Healthcare Systems are designated as SSC.  They perform essentially the same contingency activities as a PRC; however, they receive patients relocated from Ann Arbor instead of directly from the evacuation pipeline.

a.  Bed availability reports are to be coordinated with the Ann Arbor VAMC Business Office/Admitting.

b.  Notification of alert status will be confirmed with secondary facilities by the Ann Arbor Emergency Preparedness Coordinator (Emergency Preparedness Coordinator).

c.  Assignment of military patients to secondary facilities will be determined by the Ann Arbor VAMC Chief of Staff and beds will be coordinated by the Bed Coordinator/Admitting.

d.  Logistical support for DoD patient reception and transfer to secondary sites will be coordinated with the SSC, by the Bed Control Coordinator and the Emergency Preparedness Coordinator (EPC).

- III.  MISSION:

A.  The Medical Center will operate as a Primary Receiving Center with secondary support provided by Saginaw and Battle Creek.  In this role, our mission is to receive and coordinate placement of casualties directed to the facility by the Armed Services Medical Regulating Office.  The Medical Center capability is specified as medical, surgical, orthopedic surgery and psychiatric.

B.  The Medical Center will make 50% or approximately 60 of its beds available to DoD within 72 hours of mobilization.  A detailed summary of beds by category is identified in Appendix B.  additionally, we may receive up to 250 patients for distribution to the SSCs.

- IV. OPERATIONS:

A.  CONCEPT:  This plan outlines a measured response by VAMC Ann Arbor, which will be functionally organized for emergency operations.  This plan further envisions support for the VA/DoD Contingency Hospital System (CHS), unfolding in three phases; alert, activation, and execution.  Upon activation of the Medical Center in the CHS, execution will be controlled by the Emergency Operations Center (EOC).

1.  FUNCTIONAL ORGANIZATION:

The following chart shows the functional relationships of activities supporting the CHS.  Lead staff are identified by routing symbol.

- VA/DoD MEDICAL CENTER FUNCTIONAL ORGANIZATION

- EMERGENCY OPERATIONS CENTER (EOC)

Medical Center Director (00)

Associate Director for Operations  (50)

Chief of Staff (11)

ADPCS (30)

|  |  | INFORMATION CONTROL PUBLIC AFFAIRS OFFICER (006) MEDIA RELATIONS EMPLOYEE FORUMS PATIENT/FAMILY AFFAIRS (122) |
| --- | --- | --- |

| LOGISTICAL/OPERATIONS NURSING TRIAGE COORDINATOR (11A) ASSOCIATE DIRECTOR FOR OPERATIONS (50) CHIEF RESOURCE OFFICER (20) CHIEF INFORMATION OFFICER (40) SUP. UTIL. MGMT (43), EMERGENCY PREPAREDNESS COORDINATOR (07) BED REPORTING (43, 11U) TRANSFER & ASSIGNMENT OF PATIENTS (43, 11, 122) PATIENT ADMINISTRATION (43, MPAT) PATIENT RECEPTION: TRIAGE (11,11A, 43, 07) SUPPLIES, EQUIPMENT, MEDICATIONS (11A, 07) NDMS COORDINATOR VAMC DETROIT (07) LAYOUT (11A, 07) COMMUNICATIONS (5OS) TRANSPORTATION: TRANSFERS (43, 51GT) TRIAGE: (07, 51GT) SECURITY: VA POLICE MEDICAL CENTER (07) TRIAGE (07) |  | PLANNING VA/DoD COORDINATOR/EPC (07) PLAN DEVELOPMENT NEEDS ASSESSMENT DOCUMENTATION DAILY SITUATIONS MPAT CONTACT SECONDARY CENTERS |
| --- | --- | --- |

2.  PHASES:

a.  PLANNING:  During this phase, there is no pending threat.  The Medical Center's mission is readiness.  We will ensure our readiness by thorough planning, training and establishing accountability for the requirements of all phases described herein.

b.  ALERT:  No formal announcement is expected during this phase, the period is characterized by heightened international tension.  It is incumbent upon Key Medical Center Staff to anticipate worst-case scenarios without over-reacting.  During this phase, preparation must be verified and by-name accountability established.  Service internal training and rehearsals are encouraged.  Central Office could be expected to initiate the bed reporting and asset inventory requirements.  The EOC may be set-up and exercised.

c.  ACTIVATION:  The VISN 11 Network Director will notify the VAMC Medical Center Director or his/her designee when the VA/DoD Contingency Plan has been activated.  The plan may be activated in part VISN-wide or functionally.  The VAMC Medical Center Director will, when appropriate, initiate the Medical Center "Cascade" notification system indicating the scope of our activation to this "First Alert to Standby Status.  See Appendix A 'NOTIFICATION'.   This phase is characterized by making the EOC operational, completion of internal asset inventories, updating on call rosters, enhanced bed reporting and confirmed readiness to potentially receive DoD patients within 72 hours.

d.  EXECUTION:  This phase is initiated with an announcement that casualties have been assigned to this VAMC (Notification of Assignment of Patients).  This phase is characterized by patient manifest review, discharge/transfer of patients to free up beds and actual reception and care of DoD casualties.  See RECEPTION PROCEDURES, below.

B.  RECEPTION PROCEDURES:

1.  Advanced Preparations:

a.  The Chief of Staff, Bed Control/Admitting Coordinator, Nurse Triage Coordinator and Emergency Preparedness Coordinator will review the patient manifest (if available) to coordinate patient transfers, bed assignments, transportation needs, size of triage team, and support personnel for patient reception at the airport.  Depending on the number of additional beds needed, elective admissions may be canceled and inpatients will be selected on a case-by case basis to be discharged, transferred to the ECC, community nursing homes, or the Saginaw or Battle Creek VAMCs.

b.  Triage sheets will be prepared from the manifest for team use with copies to the appropriate services to prepare for receipt of patients: (11A); (119); (112); (111); (116A) and (127) and (110) if they have admissions.  Bed Control/Admitting coordinator will front load patient admissions in the computer and forward bed assignments to Patient Care Services for bed cleaning.

2.  Medical Center Staging Area for Support Personnel & Triage Team:

a.  Equipment, linen, nourishment’s, and supplies will be stored in SPD.  The Triage Team and support personnel will assemble in the Ambulance garage three (3) hours before the estimated time of arrival of the aircraft.  Drivers and litter bearers will load the vehicles, as directed by the Safety Specialist.  The Emergency Preparedness Coordinator will also ensure required special equipment is transported.

b.  Support personnel include drivers, litter bearers, public relations specialist, the Emergency Preparedness Coordinator and additional nursing personnel, as required, to monitor patients during transport.

c.  The Emergency Preparedness Coordinator will ensure each person on the Transport Triage Team has a picture identification badge displayed and is checked against a master list a copy of FAXED for airport security clearance.  The group will depart for the airport at least two (2) hours prior to aircraft arrival.

3.  Triage:  Primary function of patient reception at the airport is to receive patients from air transport, provide supportive care at the arrival point, and prioritize patients for transport to the VAMC.

a.  General team composition - Administrative person in charge is the Nurse Triage Coordinator.  The exact composition of the Team will be determined after receipt of the patient manifest.  The Director of Primary Care Physician assigned to each Triage Team will be designated as the physician in charge.  In general, the following staff ratio will compose the reception team based on the manifest type and quantity of patients:

- Staff Assigned By Patient Quantity

| Triage Team |  | Patients: (5 - 10) | (10 - 20) | (20+) |
| --- | --- | --- | --- | --- |

| Nurse Triage Coordinator |  | 1 | 1 1* | 1 |
| --- | --- | --- | --- | --- |

| Physician |  | 2 | 3 3* | 4 |
| --- | --- | --- | --- | --- |

| Nurse |  | 5 | 7 5* | 9 |
| --- | --- | --- | --- | --- |

| Patient Administrator (43) |  | 1 | 1 1* | 1 |
| --- | --- | --- | --- | --- |

| Patient Service Assistant |  | 2 | 3 2* | 4 |
| --- | --- | --- | --- | --- |

| Pharmacist |  | 1 | 1 1* | 1 |
| --- | --- | --- | --- | --- |
| Pharmacy Tech |  | 1 | 1 1* | 1 |

| Respiratory Therapist |  | 1 | 1 1* | 1 |
| --- | --- | --- | --- | --- |

| SPD Technician |  | 1 | 1 1* | 1 |
| --- | --- | --- | --- | --- |

| Litter bearers (includes drivers) |  | 6 | 8 4* | 12 |
| --- | --- | --- | --- | --- |

| Social Worker |  | 1 | 1 1* | 1 |
| --- | --- | --- | --- | --- |

(*) – Staff sent to support combined Triage Response Team with Detroit VA. Detroit VA will send a Surgeon and two other Physicians on combined response team.  We will send the Director of Primary Care Physician, One other General Medicine Physician and One Psychiatrist.

- Airport EOC

- Emergency Preparedness Coordinator

- Public Affairs (Check with Wayne Counter EOC)

- Physician

- Nursing Triage Team Leader

b.  At the direction of the Chief of Staff, the Emergency Preparedness Coordinator will activate the Triage Team and support personnel to assemble in the staging area, at least three (3) hours before the estimated time of arrival of the medical airlift flight.

c.  Unloading and receipt of casualties from the aircraft will be performed under the direction of the Air Lift personnel.  The Triage Nurse will receive the updated patient manifest and patient report from the airlift clinical staff.  The Emergency Preparedness Coordinator will record time of a aircraft arrival and departure.

d.  The condition of each patient will be assessed briefly at the airport by the Triage Physician and Nurse.  Vital signs and any comments on the patient's condition will be recorded on the DoD 602 or the Medical Emergency Triage (MET) tag and the tag will be torn to the correct color to reflect priority for transportation, i.e. red - urgent/ambulance, yellow - stable/ambulance, green - ambulatory.  Changes in the patient's condition during the flight may necessitate changes in transportation to the hospital and bed assignment.  If any casualty in the Triage Area has a change of medical condition warranting emergency care and transportation, the Nurse Triage Coordinator will immediately call the Emergency Preparedness Coordinator for casualty transportation via A.L.S. Ambulance.  This A.L.S. Ambulance will be arranged by the Airport Emergency Operations Center (EOC).

e.  Every attempt will be made to transfer patients directly from the airplane to the transporting vehicle.  Stable patients may be transferred to an airport hanger awaiting transportation.

f.   See Appendix D for medical center decontamination procedures if any patients are felt to be a contamination risk.

g.  The Triage Coordinator has the authority to accept patients not on the manifest, after confirming with Bed Control Coordinator that appropriate beds are available.

4.  Airport & Transportation:

a.  Ground transportation to and from the airport will be arranged by VA Police and Grounds & Transportation.  If the acuity and/or number of casualties exceed available vehicles, the nurse triage coordinator may contact Beneficiary Travel to arrange to augment the team with commercial ambulance service.

b.  The Emergency Preparedness Coordinator, in conjunction with the NDMS Coordinator from the Detroit VAMC, will coordinate security and logistics to and from the airport.

c.  Airport security is controlled by the Wayne County Sheriff's Department.  All VA vehicles and staff will be processed through this check point prior to proceeding to the assigned aircraft hanger. The Emergency Preparedness Coordinator will present a copy of the master list of the transport team.

d.  The hanger will be set up for basic patient assessment, as well as emergency care.

- Prior to patient departure from the airport, the Nurse Triage Coordinator will advise the

Emergency Preparedness Coordinator at the EOC of the number of patients, any changes in planned ward assignments, and the number of stretchers, wheelchairs, transporters,

and clinical escorts required.  The Emergency Preparedness Coordinator will relay this information to the medical center EOC via telephone.  The EOC will advise the Associate Director for Patient Care to alert the nursing staff to prepare for arrival.  Manpower and required personnel will be alerted to report to the ambulance garage.  (See Appendix A, Notification).  Police will be advised to barricade the area by the ambulance garage when information is received regarding airport departure.

5.  Medical Center Reception of Casualties:

a.  The Chief of Staff will ensure that physicians assigned for admissions meet the patients on their assigned wards.  The physicians will be alerted to the planned arrival time from the airport.

b.  Inpatient Care Units will provide wheeled litters and/or wheelchairs to the ambulance garage to transport patients to their wards, as required.

c.  Upon arrival at the hospital, patients will be transported through the ambulance garage, or designated reception site, directly to their assigned beds on the wards.  Transportation is through the ambulance garage and to the ward via the freight elevator.

C.  RESPONSIBILITIES:

- 1.  MEDICAL CENTER DIRECTOR:  The Medical Center Director is responsible for all facets of planning and the execution of VA/DoD plans through designated Medical Center staff.

a.  Activate the Medical Center plan by initiating the Medical Center Cascade Call System.

b.  Direct cancellation of annual leave and training details as necessary to meet the requirements of this plan.

c.  Establish the Medical Center's Emergency Operations Center (EOC) in the Medical Center Director's suite.

d.  Coordinate work schedules for 24-hour coverage.

e.  Notify veterans' service organizations of the local situation.

- 2.  CHIEF OF STAFF  (11):

a.  The Chief of Staff has overall responsibility for medical staff sufficiency, planning, training, preparation, and execution of medical functions associated with this plan through designated staff members.  Items of primary focus are:  organization of the patient triage and reception team; evaluation/adjustment of clinical responsibility and continuity of care, and curtailment of services/clinics.

b.  Serves as Triage Coordinator with primary responsibility for establishing the medical center's level of response to the patient manifest.

c.  Assign the physician component of the patient reception team and coordinate the composition of the team.

- 3.  ASSOCIATE DIRECTOR FOR OPERATIONS (50):

a.  The AD for Operations has responsibility for administrative planning, training, preparation, and execution of all support functions associated with this plan through designated administrative staff.

b.  Upon activation of the plan, the AD for Operations supports the Medical Center's Emergency Operations Center in coordination with the ADPCS, Chief of Staff and Medical Center Director.

c.  Provide support personnel for manpower pool in accordance with station FPP.

d.  Ensure readiness of Police and Grounds & Transportation components.

- 4.  KEY STAFF AND ALL SERVICE CHIEFS:

- a.  Provide to the Emergency Preparedness Coordinator (07) primary and alternate points of contact for VA/DoD and other disaster/ contingency planning and implementation with updates as changed.

- b.  Ensure short notice availability of trained staff to provide complete diagnostic, nutritional and therapeutic assessments for a large number of admissions.

- c.  Coordinate personnel, supply, and equipment requirements with counterparts/suppliers.  Be alert to the need for inventory changes to support CHS.

- d.  Review, maintain, and be thoroughly familiar with this plan and its enclosures.

- e.  Provide Human Resources with up-to-date information on the military status of all employees.

- f.  Upon activation advise the Emergency Preparedness Coordinator (07) of manpower needs affecting readiness and the need to replace staff called to active duty.

- g.  Ensure that key employees are available by phone after hours.

- h.  Where appropriate, prepare and maintain service plans as annexes to this plan.

5.  CHIEF, POLICE SERVICE (07):

a.  Designated as "Emergency Preparedness Coordinator (EPC)" for planning and execution, serves as contact for the Military Patient Administrative Team.

b.  Coordinate preparation of the Medical Center's VA/DoD Contingency Plan.

c.  Certifies to Medical Center senior management that VA/DoD requirements are met by the service plans, this Plan, and Enclosures to this Plan.

d.  Keep Medical Center staff advised of changes in VA/DoD requirements and responsibilities.

e.  Prepare and conduct the Medical Center Emergency Preparedness Training Program.

f.  Coordinate the Medical Center's participation in VA/DoD Contingency Exercises.

g.  Coordinate availability of communication equipment including availability of back-up systems.  Ensures issue of radios to airport reception personnel.

h.  Direct loading, set up and unloading of staff, equipment, and supplies.

i.   Coordinate airport patient reception activities.

6.  PUBLIC AFFAIRS OFFICER (OOA):

a.  Respond to local media inquiries and refer inquiries with VISN or national significance to VISN 11 Emergency Operations Center (VEOC).

b.  Designate and advise Police of the location of media room.

c.  The Public Relations Coordinator is responsible for complying with DoD and VA guidelines in preparing  press releases and handling media relations. A media station will be established upon activation of the plan and introduce our facility and provide points of contact.

7.  BUSINESS OFFICE MANAGER (50B):

a.  Coordinate and submit bed availability reports.

b.  Ensure staff readiness for patient reception.  Designate Pre-admissions screening staff member to work with patient manifest.

c.  Coordinate patient assessments with clinical staff to facilitate transfers.

d.  Advise secondary facilities of VA patient transfers and potential for direct transfer of DoD patients at the time of reception.

e.  Ensure compliance with DoD policies regarding release of information.

f.  Coordinate patient transfer transportation with Transportation or commercial sources.

g.  Maintain current list of emergency contact points and alternates.

h.  Ensure staff are trained in response to the cascade and ASMRO notification system.

8.  ASSOCIATE CHIEF OF STAFF FOR AMBULATORY CARE (ACOS/AC) (11A):

a.  Serves as alternate Triage Coordinator as back up to the Chief of Staff.

b.  Assures adequate space for reception of patients.

c.  Ensure proper evaluation and assignment of patients to the bed services.

d.  Nurse Triage Coordinator organizes nurses on Triage Team, coordinates necessary supplies, medicine, and equipment, coordinates layout, and airport triage.

9.  ASSOCIATE CHIEF OF STAFF FOR EDUCATION (ACOS/E) (11E):

a.  Depending on the type of potential casualties, confer with the Chief of Staff and Chief, Infectious Diseases Section to assess the need for specialty training.

- Coordinate sensitivity and emotional support training with Chief, Psychiatry Service.

10. GROUNDS AND TRANSPORTATION SUPERVISOR (51G&T):

- a.  Transport transfer patients.

- b.  Ensure current on-call listing of trained drivers and litter bearers to assist patient reception.

- c.  Provide support personnel for traffic control and manpower pool in accordance with the station EPP.

- d.  Prepare/update transportation section of the medical center capability assessment (Appendix C).

- e.  Assess potential threats to medical center and PRT and prepare response plans.

- f.   Coordinate and maintain triage site security at the airport and VAMC.

11.  ASSOCIATE DIRECTOR FOR PATIENT CARE SERVICE (30):

a.  Assist Chief of Staff and Business Office Manager (Bed Control) in patient determination to meet required bed levels.

b.  Assist Bed Control Coordinator in preparation of required bed availability report.

c.  Ensure adequate ward staffing to meet influx of casualties; advise VA/DoD Coordinator of staffing assessment.

d.  Provide one or more nursing staff to support duties as required for the patient reception activities.

e.  Provide wheeled litters and/or wheelchairs to the manpower pool on 1 West for the movement of patients.

12.  CHIEF, SOCIAL WORK SERVICE (122):

- Confer with VA/DOD Coordinator, physicians and nursing staff to ensure a smooth

transition for patients transferred to other facilities or discharged to free beds for incoming casualties. Chief, Social Work Service will assigned staff to make transfer/discharge arrangements.

- Establish and staff an information center to handle inquires from families/significant

others, etc.

c.    Provide crisis intervention to incoming relatives and/or friends.

- Assist in locating next of kin/relatives of casualties.

e.    As coordinator of the Employee Assistance Program, Chief, Social Work Service will coordinate the EAP Counselors and others to debrief, defuse, and counsel staff involved in disaster services. This will be coordinated with the Clinical Director of the PTSD Clinic.

- 13.  CHIEF, LABORATORY SERVICE (113):  Establish contact with local blood suppliers to refine procedures and ensure that emergency supplies are sufficient.

14.  CHIEF, PSYCHIATRY SERVICE (116A):  Ensure current roster of trained staff to work with the triage team.  Assign one psychiatrist to provide psychological stress debriefing to VAMC employees.

15. HUMAN RESOURCES SUPERVISOR (05).

a.  Profile the VAMC work force, its potential for reduction through medical reserves and its potential for expansion.  Complete and update the manpower Medical Center Capability Assessment.

b.  Coordinate the reception manpower pool.

c.  Provide support personnel for traffic control and manpower pool in accordance with the station EPP.

16. CENTRAL SUPPLY (54):

a.  Ensure supplies are available for both triage at the airport and a crash cart is available for reception at the medical center.

b.  Anticipate and provide for urgent supply inventories and equipment/maintenance and repair necessitated by the conflict or implementation of CHS.

c.   Manage linen needs in support of patient reception at both triage sites (Det. Metro. and ambulance garage).

17. FOOD PRODUCTION SUPERVISOR (55): Ensure availability of short notice meals or refreshments for incoming casualties and staff coverage for nutritional assessments upon admission.

18.  FACILITIES MAINTENANCE (51M):

a.  Coordinate bed cleaning with Patient Care Service staff for transfers and new patients.

b.  Provide linens for triage team (linen cart)

c.  Confer with nurse triage coordinator regarding cleaning supplies/support for triage team.

d.  Inventory DoD patient clothing/possessions and assess the need and options for temporary patient storage.

19.  CHIEF, PHARMACY SERVICE (119):

a.  Ensure that the supply of IV solution and administration sets as well as drugs is adequate to meet an increased demand.

b.  Recommend alternate sources of procurement to Resource Officer.

20.  CHIEF RESOURCE OFFICER (20):

a.  Maintain current emergency source list for supplies, equipment and drugs.

b.  Track and record the cost of all drugs, medical supplies, services, and equipment used to support a contingency as outlined in the VISN 11 VA/DoD Contingency Plan.

c.  Complete all procedures necessary to obtain reimbursement from DoD for treatment of military personnel and for supplies transferred, via VACO identified mechanisms in the DHCP system, for submission of a bill from VA to the respective DoD service.  DoD will reimburse the VA for care provided.

21.  MILITARY PATIENT ADMINISTRATIVE TEAM (PAT):  Upon receipt of casualties, the Air Force will assign military administrative support personnel to the Detroit area.  This team will be responsible for DoD personnel actions, pay, leave requests, notifications of next of kin, patient visits, discharge or Medical Boards, and coordination of discharge transportation.  The PAT Team members may be reached through the Utilization Management Supervisor (43).

22.  VETERANS BENEFITS:  The Veterans Benefits Counselor will work with the PAT Team to coordinate benefits counseling for patients scheduled for Medical Boards and/or discharge.

- V.  RESOURCE REQUIREMENTS.

A.  Anticipated manpower shortages to effectively implement the CHS will immediately be brought to the attention of the Emergency Preparedness Coordinator and Human Resources Supervisor.

B.  Assets critical for the initial 72 hours are available within normal medical center operations.  No additional resources are anticipated at this stage.  Depending on the type of conflict and anticipated condition of the casualties, Service Chiefs will follow standard procedures to adjust supply inventories, obtain special equipment or clinical consults, and request additional scarce medical specialists services. The Chief Resource Officer is responsible for monitoring these expenditures and ensuring proper reimbursement.

- VI.  PLAN REVIEW AND REVISION.

This plan will be reviewed annually by the Emergency Preparedness Coordinator. The Medical Center Capability Assessment, Manpower Assessment Table, and bed availability projections will be updated as required.

- VII.  TEST AND EXERCISES.

A.  This plan will be tested in conjunction with the Detroit Federal Coordinating Center's test of the National Disaster Medical System and VA/DoD Contingency Plan with EMSHG, Martinsburg, W. VA.

B.  Upon notification of alert status, all personnel involved with triage, Police, transportation, and patient dispositions will receive refresher training on proper procedures.  Routine testing and training of personnel will also be accomplished through annual testing of our Emergency Preparedness Procedures.

Appendix A-1

- NOTIFICATION

1.  FIRST ALERT TO STANDBY STATUS.  This will be a general notice from the VISN 11 Network Director to the Medical Center Director that the VA/DoD Contingency Plan is being implemented.

a.  NORMAL DUTY HOURS:  Medical Center Director implements the Facility Cascade Notification Plan to initiate readiness and advise staff of this standby status.

b.  AFTER NORMAL HOURS:  Medical Center Director will assess the situation and determine the level of notification, if any, prior to the full cascade notice at the beginning of the next work day.

2.  ASMRO NOTIFICATION OF ASSIGNMENT OF PATIENTS.  Notice from ASMRO/Scott Air Force Base may be made to the Medical Center Director, Administrative Officer of the Day (AOD), Emergency Preparedness Coordinator or Chief, Information Officer via telephone, FAX or E-mail.  This notice will alert us to the assignment of DoD patients to the Ann Arbor VAMC generally with an expected arrival time of 24 - 72 hours.  ASMRO will usually provide a patient manifest indicating patient name, medical condition and status, transportation limitations and any special equipment requirements.

a.  NORMAL DUTY HOURS:  The individual receiving initial notification will assure that complete information is obtained with regard to expected casualties (complete Appendix A-2 Record of ASMRO Notification) and will immediately advise the medical center Medical Center Director.  Depending on the number of casualties, the Medical Center Director will activate the plan and initiate a facility cascade notice such as:

"We are currently supporting the VA/DoD Contingency Hospital System.  The medical center will be receiving active duty military casualties on (date) at approximately (time).  Services with readiness responsibilities are to initiate their response.  Airport triage and support personnel will be contacted with specific details.  Implement the Facility Cascade Notification Plan".

b.  AFTER NORMAL DUTY HOURS:  The AOD will ensure complete ASMRO information is obtained (complete Appendix A-2 Record of ASMRO Notification) and immediately notify the Business Office Manager who will contact the triage coordinator to review the scope of our notice and initiate patient discharge and transfer actions.  If notification indicates receipt of casualties in less than twenty-four (24) hours, the Medical Center Director will be contacted and full activation of the plan will be initiated.  Otherwise, Facility Cascade notification will be implemented at 8 a.m. the next workday or sooner at the direction of the triage coordinator in consultation with the Medical Center Medical Center Director.

3.  ASMRO FLIGHT CONFIRMATION  When the plane is confirmed in route to Detroit, ASMRO will contact the medical center.  Telephone calls are to be directed to the Medical Center Director (EOC) or the AOD.  Any change in expected flight information is to be relayed to the Emergency Preparedness Coordinator.

4.  NOTICE THAT PATIENTS ARE DEPARTING THE AIRPORT.

a.  Emergency Preparedness Coordinator advises medical center EOC of expected time of arrival.

Appendix A-2

b.  Medical Center Director implements cascade as appropriate:  "We expect DoD patient reception at (state time).  Implement the Facility Cascade.  Manpower pool and personnel with duties involved in patient reception are to immediately report to the ambulance garage (or designated reception site)".

Appendix A-3

- RECORD OF ASMRO NOTIFICATION

THE PERSON RECEIVING THE INITIAL NOTIFICATION OF ASMRO'S INTENT TO SEND CASUALTIES TO VAMC ANN ARBOR WILL ASSURE THAT THEY HAVE AS MUCH OF THE FOLLOWING INFORMATION AS POSSIBLE:

- 1.  TOTAL NUMBER OF CASUALTIES BEING SENT

| MM MEDICINE & NEUROLOGY: SS SURGERY (EXCEPT ORTHO): SO ORTHOPEDIC SURGERY: MP PSYCHIATRY: OTHER |  |
| --- | --- |

- 2.  EXPECTED DATE AND TIME OF ARRIVAL OF FLIGHT (ETA)

3.  CONTACT PERSON                               COMMERCIAL PHONE NUMBER (       )

(MILITARY PERSON WHO CAN ANSWER QUESTIONS ABOUT THE FLIGHT)

4.  WHEN & HOW MANIFEST* WILL BE SENT:  DATE         /        /         FAX       TWX

*LIST OF PATIENTS WITH THE FOLLOWING MINIMAL INFORMATION:

NAME:                              SSN:        -       -         DIAGNOSIS:

- TRANSPORTATION REQUIRED:

5.  MESSAGE RECEIVED BY:                                         DATE & TIME:

6.  NOTIFICATION DELIVERED TO MEDICAL CENTER Medical Center Director BY:

- ON DATE & TIME:

Appendix B-1

- BED REPORTING

1.  ANNUAL ASSESSMENT AND PLAN:  Annually, the Business Office Manager (Bed Control Coordinator) determines the average percent of service connected patients treated by Medicine, Surgery and Psychiatry services in the hospital and the Nursing Home Care Unit (ECERC).  These percentages are used to determine the maximum number of beds that can be made available for VA/DoD Contingency  use and the number of beds that can be made available in 24 and 72 hours.  (See Appendix B-2, Bed Availability Plan).

2.  QUARTERLY REPORTING:  VHA HANDBOOK 0320.1, dated May 1, 1997, defines Quarterly bed reporting requirements.

3.  FORUM ACCESS FOR VA/DoD BED REPORTS AND MOBILIZATION REPORTS:  The Business Office (Bed Control Coordinator) has to submit quarterly and more frequent reports in the event of VA/DoD Contingency Plan implementation.

4.  IMPLEMENTATION OF VA/DoD BED REPORTING:

a.  Day One.

1)  Notice is received that VA/DoD Bed Reporting is to be initiated.

2)  Business Officer Manager (Bed Control Coordinator) or designee notifies Patient Care Services of the need to identify inpatients who can be discharged or transferred over the next 3 days for completion of their care to:  VAMC Battle Creek; VAMC Saginaw; our Nursing Home; Contract Nursing Home and those patients who can be discharged to their own home to make room for incoming casualties.

3)  Ward clerks provide ward rosters and identify the nearest VAMC to the patient's home.

4)  Transfers to Battle Creek and Saginaw for the current day are called to their individual VA/DoD Bed Reporting offices before 11 a.m.

5)  Bed Control Coordinator/Admitting reports number of scheduled admissions LESS all service connected and emergent non-service connected patients for the current day and next two days.

6)  Patients who can be discharged or transferred over the next two days are identified by Unit Managers and reported no later than noon.

7)  24/72 HOUR BED AVAILABILITY form is completed by Bed Control Coordinator or designee with the above information and the report is entered in the VA/DoD Bed Reporting System on FORUM before 1 p.m.

Appendix B-2

8)  List of patients who can be discharged or transferred is reviewed by the Attending Physician and additional information is obtained as necessary so that transfers can be arranged for the following day.

9)  Reports from FORUM showing Ann Arbor Bed Availability and Secondary Sites are reviewed at morning meeting.

b.  Subsequent Days.

1)  Ward Clerks provide ward rosters and identify the nearest VAMC to the patient's home.

2)  Nurses identify patients who could be discharged home or transferred to VAMC Battle Creek or Saginaw, ECC or Contract Nursing Home for the current day and next two days.  They report Diagnosis; Care requirements and transportation requirements for patients who could be transferred reviewing this list with attending physicians for approval.

3)  Admitting person reports number of scheduled admissions LESS all SC and Emergent NSC patients for the current day and next two days.

4)  Admitting person reports number of transfers to Battle Creek and Saginaw (coordinated with Travel Clerk) and discharges anticipated for the day broken down by ward/service.

5)  Transfers to Battle Creek and Saginaw for the current and next two days are called to their individual VA/DoD Bed Reporting offices before 11 a.m.

6)  24/72 HOUR BED AVAILABILITY form is completed by Bed Control Coordinator or designee with the above information and the report is entered in the VA/DoD Bed Reporting System on FORUM before 1 p.m.

7)  Reports from FORUM showing Bed Availability for Ann Arbor and Secondary Sites are reviewed at morning meeting.

Appendix B-3

- VA/DoD CONTINGENCY HOSPITAL SYSTEM -- FY PLANNING

VA ANN ARBOR HEALTHCARE SYSTEM SUMMARY

FACILITY NAME    VAMC Ann Arbor                                                                VISN NO.  11

STATION NO.    506

FUNCTIONAL CODE Check appropriate Box(es): FEDERAL COORDINATING CENTER (FCC SUPPORT CENTER) ______ INSTALLATION SUPPORT CENTER (SIC) X PRIMARY RECEIVING CENTER (PRICE) ______ SECONDARY SUPPORT CENTER (SSMC)

| VA BED SECTION | FY 98 SECTION OPERATING BEDS | FY 97 AVERAGE % OF SC IN-PATIENTS |  | PATIENT EVALUATION DoD CATEGORY | NUMBER OF BEDS TO BE MADE AVAILABLE TO DoD |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | DESCRIPTION |  |  | SYMBOL | 24 HOURS | 72 HOURS | MAXIMUM BEDS IN 30 days |  | DAYS TO achieve |
| MEDICINE | 53 | 39% | MEDICINE |  |  | MM | 4 | 15 | 41 |  |  |
| PSYCH | 24 | 47% | PSYCHIATRY |  |  | MP | 4 | 13 | 23 |  |  |
| SURGERY | 35 | 37% | SURGERY |  |  | SS | 4 | 10 | 31 |  |  |
| OTHER HOSPITAL BEDS |  |  | ORTHOPEDICS |  |  | SO | 1 | 2 | 4 |  |  |
| TOTAL HOSPITAL BEDS | 112 | 40% | SPINAL CORD INJURY |  |  | SC | 0 |  |  |  |  |
| NURSING HOME | 60 | 42% | BURNS |  |  | SB | 0 |  |  |  |  |
| DOMICILIARY |  |  | OB/GYN |  |  | SG | 0 |  |  |  |  |
| TOTAL SITE BEDS |  |  | PEDIATRICS |  |  | MC | 0 |  |  |  |  |
| ***INSTALLATION SUPPORT CENTERS (ISC) ONLY LIST SUPPORTED DoD INSTALLATION(S) |  |  | NEURO-SURGERY |  |  | SSN | 0 | 1 | 3 |  |  |
|  |  |  | MAXILLO-FACIAL |  |  | SSM | 0 | 0 |  |  |  |
| NOTE: OPERATING BEDS FOR FY97 WERE USED DUE TO A REDUCTION IN BEDS WHICH TOOK EFFECT 10-1-96 |  |  | OPHTHAL-MOLOGY |  |  | SSO | 1 | 2 |  |  |  |
|  |  |  | THORACIC SURGERY |  |  | SSCT | 0 | 1 | 3 |  |  |
|  |  |  | UROLOGY |  |  | SSU | 1 | 2 | 3 |  |  |
|  |  |  | TOTAL BEDS |  |  | TOT | 15 | 46 | 108 |  |  |

*   Specify the number of days required to achieve maximum bed availability.

** Use the most recent full fiscal year data.

- NAME/TITLE OF INDIVIDUAL PREPARING REPORT:  Mira Pierson

TELEPHONE NO.  (734) 769-7100 ext. 5272	DATE OF REPORT: April 2003

Appendix B-4

24/72 HOUR BED AVAILABILITY WORKSHEET

| VACANT BEDS FROM TODAY'S G&L ADJUSTMENTS: BEDS NOT TO COUNT EMERG ADMITS & D/C | MM(MED, NEURO, DER -2 | MP(PSY) -- | SS(SURG) -2 | SO(ORTH) |
| --- | --- | --- | --- | --- |

x .15 = **

-        **

| 1. 24 hour bed availability to report on FORUM BSR: |  |  | *** | ** |
| --- | --- | --- | --- | --- |

- FOR THE NEXT 72 HOURS TODAY (T), T+1, T+2)

| T T+1 T+2 2. Less all SC & Emergent NSC Scheduled Admits TOTAL 3. Discharges to ECERC Home, NH & Other 4. Transfers to a. VAMC Battle Creek b. VAMC Saginaw 5. LESS EMERG ADMITS |  |  | - -5 |  | - -1 |  | - (TO A MM BED) -3 x .15 = ** - ** |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 6. 72 Hour bed availability to report on FORUM BSR: |  |  |  |  | *** |  | ** |  |

** The total Surgery beds to be made available consist of 85% surgery and 15% Orthopedic Surgery.  Since individual specialties are not monitored here, the most accurate way to report is to use the calculations shown.

Patient Transfers:              Adequate transportation:  YES       Transfer comments:                                                                                                                                                                                                                                           Battle Creek:             MM                       MP Saginaw:                 MM                        SS

Appendix C-1

- VA/DoD CONTINGENCY PLAN

- MEDICAL CENTER CAPABILITY ASSESSMENT

1.  PURPOSE:  This appendix is a partial survey of Medical Center capability, valid as of the date completed.  It is intended as an aid in planning prior to activation of the contingency plan and as a tool for actual assessment upon implementation.

2.  RESPONSIBILITY:  The responsible Chiefs of Service are indicated adjacent to the functional section below.  Where data is not normally available within the assigned section, it will assume a lead role, collect the data from the proponent and complete the functional section as assigned.  They will update this assessment immediately upon implementation of the plan or, as directed, whenever implementation appears imminent.  They are responsible for recommending additions and changes to this assessment to ensure that appropriate information is available for planning and that, when required, it provides the Medical Center Director with a truly timely and essential assessment of the VAMC to handle emergencies.  They maintain appropriate systems to update the assessment on short notice.

a.  The assessment will be updated when the plan is reviewed annually.

b.  The assessment will be updated at the call of senior management and within eight hours of activation of a contingency plan.

3.  BEDS (Business Office-Bed Control Coordinator)

a.  How many unoccupied beds do you have in your hospital daily?        17

b.  How many of these unoccupied beds are not available because of:

(1)  Staff (identify category)? (Staffed bed defined at Note):        0

(2)  Construction:         0

(3)  Equipment:            0

(4)  Support Service:     0

(5)  Other (identify):      0

NOTE:  A staff bed is one with an acceptable patient/staff ration.  It is currently available for patient care and free from constraints such as construction related closure, lack of equipment, lack of support service and other factors.

c.  How many service-connected patients do you average on an annual basis?           38%

Appendix C-2

d.  How many patients could you discharge in each of your bed sections to make beds available for incoming casualties within? *

| MM (Medicine) MP (Psychiatry) SS (Surgery) SO (Orthopedics) SC (Spinal Cord Injury) SB (Burns) SG (OB/GYN) MC (Pediatrics) SS (Neurology) SS (Opthy) SS (Thoracic) SS (Urology) TOTAL |  | 24 HOURS 4 4 4 1 1 1 15 | 72 HOURS 15 13 10 2 1 2 2 2 46 |
| --- | --- | --- | --- |

*Discharge will be addressed case by case.  This is strictly a planning estimate.

e.  How many beds do you have assigned in each of the eight evacuation categories?

| MM (medicine) MP (psychiatry) SS (surgery) SO (Orthopedics) SC (Spinal Cord Injury) SB (Burns) SG (OB/GYN) MC (Pediatrics) |  | 68 44 47 10 0 0 0 0 |
| --- | --- | --- |

f.  Do you have flexibility in reassigning beds in these eight categories?    Some

g.  Do you have an area in your medical center where less acute patients could be temporarily housed while awaiting disposition to another level of care?   No

h.  What community agencies would allow expansion of existing contract to utilize available beds in their agency for VA patient workload?  Possibly community nursing homes.

i.  What potential exists within your community to contract for bed services?       N/A

4.  HUMAN RESOURCES:  (Human Resources Supervisor)  Profile the VAMC work force, its potential for reduction through medical reserves and its potential for expansion through several alternatives.

*a. Age of work force (see Appendix C-2):

*b. Number of Reserve and National Guard staff:  65

Appendix C-3

*c. Number of retired military subject to recall:    23

*d. Number of staff with dual appointments (list clinical specialties represented on medical staff that can be relied upon in a contingency): At first alert, HR Supervisor will survey each service for current information.

*e. Number of trainees assigned by service (assess by individual service to determine area of vulnerability):

| SERVICE DENTAL DERMATOLOGY Medical Center Director’s OFFICE MEDICINE NEUROLOGY NUCLEAR MEDICINE NURSING | TRAINEE 8 3 2 110 5 4 125 | SERVICE PSYCHIATRY PSYCHOLOGY RADIATION ONCOLOGY RADIOLOGY PHYSICAL MEDICINE & REHAB SOCIAL WORK SURGERY | TRAINEE 15 6 3 12 1 5 30 |
| --- | --- | --- | --- |

*f. Retired VA employees (local and within 50 miles): Unknown - HR will attempt to contact critical clinical position retirees at last known address.  HRM Service will also contact OPM to obtain a list of retirees in the commuting area.

*g. Identify the potential groups within the medical center that could be a source of personnel:

(1)  Volunteers: HR to coordinate search with the Coordinator, Voluntary Services.

(2)  Veterans organizations: HR to coordinate search with Coordinator, Voluntary Services.

(3)  Red Cross: HR to coordinate contact with Voluntary Services.

(4)  Other groups: HR to contact Michigan Employment Security Commission.

h.  What potential do you have to expand tours of duty?  Use overtime and implement at direction of Medical Center Director.

i.  What potential do you have to expand the work week?  Implement at direction of Medical Center Director.

j.  Which functions could be curtailed or restricted to increase available staff for direct care?  At discretion of Chief of Staff and Medical Center Director, restrict clinic, surgeries and recreational programs.

Appendix C-4

k.  Will special training be needed for individuals assuming additional or new assignments?

(1)  Nursing Assistants:

(2)  Escorts: possible

(3)  Drivers: possible

(4)  Supply Assistants:  possible

(5)  Other (list):

l.  Can you identify individuals within employees/staff/volunteers having skills gained through hobby activities?  Need to survey employees and review OPF's to establish a skills inventory.

m.  Could you absorb personnel from other medical centers within your work force?  (Training credentialling and privileging must be considered).  Yes - Adequate support staff exist.

n.  Describe your preparation to absorb transferred VA employees:

(1)  Temporary housing:  Canvas staff as volunteer host, use hotels.

(2)  Training:  ACOS for Education will assess and meet requirements as needs arise.

(3)  Support systems:

(4)  Credentialling and privileging:  Chief of Staff and clinical staff support will expedite the process.

(5)  Feeding: see (1) above.

(6)  Other:

5.  SUPPLIES AND EQUIPMENT:  (AD for Operations and Chief Resource Officer) Profile for top management, the VAMC's ability to sustain operations under emergency circumstances.  Plan continued development of these links prior to need.  Consider the following issues when developing the contingency supply and equipment/resource procurement plan.

- a.  Source:  Supplies and equipment can be obtained from local, national, VA/DoD depots and other VA Ann Arbor Healthcare Systems.

(1)  Local:   DETROIT VA Medical Center	Owens & Minor Inc.

(313) 576-1000	Plymouth, MI  (734) 455-9300

McKesson Medical Corp.                                     Krasity’s Med & Surg Supply

Livonia, MI  (800) 877-1919                              Dearborn, MI  (800) 537-1394

- State:  Battle Creek VA Medical Center

616-966-5600

Selfridge Air National Guard Base                   American Diagnostic Supply

Selfridge, MI  (586) 308-3418                             Flint, MI   (800) 426-3353

Appendix C-5

(3)  National:

Baxter V Meuller                                 Labelco

Deerfield, IL  (800) 323-9088              Minneapolis, MN  (800) 522-3526

Abbott Laboratories                          Johnson & Johnson

North Chicago, IL  (800) 222-6883     New Brunswick, NJ  (800) 932-3026

- Medline Industries

- Mondelein, IL (800) 535-4390

- b.  Stock-Levels:  45 days

- c.  Inventory of items maintained by the Generic Inventory Package (GIP)

- d.  Inventory of station equipment maintained by the Item Locator in PPM & Ames/Mers.

- e.  Disposable items which could be replaced with non-expendable:  Basins, urinals, suture hits or trays and packs.

- f.  Foreign made parts:  Maintenance Contractors for foreign-made equipment.

- g.  Drugs (Chief, Pharmacy Service):

(1)  Available quantities - pre determined

(2)  Shelf life

(3)  Variety or variations

(4)  Storage capacity

- h.  Other Pharmaceutical supplies:  See All Sources Listed in Item a.

- i.  Subsistence:

Ann Arbor Produce                  Burdick Packing Co.                      Sysco Meisel

- Ann Arbor, MI (734)662-3101   Battle Creek, MI (616)962-5111     Canton, Mi  (800) 366-3577

Gordon Food Service	N Leone & Sons

Ypsilanti, MI (734) 677-2500 	Livonia, MI (734) 427-7650

- j.  Blood, blood products:

American Red Cross                  American National Red Cross    Ortho Diagnostics

Laboratory Blood Services       Detroit, MI  (734) 833-4690           Raritan, NJ  (800) 322-6374

Detroit, MI  48277                       Toledo, OH  (419) 242-1541         (Typing Sera)

- k.  Radiology supplies:

University of Michigan Hospitals    Bard, Radiology Division       Eastman Kodac Co.

Department of Radiology                 Murray Hill, NJ                        Scientific Imaging Systems

Ann Arbor MI  (734) 936-6939          (800) 526-4455                         Rochester, NY. (800) 225-5352

Appendix C-6

- l.  Laboratory supplies:

Baxter Co.                                                                                     Coulter Corp.

Renal Products Division, Deerfield, IL  (800) 284-4060              Miami, FL (800) 526-7694

- Edward Division, Irvine, CA  (800) 428-3278

- V Mueller Division, McGaw Park, IL  (800) 323-9088

Fuji Photo Film USA Inc.                                    Organon Teknika Corp.

Lanham, MD (800) 345-0845                             Durham, NC  (800) 682-2666

Baxter Critical Care	    Fisher - CMS

Edwards Critical Care Division	    Wooddale, IL  (800) 562-9265

- Brighton, MI  (810) 229-0077

- m.  Specialty Item Sources:  Ann Arbor's proximity to urban suppliers & manufacturers would facilitate acquisition of specialty items.

- n.  Special Equipment Needs:

(1)  Will you need to have different equipment to manage a different case mix?   Possibly, depending on patient manifest.

(2)  Availability of repair technicians:  On staff

(3)  Portable equipment:   N/A

(4)  Fixed equipment:   N/A

o.  Other - Identify:   N/A

6.  SPACE  (Facilities Management Officer and Facilities Maintenance Supervisor)

a.  Storage capability:

(1)  Triage supplies - SPD

(2)  DoD patient baggage, clothing, valuables - Patients Clothing Room would need to be supplemented.

b.  Combining of functional activities for other needs:

c.  Rubbish disposal:

d.  Temporary facilities needed:

e.  Additional areas:

(1)  Media room

(2)  Military patient administration team office

Appendix C-7

7.  COMMUNICATIONS:  (Chief, Information Officer)

a.  Identify all existing communications presently in use or available as backup for your facility:

(1)  Telephone:  Internal PBX with many Direct In Dial (DID) lines.  Cellular and Wireless phones.  Several pay phones.  We have four fax machines with DID lines.

(2)  Teletype:  Served by the PCTS network.  We currently receive DoD traffic for the UM ROTC facility.

(3)  Paging systems:  In-house, local (10 mile radius) voice paging system.  Approximately 15 leased, long-range numeric radio pagers.  In-house Public Address system.

(4)  Emergency radio (ham, CB, amateur radio groups):  clubs are in the area with no direct affiliation with the VAMC.

(5)  Radio/TV stations (internal & community):  There is an internal MATV system with one in-house channel.  There is a cable company in the community with Community Access Channels.

(6)  The HEAR radio network is a local radio network used by community medical centers and the VAMC and ambulance companies.  Used daily and during local disasters.

(7)  VA communication linkages:  The VA's IDCU network connects the VA nationwide to FORUM, FOURWORD, etc.  These same services are also available to a limited extent via modem lines via the public telephone system.

(8)  Messenger services:  Federal Express has the contract for expedited mail services.  In-house mail room staff are available for routing high priority hard copy.

(9)  Other:  Mobile radios (car base stations and walkie-talkies) are used for internal communications.  These are also used for communicating with VA receiving teams at the EOC (Emergency Operations Center) at Detroit Metropolitan Airport during the activation of the VA/DoD Contingency plan.  They have the ability to communicate with both the Ann Arbor and DETROIT VAMCs by switching between their two radio frequencies.

b.  Review what resources will be needed to replace any of the systems that might fail:

(1)  Items 1, 3, 6, 7 and 9 are under Maintenance Contracts.  Item 2 would require a backup PC that could be pre-loaded with the PCTS software.

c.  Identify all available communication systems in your area that would allow your facility to communicate with external agencies:

The telephone, FORUM's e-mail gateway to the Internet, and Federal Express are the communications paths to external federal agencies.  The HEAR radio system is the path for community disaster' medical communications.

d.  What is the potential for networking your communications system with:

(1)  Local & state emergency agencies:  We can currently communicate with them by telephone, fax, or modem.  The HEAR radio network is the local medical disaster communications network that this VAMC is part of.

Appendix C-8

(2)  Other Federal agencies, including the military:  Telephone, fax, modem, FORUM's e-mail gateway to the Internet are the communications pathways available to communicate with other Federal agencies, including the military.

(3)  Other VA Ann Arbor Healthcare Systems: Telephone, fax, modem, and the IDCU data network are the communication paths that can be used to communicate with other VA Ann Arbor Healthcare Systems.

e.  Are your communication systems in areas where priority needs exist?  Yes.

f.   Are you integrated into local community emergency systems?  Yes.

g.  What modification of your existing communication systems would enhance your capability?  Identify costs associated with modification and consider making those modifications.

- A cellular phone for communications is available in EOC.

8.  CONTRACTUAL SERVICES:  (Chief Resource Officer lead/coordinate...)

a.  Existing contracts and formal and informal MOUs:

(1)  Services provided:

Home Oxygen Service	Contract: V553P-9141

Rotech Medical Corp 	Exp: 9/30/03

1280 W. Oklahoma, Ulysser, KS 67880	620-356-5451

Emergency 	Contract: V506P-3431

Huron Valley Ambulance	Exp: 9/30/03

2215 Hogback Road, Ann Arbor, MI 48105	(734) 971-4420

Non-Emergency Transportation	Contract: V506 P-3545

Nets 	Exp: 9/30/03

P.O.Box 761, Jackson, MI 49204-0761	888 873-6387

Non-Emergency Transportation	Contract: V506P-3546

Safe Transportation	Exp: 9/30/03

P.O.Box 98-0737, Ypsilanti, MI 48198	734-481-0838

Non-Emergency Transportation	Contract: V506P-3547

Care Transportation	Ext: 9/30/03

2866 Golfside, Ann Arbor, MI 48108	734-434-6786

(2)   Services provided with in-house capacity:  Non-critical transportation services, all necessary diagnostic & therapeutic services.

b.  Expanded needs:  To be determined as needed.

c.  Revision of regulatory requirements:  The public exigency authority would be used to bypass normal procedures & expedite contracting of services.

d.  Any contracts that would be affected by increased demands:  Excessive increased demands would affect all requirements-type contracts.

Appendix C-9

e.  Identify other government agencies where contracts could be developed:  Defense Logistics Agency (DLA) & General Services Administration (GSA).

f.  Identify other government agencies where contracts could be developed.

9.  TRANSPORTATION:  (Transportation Supervisor)

a.  Available station vehicles:  The following vehicles will support the VA/DoD CHS:  (During initial notification TAG numbers will be submitted to the VA/DoD Coordinator):

| VEHICLE ### Dodge Caravan 2003 Dodge Caravan 2003 Blue Bird Bus Ford 2 Ton Truck 1993 | TAG | CAPACITY 8 passengers 8 passengers 18 passengers & 2 wheelchairs Triage Team Supplies |
| --- | --- | --- |

b.  GSA - Services:  N/A

c.  Air Transport:  Serviced by Detroit Metropolitan Airport

d.  Trains:  Ann Arbor AMTRACK station

e. Limousine/car rentals:  Huron Valley Ambulance

f.  Taxi Cabs:  N/A

g.  What actions will you need to take to be able to use these systems for your needs:  Confirm contract specifications and cost.

h.  Will these systems be available for your use during the time of emergency?  Yes.

Appendix C-10

- STAFF ASSESSMENT & MOBILIZATION POTENTIAL REPORT

Facility:  Ann Arbor                                                              As of: 10/01

Station number:  506                                                              COIN PAI 112

Report dated 10/31/01

|  | PHYSICIANS | NURSE | OTHER MEDICAL | SUPPORT | TOTAL |
| --- | --- | --- | --- | --- | --- |

| 1. Total staff on board | 104 | 255 | 300 | 531 | 1190 |
| --- | --- | --- | --- | --- | --- |

| 2. On board by age |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

| 18 - 45 | 87 | 200 | 123 | 386 | 796 |
| --- | --- | --- | --- | --- | --- |

| 46 - 59 | 13 | 53 | 173 | 140 | 379 |
| --- | --- | --- | --- | --- | --- |

| 60 & OVER | 4 | 2 | 4 | 5 | 15 |
| --- | --- | --- | --- | --- | --- |

(Total of age groups must equal "1" above, by category)

| 3. In ready reserve by age |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

| 18 - 45 | 0 | 2 | 1 | 4 | 7 |
| --- | --- | --- | --- | --- | --- |

| 46 - 59 | 0 | 0 | 0 | 0 | 0 |
| --- | --- | --- | --- | --- | --- |

| 60 & OVER | 0 | 0 | 0 | 0 | 0 |
| --- | --- | --- | --- | --- | --- |

| 4. Military retired by age |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

| 18 - 45 | 0 | 0 | 0 | 2 | 2 |
| --- | --- | --- | --- | --- | --- |

| 46 - 59 | 0 | 1 | 1 | 10 | 12 |
| --- | --- | --- | --- | --- | --- |

| 60 & OVER | 0 | 0 | 0 | 0 | 0 |
| --- | --- | --- | --- | --- | --- |

(Total of age groups for "3" plus "4" cannot exceed total in "1" or "2" above, by category).

MANPOWER TABLE  (Refer to and validate Coin Pai 112 Report.  VA Employees subject to mobilization).

Appendix D

- DECONTAMINATION

See Section 8 of Policy Memorandum S-5 (Emergency Preparedness Plan) entitled Chemical, Radiological and Biological Terrorism.

Appendix E-1

- AIRPORT RECEPTION/TRIAGE SUPPLIES & EQUIPMENT

| SPD SUPPLIES FOR TRIAGE Crash Cart Restraints Chest insertion kit Pleuravac Chest tube clamp Chest tube 24, 32, 36 Large bandage scissors Stethoscope Spyghnomanometer Sterile instrument sets Sterile scissors (disp.) 2-0 silk, 3-0 silk sutures Scalpel #10 IV cath #18 Syringes 3 cc 20 ga needles Injection cap Sterile gloves 7, 7 1/2, 8 Exam gloves, large Masks Goggles Isolation gowns Needle disposal box Plastic bags Tourniquets 4 x 4 gauze pads 5 x 9 ABD pads SPD SUPPLIES FOR TRANSPORT: Exam gloves large Sterile gloves 7, 7 1/2, 8 Alcohol wipes 4 x 4 gauze pads Tape 1" & 2" 5 x 9 ABD pads Kerlix sterile Blue pads Tourniquet Masks Goggles Isolation gowns Needle disposal box, 2 gal. Plastic bags Oral airway Pocket mask for CPR Foley cath pack Foley cath #16 | 1 1 1 1 1 1 each 1 4 2 2 4 2 4 1 box 1 box 10 4 1 box 1 box 4 10 1 10 4 2 bags 1 box 1 box 2 each 1 box 1 box 2 each 4 each 4 5 2 10 2 4 1 10 1 1 1 2 | Sterile barrier Alcohol wipes Sterile kerlix Tape 1" & 2" Bioclusive IV dressing Trach cleaning set Suction catheter Foley cath kit Urinary drainage bag Foley cath #16 Emesis basin Bedpan Urinal Toilet paper Cups Straws Paper bags Blue pads Oral airway Nasal cannula Ventimask Non-rebreather mask O2 tank, 2 small EKG electrodes Electrode jelly Pocket mask for CPR Foley cath #16 Stethoscope Sphygnomameter IV cath Syringe 3 cc, #20 needle Injection caps Nasal cannula Non-rebreather O2 mask Ambu bag Small O2 tank Ventimask Sterile scissors Sterile instrument set Arm board (long, short) Emesis basin Urinal Bedpan Toilet paper | 5 2 boxes 10 3 each 10 1 5 2 2 4 10 4 10 4 25 25 4 10 2 2 2 1 2 10 1 bottle 1 1 1 1 4 each 5 2 2 1 1 1 1 2 1 1 each 4 4 2 2 |
| --- | --- | --- | --- |

Appendix E-2

| DRUG SUPPLIES FOR TRIAGE TEAM ITEM: Albumin 25% 50 ml Aminophylline 500 mg 20 ml Atropine Sulfate l mg syringe Diazepam 10 mg vial Diphenhydramine 50 mg ampoule Epinephrine 1:1000 vial Glucose Tolerance Solution Haloperidol 5 mg vial Heparin 100 u/ml vial Insulin Regular V100 Humulin Lidocaine 1% vial Metaproterenol Inhaler Methylprednisolone 125 mg vial Morphine Sulfate 10 mg tubex Nifedipine 10 mg capsule Nalozone 0.4 mg ampoule Nitroglycerin 0.4 mg tablet Phenytoin 250 mg vial Potassium Chloride 20 mEg vial Verapamil 5 mg vial Tubex Injector holders Chemstrips with lancets (#503) Betadine 1% pint Hydrogen Peroxide pint Isopropyl Alcohol 70% pint Sterile water for irrigation Sterile 0.9% NACL for irrigation IV Solutions: 0.9% NACL l liter 0.9% NACL 259 ml 0.9% NACL 50 ml Lactated Ringers 1 liter 5% Dextrose 1 liter Miscellaneous: Syringes 3 ml Syringes 20 ml 4 x 4 sponges 15 drop/ml IV set 60 drop/ml IV set Albumin IV set Extension IV set IV labels | QUANTITY: 4 2 4 10 2 2 1 5 4 1 2 1 4 10 5 10 100 4 5 2 2 50 2 2 2 4 4 8 3 3 4 6 8 8 1 box 6 6 4 6 25 | DRUG SUPPLIES FOR TRANSPORT Need four sets of each of the following: NS 1000cc IV LR 1000cc IV D5W 1000cc |
| --- | --- | --- |

Appendix F-1

- Medical Center Director's Office

- POSITION: Medical Center Director

- ALTERNATE: Associate Director for Operations

- 1.  Activate appropriate cascade notification plan (see VA/DoD Contingency Plan Appendix A, Notification).

- 2.  Activate the Emergency Operations Center and staff as required.

- 3.  Advise Veterans Service Organizations of the local situation.  Activate Public Affairs hotline.

- 4.  Assess medical center staffing and restrict or cancel staff leave.

a.  Confer with Chief of Staff, Associate Director for Operations and ADPCS to assess manpower requirements.

b.  Issue policy statement, reassess policy throughout activation of the Contingency Plan.

c.  Implement recall of staff, mandatory overtime, etc.  as required.

d.  Assess the need for staff details from Saginaw and Battle Creek secondary VAMCs and coordinate implementation with other VAMC Medical Center Directors.

e.  Contact VISN Emergency Operation Center (VEOC) to identify additional personnel required to provide care for incoming casualties or to fill positions created by employee mobilization.

- 5.  Refer any of the following significant issues to the VEOC:

a.  Clinical issues.

b.  Problems/incidents encountered with VA beneficiaries, DoD beneficiaries or families of same.

c.  Supply, equipment or pharmaceutical issues.

d.  Personnel/staffing issues.

e.  Public affairs activities.

f.  Security concerns.

- 6.  During receipt of casualties, man the medical center EOC to facilitate status reports, changes and command decisions as situations may require at the airport.

Appendix F-2

- CHIEF OF STAFF

- POSITION: CHIEF OF STAFF - TRIAGE COORDINATOR

- ALTERNATES:  ACOS FOR AMBULATORY CARE

- CHIEF, SURGERY SERVICE

- FIRST ALERT TO STANDBY STATUS:

1.  Assess clinical staffing and advise the Medical Center Director on the need for specialists, details needed to cover military mobilization, or cancellation of leave.

2.  Review the bed availability process with the Bed Control Coordinator.

3.  Confer with the Chief, Infectious Disease depending on the location of the military operation and level of conflict to assess decontamination plans, antibiotic treatment plans, and potential infectious diseases the casualties may develop.

4.  Confer with the ACOS for Education to assess needs for special training, ie. infectious diseases update, sensitivity, stress.

- NOTIFICATION OF RECEIPT OF CASUALTIES:

- 1.  Review patient manifest with Medical Response Team, Nursing Triage Coordinator, and VA-DoD Coordinator.

- Action:

a.  Coordinate bed availability by determining patients who might be discharged or transferred to a secondary or community facility.

b.  Issue directives to curtail non-emergent, non-service-connected veterans' admissions.

c.  Designate bed classifications for each patient on the manifest and assign physicians.

d.  Assess non-routine manpower requirements and Services to be alerted to facilitate patient admission; determine need for on-call support staff or mandatory overtime.

e.  Review the type of transportation required and any special equipment needs.  The Nurse Triage Coordinator will advise Transportation and Beneficiary Travel.

- TRIAGE COORDINATOR

- 2.  Review patient manifest to designate composition of the airport triage team and determine the scope of our response, including the need for support from the secondary facilities.

- Action:

a.  Determine the number or triage teams required (Minimum:  1 physician, 1 RN, 1 Clerk representative) and the need for additional RN's or physician staff.  Details identified in plan under Reception Procedures, pg 5.

Appendix F-3

b.  Establish the time for triage team(s) to report to the ambulance garage (at least 3 hours before the planned aircraft arrival time).  Advise Nurse Triage Coordinator, and Emergency Preparedness Coordinator.

c.  Man the medical center command center to facilitate decisions on acceptance or transfer of casualties not on our manifest or to confer on urgent clinical decisions.

- 3.  Medical Center Patient Reception

- Action:

a.  Establish patient reception teams and alert physicians of patient assignments.  The Emergency Preparedness Coordinator at the airport Emergency Operations Center will notify the medical center command center as patients depart the airport.

b.  Coordinate patient flow through the ambulance garage.  Patients will be transported to their assigned bed/ward.

Appendix F-4

- POSITION:  EMERGENCY PREPAREDNESS COORDINATOR (EPC) - Emergency Preparedness Coordinator

- ALTERNATE:  Industrial Hygienist

1.  Follow up with key services and positions to ensure effective notification and responses, i.e., Utilization Management, Facilities Management, Chief of Staff, Patient Care, Public Affairs, Social Work, Police and Transportation, Food Production, Central Supply, VAMC Battle Creek, VAMC Saginaw.

2.  Brief Medical Center Director and Chief of Staff:

- Action:

a.  Obtain initial risk assessment of medical center security position from Emergency Preparedness Coordinator.

b.  Obtain manpower reports from key services (11, 11A, 30, 51, 53, 43).

3.  Initiate contact with the Military Patient Administrative Team.  Assist with planning for an MPAT office if necessary.

4.  Convene a meeting of key staff to assess medical center readiness, i.e., the VA/DoD coordinator, Emergency Preparedness Coordinator, AA to the Chief of Staff, Public Affairs Specialist, and representatives from Utilization Management, Patient Care and Social Work Services.  The group will meet as necessary to identify and resolve any problems encountered throughout plan activations.

5.  Coordinate an update to the Medical Center Capability Assessment, Appendix C.

6.  Ensure VISN 11 and DETROIT FCC have been advised of our notification.

7.  Attend Utilization Management and Chief of Staff review of patient manifest; ensure decisions of the Chief of Staff are effectively communicated to responsible officials.

8.  As requested, coordinate support personnel or vehicles etc. from the VAMC Battle Creek or Saginaw.  Ensure triage teams and support personnel are advised of meeting time for departure to the airport.

9.  At least 4 hours prior to departure for the airport, confirm readiness of each key group.

10.  Obtain a master list of triage and support personnel from the Emergency Preparedness Coordinator prior to departure for the airport.  FAX the master list to the airport Emergency Operations Center/Wayne County Sheriff's Department to facilitate security clearance.

11.  Document Medical Center response to receipt of DoD patients.  Ensure completion of all readiness and activation reports.

12.  Document resource requirements for drills and activations.  Assist Chief, Financial Administrator with billing details for DoD patients.

Appendix F-5

13.  Contact FCC representative at VAMC DETROIT to confirm airport availability and procedures.

14.  Review security risk assessment for our airport reception team and patients.  Develop options and implementation procedures for briefing with the Medical Center Director.

15.  Confirm proper operation of all communications equipment.

16.  Coordinate refresher training as required for triage team support personnel.

17.  Confirm location of the storage area for equipment, linen and supplies to be used by the triage team and support personnel.  Advise all parties of the purpose and location of this room.

18.  Review patient manifest decisions of the Chief of Staff.  Coordinate revisions to transportation and support personnel as indicated by the number and acuity levels of patients.

19.  Confirm logistics for airport reception, contact the airport, and coordinate response with the FCC at DETROIT.

20.  Advise triage support personnel of meeting and departure time for the airport.  Remind staff to wear picture identification badges to the airport.  If necessary obtain Food Production Service storage key or have Food Service staff load emergency beverages, etc.

21.  Obtain and issue radios to appropriate triage personnel.  Ensure all supplies and equipment are properly loaded, transported to and returned from the airport.

22.  Coordinate airport reception from the airport EOC.  Facilitate transportation, dispatch of critical patients, and communications between the airport and VAMC.  Document aircraft arrival time and departure time, triage times and any problems.

23.  Advise VAMC EOC of departure time from the airport and anticipated arrival at the medical center.

Appendix F-6

- ACOS AMBULATORY CARE

POSITION:  NURSE TRIAGE COORDINATOR

- FIRST ALERT TO STANDBY STATUS:

1.  Confer with Associate Director for Patient Care and other clinical coordinators to establish and prepare the nurse triage team.  Confirm current phone numbers.

2.  Initiate refresher training for nursing staff.

- NOTIFICATION OF ASSIGNMENT OF CASUALTIES:

1.  Review patient manifest with Medical Response Team and Chief of Staff.  Coordinate revisions to triage supplies identified in Appendix  for necessary equipment, medications and supplies.

2.  Assemble triage team at the ambulance garage three hours prior to expected arrival of aircraft at Metro-Airport.

3.  Direct loading of Triage and transport supplies from SPD.  A crash cart, SPD triage box, and pharmacy triage box will go to the Triage site at the airport.  There are four separate transport boxes of Pharmacy and SPD supplies for transport from the airport to the VA.  One pharmacy and SPD box should be placed in each van, and two of each in the bus.

4.  The Nursing Triage Coordinator, or her designee, is responsible for obtaining a Doppler from the Emergency Room Drug Drawer.  The beeper for the ER Nurse is 707 if the Nursing Triage Coordinator, or her designee, is unable to obtain the Doppler.

5.  The Nurse Triage Coordinator, or her designee, is responsible for signing MS 10 mg injectable, a box of ten, from the Pharmacy. A green Controlled Substance Administration Record should be brought to the scene to record narcotics given.

6.  Airport reception:

a.  Reviewing any changes in patient manifest or change in patient condition from the Airlift Clinical Personnel.

b.  Briefly assessing the patients' condition.  They will need to be placed on our stretchers with assistance of litter bearers.

c.  Document time last patient is off loaded from aircraft and triaged advise Emergency Preparedness Coordinator.

d.  Transport stable patients directly to transport vehicles.

Appendix F-7

e.  Unstable patients, or patients requiring further evaluation or urgent treatment, will be moved to a treatment area.  If necessary notify the Emergency Preparedness Coordinator in the Emergency Operations Center via cellular phone of the need for ACLS ambulance support.

f.  Admitting/Bed Control Coordinator will administratively process patients at the Triage site.

g. Don't give any information to the media.

h. The entire Triage team will return together.

i.  Handle any potentially contaminated dressings as hazardous waste.  Use red bags.

7.  Transport to the VA consists of monitoring patients enroute.  Supplies will be available in transport vehicles.

8.  Upon return to the VA:

a.  Patients will be brought in through the Ambulance garage and admitted directly upstairs via the freight elevator if possible.

b.  Unstable patients sent by Advance Life Support (ALS) will be taken to the ER.

- Families of victims will be escorted to the chapel or social work area and be kept informed of

casualty status by either Chaplins or Social Work staff.

10.  A de-briefing will be held in the Ambulance garage after all patients have been admitted.

Appendix F-8

- PATIENT CARE SERVICE

- POSITION:  ASSOCIATE DIRECTOR FOR PATIENT CARE

- ALTERNATE:  DIRECTOR OF NURSING

- FIRST ALERT TO STANDBY STATUS

1.  Upon notification of implementation of VA/DoD contingency plan:

a.  During Administrative hours:

1)  Contact unit Managers and Nursing Triage Coordinator.

2)  Direct secretarial staff to initiate Facility and Service Cascade plan.

3)  Notify interdisciplinary staff of plan implementation.

b.  During non-administrative hours:

1)  Facility cascade notification will be implemented at 8 a.m. the next working, or sooner at the discretion of the Triage Coordinator if notification indicates receipt of casualties in less than 24 hours.

2.  Report manpower data to Emergency Preparedness Coordinator.

a.  Direct time keeper or secretarial staff to contact each Unit Manager to determine if staffing is at adequate levels if the plan is activated.  Obtain numbers of staff on AL > 3 days, extended sick leave and numbers of vacant positions.

b.  If supplemental staff may be required, advise Emergency Preparedness Coordinator of such.

c.  Assess need to cancel annual leave.

3.  Upon activation of contingency plan, submit monthly report to Chief, Resource Officer related to plan action by COB the 3rd workday following the close of each month (i.e., OT, special items, or equipment).

4.  Confer with ACOS, Education; Chief, Infectious Disease and/or Chief of Staff to determine special education needs, i.e., infectious disease update, chemical decontamination, new skills for change in patient population (burns).  Discuss this information with Unit Managers for provision of education based on identified needs.

5.  Confer with Nursing Triage Coordinator on establishing and preparing an active Nursing Triage Team.

6.  Remind Unit Managers and other key staff to review Emergency Preparedness with staff.

Appendix F-9

- NOTIFICATION OF ASSIGNMENT OF CASUALTIES

1.  Upon notification by Facility Cascade Plan that a patient manifest has been received and that we will be receiving casualties:

- Delegate secretarial staff to notify Unit Managers and interdisciplinary staff.

2.  Review patient manifest with Admitting/Bed Control Coordinator and Chief of Staff.

a.  Coordinate bed availability by reviewing patients who might be transferred or discharged.

b.  Designate bed classification for each patient on the manifest.  Assess potential OR and ICU requirements for patients.

c.  Determine type of transportation required and special equipment needs.

3.  Confer with Nursing Triage Coordinator to ensure he/she is aware of patient manifest and that Nursing Triage Team is prepared and is aware of special equipment/supply needs and patients clinical condition.

4.  Confer with Unit Managers to determine staffing needs to provide patient care, including transfer and discharge of current patients, and reception and admission of casualties.

a.  Assess need to cancel annual leave, require mandatory overtime, reassign staff to other units.

b.  Assess need for special equipment or supplies based on patient manifest.  Notify Central Supply Supervisor; Chief, Pharmacy; Chief, Respiratory Therapy of identified needs.

- MEDICAL CENTER PATIENT RECEPTION:

1.  Report to EOC at the time airport triage is occurring to receive information on change of patient condition and change in patient manifest.  Based on changes in the patient manifest, reassess assignments of staff and equipment needs; communicate changes via radio.

2.  Ensure adequate staffing levels for reception, admission, stabilization and ongoing care of casualties and current patients.

3.  Contact Chief, Psychiatry Service, Social Work and Chief Chaplain to provide stress management or debriefing related to reception and treatment of casualties.

4.  Continue to confer with other services based on needs of DoD casualties.

5.  Instruct all staff that release of patient information is limited.  Social security numbers and conditions are considered national security.

- Instruct all staff to not give any information to media sources.

- Assign each unit to bring stretchers and wheelchairs to the ambulance garage based on the

number of patients and their clinical condition from the patient manifest.

Appendix F-10

- Determine which units can send additional staff to assist in triage in the ambulance garage

when casualties arrive from the airport.  Patients will be briefly assessed for changes in clinical condition.  Vital signs are taken and stable patients are taken to their assigned bed.  Unstable patients are taken to the ER or ICU (if a bed is available).

9.  Assign transport staff if required for large numbers of casualties traveling from the airport.

10. Obtain a portable radio from the VA Police.

11. Confer with Unit Managers regarding unit readiness for reception of casualties.  Assess potential changes in staffing due to sick leave.  Assure each unit is adequately staffed through use of over time, reassignment of staff, supplemental staff.

12. Inform Unit Managers that the Emergency Preparedness Signal (the 4 ten ring fire alarm) is the signal that the EOC has received word that the casualties are enroute from the airport.  At that time, staff delegated to triage in the ambulance garage should report there, stretchers and wheelchairs should be taken to the ambulance garage, and Interdisciplinary staff should report to the Clinical Pool in the Patient Care Service Office for reassignment.

13. Inform EOC of problems or developing situations as they arise.

14. Contact the Emergency Preparedness Coordinator via radio or relay messenger for staffing, equipment, or transport needs.

15. Upon completion of triage in the ambulance garage, make walking rounds on each unit.  Assess problems, concerns and clinical issues.

16. Ensure adequate staffing levels for reception, admission, stabilization and ongoing patient care.

Appendix G-1

- SURGERY SERVICE DoD CONTINGENCY PLAN

1.  Upon notification of the activation of the DoD Contingency plan, the Chief, Surgery Service will identify and notify the triage team leader(s) that will be responsible for triage duties at the receiving airport.

2.  The following individuals will be notified of the activation of the contingency plan and will be put on alert:

- Chief, PV Section

- Chief, Ophthalmology Section

- Chief, Neurosurgery Section

- Chief, Orthopedic Section

- Chief, ENT Section

- Chief, Plastic Surgery Section

- Chief, Cardiothoracic Surgery Section

- Chief, Urology Section

- Chief, Anesthesiology Service

- Operating Room Head Nurse

3.  After receipt of the manifest, the appropriate section chiefs will be notified of the anticipated casualties that will necessitate their treatment assistance.  The chiefs of the sections that will be receiving casualties will be responsible for assuring that a surgeon from their specialty is available at the VA Ann Arbor Healthcare System at the time of arrival of patients.

4.  In the event that the medical center is designated to receive casualties that will require surgery, all elective operations will be canceled starting on the date that casualties are scheduled to arrive at the medical center.

5.  The triage physician in charge will coordinate the triage of patients at the receiving airport and determine the need for immediate transport by advanced life support ambulance.  The condition of each patient will be assessed briefly at the airport by the Triage physician and nurse.  Vital signs and pertinent patient information will be recorded on the DoD 602 or Medical Emergency Triage tag which will be torn to the correct color to reflect priority for transportation.  Stable patients will be transported for processing directly to their ward.

6.  The Chief, Surgery Service or his/her designee will be assigned to the medical center triage area and will be assigned to triage incoming patients at the triage/receiving area.  Patients requiring emergent surgery will be sent directly to the operating room where they will be received by the OR staff and the surgeon from the appropriate specialty.  Other patients will be sent to the Intensive Care Unit or general units as appropriate.

7.  The Surgery Service Administrative Officer will confer with the Chief of Staff's office to verify when the DoD Contingency Plan has been deactivated.

Appendix G-2

- PHARMACY SERVICE PROCEDURES

1.  PURPOSE:  To establish procedures for providing pharmacy services during an AAVAMC Department of Defense emergency.

2.  PROCEDURES:

a.  All pharmacy staff will comply with procedures outlined in medical center policy 00-10, Medical Center Emergency Preparedness Plan.  In specific, VA/DoD Contingency Plan will be followed.

b.  Notification will be through the medical center's facility cascade plan.  When Pharmacy Service is contacted, the individual receiving the call will be responsible for recording an accurate, complete message and will:

1)  Call the next person on the cascade to pass along the message.

2)  Alert the Chief Pharmacy (in his/her absence a pharmacy supervisor) who will coordinate the response.

c.  The response coordinator will initiate the Pharmacy Service Emergency Telephone Chain of Communication and will call in as many pharmacists and technicians in their opinion are necessary to provide services.

d.  Pharmacy Service's main responsibility during the external disaster is to ensure that an adequate supply of medications, IV solutions, and IV tubing are available to the physicians and nurses providing patient care at the triage site.  Pharmacy personnel will also be responsible for preparing IV Admixtures and providing drug information to the other health care team members.

e.  A designated clinical pharmacist will be responsible for contacting key members of the disaster team to review any special drug needs or IV solution needs above the beyond those regularly supplied during a disaster.  These drugs will be urgently obtained with the assistance of the management assistant and procurement technician.

f.  As soon as the plan is activated, a pharmacist will prepare the necessary drugs, IV solutions and tubing for transport to the disaster site.  A triage drug locker will be maintained and updated on a regular basis.  Drugs needed for the disaster have been determined by a multi-discipline committee of physicians, nurse and pharmacists.  Approved drugs and supplies will be reviewed and updated at least every two years.

g.  A pharmacist and pharmacy technician may accompany the drugs and supplies to the triage site.  The pharmacist should contact the Nurse Triage Coordinator (Head Nurse Ambulatory Care) for direction and to ensure transportation.  Additional staffing will be contingent on the complexity of the disaster.

h.  The disaster pharmacist will be responsible for maintaining a record of all drugs, IV solutions and tubing issued to disaster patients.  This includes high cost products.  the Pharmacy Service disaster coordinator will ensure that a supply line is maintained with the disaster pharmacist and/or technician to ensure a continued supply of drugs and supplies.

i.  A list of all drugs, IV solutions and tubing will be submitted to the Chief, Pharmacy at the conclusion of the disaster.

Appendix G-3

j.  Pharmacy Service staff will receive an initial orientation to the emergency preparedness plan within the medical center and will receive an annual refresher course thereafter.

Appendix G-4

- FOOD PRODUCTION DoD CONTINGENCY PLAN

- 1.  PURPOSE:  To provide information/instructions on obtaining nutrition services and support from the department.

- 2.  POLICY:  To provide nutritional and support services as indicated by the nature of the emergency.

- 3.  PROCEDURES:

a.  Food Production Supervisor (extension 5680/7968) shall be officially notified of the nature of the emergency by the EOC.

b.  During regular hours (8 a.m. to 4:30 p.m.), activate the following:

1)  Prepare "ready to consume" beverages and supplies to be provided for patients and emergency personnel.

2)  These items will be packed for transport and taken to the designated site.

3)  Beverages and supplies will include, but not be limited to:

| Items Coffee, Decaffeinated Tea bags Sugar, granulated Sugar, substitute (Equal) Creamer, non-dairy Water, bottled Carbonated beverages, clear *Hot water cups *fruit juice *Fresh fruit *Cheese *Crackers | Containers Individual packages Individual packages Individual packages Individual packages Individual packages 64 oz plastic jugs 12 oz cans Cambro 8 oz, 50/sleeve Plastic containers Each Round Packages | Amounts 100 (1 box) 100 (1 box) 250 100 150 4 12 6 gal 100 12/4 oz 25 pieces 2 50 |
| --- | --- | --- |

4)  All the above items will be stored in the storeroom located adjacent to the service elevators.  Items will be located inside the storeroom to the left on the second and third shelves, labeled "Emergency Beverage Supplies".  Exceptions - (*) items.

5)  After patients are admitted to the medical center, meal schedules will be followed according to established policy.

c.  Procedures for irregular hours.

1)  (4:30 p.m. to 7:30 p.m., 6 a.m. to 8 a.m.)  Food Production Supervisor or Food Service Foreman (extension 7969) will be notified by the EOC of the nature of the emergency.

- Procedures will be followed as outlined above procedures in b. 1, 2, 3.

Appendix G-5

3)  (7:30 p.m. to 6 a.m.)  The transportation coordinator and assigned medical center police will sign for and obtain two (2) sets of Dietetic keys, labeled "Storeroom/basement" and "Supervisors" from the switchboard.

4)  Procedures shall be followed as outlined above procedure in b. 2 and 3.

5)  Keys must be returned to the switchboard for the service's use for the next work shift.

6)  Assess and evaluate the need for Call Back of Food Production personnel to provide nutritional services and support.

- 4.  RESPONSIBILITIES:  The Food Production Supervisor has the overall responsibility for the implementation of the service VA/DoD Contingency Plan.

- 5.  TEST AND EXERCISES:  Test and exercises will be activated in conjunction with the Medical Center Emergency Preparedness Plan.

Appendix G-6

- VA/DoD CONTINGENCY PLAN - LABORATORY SERVICE

- 1.  PURPOSE:  To outline the functions and responsibilities of Laboratory Service in the event of a VA/DoD contingency.

- 2.  POLICY:  To provide Laboratory service personnel with instructions which would enable them to provide services in the event of a VA/DoD contingency.

- 3.  FIRST ALERT TO STANDBY STATUS

a.  Evaluate the Laboratory Service staffing to be able to provide optimal staffing on all shifts upon receipt of casualties.

b.  All sections will assure that there will be adequate supplies, specialized equipment, reagents and test kits, etc. available in the event that the hospital receives casualties.

c.  The Chief, Laboratory Service/Supervisor of Blood Bank will assure that adequate blood and blood products will be available in the event that the receives casualties.

- 4.  NOTIFICATION OF RECEIPT OF CASUALTIES

- a.  Blood Bank Section:  Supervisor:  Joe Mraz

1)  Check on the availability of blood and blood products on station and from the American Red Cross.

2)  Request additional blood bank qualified personnel to supplement type and crossmatch capabilities.

3)  Request one or two additional persons to serve as couriers to transport specimens to Laboratory Service and blood/blood products to the operating room.

- b.  Hematology Section:  Supervisor:  Nancy Hacker

1)  Realign staff as needed to maintain essential services and release persons as needed for phlebotomy or courier service.

2)  Realign staff, if required, to send two persons capable of performing phlebotomy, microhematocrit determinations and routine urinalysis to the 4W treatment room with the appropriate supplies (phlebotomy tray, microhematocrit centrifuge, capillaries, sealant, reader, bottle of N-Multistix plus reader card.

- c.  Chemistry Section:  Supervisor:  Roger Smith

1)  Realign staffing as needed to provide optimum support for blood gas and Chem-7 determinations.

- Prepare to release persons as needed to supplement the Phlebotomy Team and/or other sections of the Laboratory Service.

Appendix G-7

- d.  Microbiology Section:  Supervisor:  Mike Rosloniec

Be prepared to release persons to supplement other sections of the Laboratory Service as needed.

- e.  Phlebotomy/Central Receiving Sections;  Supervisor:  Rose Yurko

1)  Ensure adequate staffing of the Outpatient Phlebotomy Team.

2)  Dispatch, on request, 2 or 3 persons qualified to perform phlebotomy to the Triage Area near the admitting entrance.

f.  Morgue Section:   Attendant:  Bill Everette

- Be prepared to process bodies into and out of Morgue.

- SOCIAL WORK RESPONSIBILITIES - VA/DoD CONTINGENCY PLAN  (Appendix G-8)

| Activity/Responsibilities a. Placement and/or transfer of patients who are non-acute and non-service connected, to community or other VA facilities, in order to vacate beds needed for VA/DoD Contingency Plan b. Facilitating a support group(s) for employees who experience stress from the situation, i.e. reaction to working with trauma patients. c. Lodging and counseling (support groups) service for families. d. Participate in Joint Conference Center to identify/resolve problems. | Contact Person SW Office Extension 7930 SW Office Extension 7930 SW Office Extension 7930 SW Office Extension 7930 | Time Frame In accordance with Medical Center VA/DoD Contingency Plan Initiate within first week of casualty admission Initiate within first week of casualty admissions Upon (or prior to) activation of the Contingency Plan | Decision Points Service Interaction(s) Business Office (Bed Control) is lead service. SWS will coordinate with Business Office and ward teams. SWS will coordinate with Psychiatry and Psychology Services, and Employee Health. SWS will coordinate with Public Relations, Chaplain Service and other services as appropriate. Social work representative will work with VA/DoD Coordinator, and representative from COS office, Business Office and Patient Care. | Staff Assignments Those Social Work staff assigned to specific bed services. To be assigned To be assigned To be assigned |
| --- | --- | --- | --- | --- |

VA Ann Arbor Healthcare System                                                            VA/DoD Contingency Plan

Ann Arbor, Michigan                                                                                                              April 2002

Appendix G-9

- FACILITIES MAINTENANCE

- POSITION:  Facilities Maintenance Supervisor

- FIRST ALERT TO STANDBY STATUS:

1.  Confer with Nurse Triage Coordinator regarding cleaning supplies and linen requirements for patient reception (will also maintain increased levels of supplies and linens).

2.  Upon activation of plan, a total of 40 each (towels, pillows, wash cloths, sheets, pillow cases, blankets) will be stored for a minimum of 25 casualties in the Equipment/Supply Triage Area, SPD.

a.  The Clothing Room Clerk will put the cart off to the side of the Triage Area and return to the Linen Room to stand by.

b.  Confer with VAMC Battle Creek Laundry to replace inventory of linens that are needed.

3.  Confer with Facilities Management to identify options for temporary storage of patient clothing, if required.

- NOTIFICATION OF ASSIGNMENT OF PATIENTS

1.  Bed Cleaning – Collaborate with Patient Care Services to determine bed cleaning needs.  Coordinate staff to accomplish bed cleaning.

2.  Inventory of Patient Belongings - Realign staffing as needed to inventory clothing, and coordinate with Facilities Management for storage if there is not enough storage available in the Clothing Room.

Appendix G-10

- ADMISSIONS QUICK REFERENCE

- VA/DoD PREPARATION AND TRANSPORT

- 1.  Implementation of VA/DoD Contingency Plan

a.  Call from ASMRO received by AOD/Operator who completes ASMRO notification report

b.  A manifest is received showing name, social security number, diagnosis and whether litter, w/c or ambulatory.

c.  Manifest is reviewed by the Triage Response Team consisting of COS, Chief of Surgery, Ambulatory Care Clinical Coordinator, ADPCS, Chief of Surgery, Emergency Preparedness Coordinator, Admitting and Associate Director to determine

1)  where patient should be admitted and

- transportation required

- supplies, equipment, medication and personnel required

d.  Preliminary Disposition & Airport Triage Worksheet is prepared from manifest for team use with copies to appropriate services to prepare for receipt of patients.

e.  Transportation is arranged by the Bed Control Coordinator with Grounds & Transportation and Huron Valley Ambulance, if necessary.

f.  Beds are made available for admission of these patients by discharging and transferring patients to secondary facilities Battle Creek and Saginaw.

- 2.  Prepare for Patients

a.  Patients are frontloaded in computer for admission

b.  Records and ID bands are made up for admission

1)  Civil defense tags will also be made up for each patient

2)  The ID band will not have ward entered on it.

- Packets placed in bins for trip to airport.

c.  Other items needed for

- Laptop for communicating back and forth with medical center

- Cellular Phones

- Blank Admitting packages

d.  Prior to leaving for airport, number of stretchers required and wards they are tentatively going to will be reported to Associate Director for Patient Care.

- Appendix G-11

- 3.  At the Airport:

a.  The administrative team member assigned to the Nurse Triage person triaging patients off the plane will have a Preliminary Disposition & Airport Triage Worksheet to update information.

b.  Patients will be tagged with a Medical Emergency Triage Tag and ID band.

c.  Administrative team members will ask patients if they have valuables they want to turn in and receipt for them with another VA employee.

d. Administrative team member will check off baggage received with each patient.

e. Administrative team member will check off military medical record received with each patient.

f.  When all patients have been triaged and dispositioned, Business Office administrative team leader notifies Emergency Preparedness Coordinator in EOC that all patients are going to original disposition except . . . (give changes in ward) and the number of stretchers needed is the same or give additional number of stretchers or equipment needed on arrival.

g.  Prior to departure, Business Office administrative team leader will verify that all patients have been accounted for.

- VA/DoD CONTINGENCY PLAN - PRELIMINARY DISPOSITION & AIRPORT TRIAGE WORKSHEET  (Appendix G-12)

TIME TRIAGE TEAM ARRIVED:               TIME PLANE ARRIVES:                TIME TRIAGE TEAM DEPARTED AIRPORT:

| NAME S/S NUMBER | DIAGNOSIS WARD/SERVICE | TRANSPORT ** REQUIREMENTS ACLS/BLS/VAN | ACTUAL WARD | TRF TO NON-VAH HOSP/ER NAME | TIME PATIENT LEFT AIRPORT | TIME PATIENT LEFT AUDIT. | PERSONAL VALUABLES YES / NO |
| --- | --- | --- | --- | --- | --- | --- | --- |

- REVISED 4/03  ** ACLS - Advance Life Support Ambulance  BLS - Basic Life Support Ambulance VAH - Bus or Van

VA Ann Arbor Healthcare System                                                            VA/DoD Contingency Plan

Ann Arbor, Michigan                                                                                                             April 2003

Appendix G-13

- VA POLICE

- 1.  PURPOSE:  To establish procedures for Police Service to follow when the medical center VA/DoD contingency plan is activated.

- 2. VA POLICE TEAM PROCEDURES:

a.  Upon Initial notification of plan activation the VA Police officer on duty will:

  - Notify the Chief, VA Police and Police Supervisor.

  - Initiate a recall of all VA Police officers as directed by the Chief, or higher command authority using the call back list located in the Police office.

b)  Advise on availability of staff.

c)  Advise local authorities of plan activation and coordinate assistance as required.

d)  The Chief of Police or Police Supervisor will assess the potential for external threats to the medical center's security associated with the conflict and VA's support role.  Consider restriction of entrances to the medical center.

- 2.  UPON NOTIFICATION THAT THE VA WILL BE RECEIVING PATIENTSTHE VA POLICE WILL:

a. Chief of Police or Police Supervisor will have all available VA police officers report for duty.

b. Prepare for the following functions as directed by the command authority and in accordance with the Medical Center's Emergency Preparedness Plan:

1)  Control ingress to the medical center.

2)  Direct all media to the designated media center.

3)  Provide traffic control.

4)  Provide emergency communication equipment.

5)  Meet and direct incoming emergency vehicles.

6)  Provide security at casualty treatment areas.

7)  Contact the manpower pool for assistance as required.

8)  Provide other assistance as needed or directed by command authority.

3.  ANNUAL TRAINING:  This plan will be reviewed with staff annually.  Recommendations and documentation of training will be recorded in staff meeting minutes.

Appendix G-15

# Transportation Section

This supplement provides specific instructions regarding preparations, transporting, receipt and processing of casualties upon formal activation of the VA/DoD Contingency Plan.  Where specific instructions are not provided, following procedures currently established in the Emergency Preparedness Plan.

ACTIVATION OF PLAN – PHASE I – PLANNING

1.  Upon notification of the activation of the VA/DoD Contingency Plan, Transportation Foreman will implement the appropriate notification of personnel commensurate with the scope of the activation (i.e., alert status vs. implementation).  The foreman will identify and coordinate assignment of additional personnel as needed from Facilities Management.

2.  The Foreman and designated personnel will assess the readiness of all vehicles and staff.  Passenger vehicles and buses will be converted to litter vehicles as required.

FUNCTIONS & RESPONSIBILITIES –PHASE II & EARLY WARNING

1)  The Foreman is responsible for maintaining a current assessment (see Appendix G-8a) of available government vehicles and for coordinating appropriate transportation for DoD casualties and veteran patients with the Admitting/Business Office Coordinator and will contact commercial resources, if required.

2)  The Foreman is responsible for designation and training of drivers and litter bearers.  Assigned drivers and litter bearers are indicated on Appendix G-11b.  Training will be conducted in conjunction with annual testing of the Emergency Preparedness External Casualty Reception Plan.

3)  In preparation for casualties, patients that can be discharged will be. Discharge patient transportation will be conducted as directed and coordinated with the bed control officer and social work service.  Patients reassigned to other facilities will be transported as required.

4)  Each vehicle will have the capability of radio communications, with the medical center dispatcher prior to departure to in response to this plan activation.  All radios must be left on during any plan activation.

5)  Designated litter/stretcher bearers will be assigned to accompany each driver.

Appendix G-16

- PROCEDURES - PHASE III - FULL PLAN ACTIVATION - IMPLEMENTATION

a.  Medical Center Staging Area for Support Personnel & Triage Team

1)  Equipment, linen, and supplies cart(s) and pharmacy cart(s) will respond the Ambulance entrance in preparation for response to airport.  The Triage Patient Reception Team and support personnel will assemble in the ambulance garage three hours prior to the estimated time of arrival of the aircraft.  Drivers and litter bearers will load the vehicles, as directed by the Triage Team Leader.  The Team Leader will also ensure required special equipment is transported. All personnel will then be transported to the Wayne County Emergency Operations Center to be processed through prior to going to the patient reception hanger.

2)  The support personnel includes driver, litter bearers, the Safety Specialist, Public Relations Specialist and additional nursing personnel, as required, to monitor patients during transport.

3)  All personnel responding to the airport for patient reception will wear their VA picture ID badges.

b.  Airport & Transportation

1)  Drivers shall check all fourteen items on the driver instructions/checklist (see Appendix G-20) prior to leaving the facility for the airport.

2)  Airport security is controlled by the Wayne County Sheriff Department.  All VA vehicles and staff will be processed through this check point prior to proceeding to the assigned aircraft hanger.

3)  If any of the vehicles requires emergency road service, refer to Appendix G-19 for list of current service stations and procedures.

c.  Patient Reception Area:

1)  Unloading and receipt of casualties from the aircraft will be performed under the direction of the Military Air Lift personnel.

2) Changes in the patient's condition during the flight may necessitate changes in transportation to the hospital and bed assignment.  The Team Leader (Director of Primary Care or Surgeon) will immediately call the Emergency Preparedness Coordinator for casualty transportation. In the event Air Life Support (ALS) is needed, the ALS ambulance will be arranged by the Airport Emergency Operations Center.

d.  Upon arrival at the hospital

1)  Stable patients will be brought through the ambulance garage and directly admitted to their assigned beds and units.

2)  Unstable patients will be brought through the ambulance entrance and taken directly to the ETR and turned over to the triage reception team.

A Ann Arbor Healthcare System                                                                              VA/DoD Contingency Plan

Ann Arbor, Michigan                                                                                                                             April 2003

Appendix G-16

- VA/DoD VEHICLE INVENTORY

| VEHICLE ID | CAPACITY | PORT-ABLE RADIO | CALL SIGN KLM 478 | REMARKS |
| --- | --- | --- | --- | --- |

| Dodge Caravan 2003 | 8 passengers |  |  |  |
| --- | --- | --- | --- | --- |

| Dodge Caravan 2003 | 8 passengers |  |  |  |
| --- | --- | --- | --- | --- |

| Blue Bird Bus | 26 passengers |  |  | To be used to transport Triage Team |
| --- | --- | --- | --- | --- |

| 1993 Ford Truck Covered | 2 ton |  |  | To be used for transport of med equip & supplies |
| --- | --- | --- | --- | --- |

VA Ann Arbor Healthcare System                                                            VA/DoD Contingency Plan

Ann Arbor, Michigan                                                                                                                  April 2003

Appendix G-17

- DRIVER & STRETCHER BEARER LIST

- Coordinator

| Normal Duty Hours |  |  |
| --- | --- | --- |

| Van Team Number | Driver | Helper |
| --- | --- | --- |

| 1 | Bob Furgason | Russ Fulmer |
| --- | --- | --- |

| 2 | Bill Bennett | Phil White |
| --- | --- | --- |

| Supply Van | Driver | Passenger |
| --- | --- | --- |

| 1 | Carmen Saucedo | Rick Steed |
| --- | --- | --- |

| Irregular Hours |  |  |
| --- | --- | --- |

| Van Team Number | Driver | Helper |
| --- | --- | --- |

| 1 | Bob Furgason |  |
| --- | --- | --- |

| 2 | Bill Bennett | Lem Frye |
| --- | --- | --- |

| Supply Van | Driver | Passenger |
| --- | --- | --- |

| 1 | Rick Steed |  |
| --- | --- | --- |

NOTE:  All healthy Facilities Management employees may be asked to serve as alternates to the above position, with the exception of bus drivers.

Transportation team leader for each activation will be the driver of the primary patient vehicle.  If multiple vehicles are used, the bus driver will assume leader duties.

Appendix G-18

- EMERGENCY ROAD SERVICE CONTACTS FOR VA/DoD VEHICLES

1.  If any patient transport vehicle becomes disabled for any reason, perform the following immediately:

a.  Notify AOD or Operation's Foreman by radio of status and location.

b.  Request that private ambulance be dispatched immediately to pickup patients.

c.  Request the following garages be contacted for assistance:

- 1)  Trucks and Vans (mobile units #1, #2, #3 and #4):

(a)  Plymouth & Broadway Shell

1800 Plymouth Rd.

Ann Arbor, Michigan 48105

(734) 662-2444

Appendix G-19

- DRIVER INSTRUCTIONS/CHECK LIST

- MOBILE UNITS #1, 2, 3, 4 ONLY

1.  Check in with AOD or Operations Foreman upon arrival at VAMC.

2.  Place VA ID Badge on outside of coat.

3.  Ensure vehicle is clean, full of gas and tires are inflated.

4.  Retrieve and load.

5.  Check status of accompanying Triage Team Vehicle and Supply Van.

6.  Perform radio check with AOD or Operations Foreman prior to departure.

7.  Proceed to Wayne County EOC at Detroit Metro Airport and identify yourself and purpose.

8.  Follow escort to appropriate hanger.

9.  Follow instructions of Triage Team Leader or Military personnel.

10. Upon arrival at VAMC, deliver patients to ambulance entrance and perform unloading procedure.

11.  Fill vehicle with fuel (utilize GSA credit card at Amoco station at Plymouth and Green road intersection) for gas vehicles.  All diesel vehicles will be filled at the VAMC boiler plant.

12. Clean and restock van (blankets, sheets, PPE kit, et.)

13. Park vehicle in designated area and turn in keys.

14. Check out with EOC, AOD or Operations Foreman prior to leaving facility.

Appendix G-20

- HUMAN RESOURCES

- POSITION: Human Resources Supervisor

- FIRST ALERT TO STANDBY STATUS:

1.  As notified via facility cascade system, activate service level cascade notification plan.

2.  Review and update medical center capability assessment.

3.  Confer with key services and brief management on key staffing issues.

4.  Advise AFGE Local of necessary policy variations.

- NOTIFICATION OF RECEIPT OF PATIENT:

- Upon receipt of patients, activate manpower pool.

Appendix G-21

- CHAPLAIN

- 1.  STAFFING:

a.  Personal leave for chaplains will be approved on a limited basis.  Leave will be judiciously monitored throughout the national crisis so that at least one staff chaplain is scheduled for a daily tour and available on an on-call basis.

b.  Present staff will be supported by minister/rabbis from the different faith groups:

1)  Protestant:

(a)  Inter-Faith Council

(b)  Contact persons:

(1)  The Reverend Charles Booker-Hirsch, (734) 663-5503

(2)  The Reverend Anna Marie Austin (Kidder?), (734) 662-4466

2)  Catholic:

(a)  Washtenaw Vicarate

(b)  Contact person:

(1)  Father Roger Prokof, St. Thomas (A2) - (734) 761-8606

3)  Jewish:

(a)  Hillel Foundation - Conservative, Reformed, Orthodox (check on this)

(b)  Contact person:

(1)  Rabbi Bob Levy (734) 665-4744

4)  Islam:

(a)  Islamic Center, (734) 665-6772

5)  Mormons:

(a)  Church of Jesus Christ of Latter Day Saints

(b)  Contact person:

c.  Volunteers will be used for pastoral care.

1)  First Presbyterian Church, (734) 662-4466

2)  Calvery Presbyterian Church, (734) 971-3121

Appendix G-22

3)  Zion Lutheran Church, (734) 994-4455

4)  Second Baptist Church, (734) 663-9369

5)  First Methodist Church, (734) 662-4536

- 2.  TRAINING:

a.  Present staff is trained/prepared to deal with diverse spiritual/religious needs of the soldier/veterans.

b.  Present staff is familiarized in dealing with military protocol regarding funerals.

c.  Volunteers are trained in pastoral care, sensitivity to diversity of faith, appropriateness of pastoral care, distribution of devotional materials and recording of visits.

- 3.  IMPLEMENTATION:

a.  Present staff are trained/prepared to deal with diverse spiritual/religious needs of the veterans.

1)  Chaplain Service will be notified of the arrival of soldiers at the medical center and their religious preference.

2)  Chaplains will meet each new arrival in a timely manner offering prayers and spiritual guidance as requested.

3)  Daily tours will prioritize seriously ill, surgery, PCU, intensive and new admit patients.

4)  Chaplains will be available to family and next of kin to greet them upon arrival when possible.  They will actively seek out family and next of kin offering prayers and spiritual guidance as requested.

5)  Families and next of kin will be assisted in locating local churches/temples, etc., as requested.

b.  Chaplain Service will interface with other services where feasible and needed and will assist in identifying those needs not specifically religious and will support veterans and family in accomplishing those goals.

1)  Chaplains will assist in housing requests by directing such requests through Social Work Service.

2)  Chaplains will assist in monetary requests by directing such request through Voluntary Service.

Appendix G-23

3)  Chaplains will assist in benefits request by directing such requests through the locally assigned Service Officers and Benefits Officers of the DoD Patient Assistance Team (PAT) as appropriate.

c.  Chaplain Service will interface with local churches and service organizations.

1)  Local main-line congregations and temples have been identified and will be notified of arrival of veterans from their particular faith group.

2)  Local congregations and temples as volunteers.

3)  Local service organizations are identified and will interface with Chaplains as requested.

(a)  Catholic Social Service

(b)  Friends In Deed

d.  Chaplain Service will interface with military counterparts.

1)  Local retired, semi-retired and inactive Army & Navy Chaplains are identified and will be contacted for support and input.

2)  Local military counterpart, Selfridge Air National Guard Base, will be notified for support as needed.

3)  DoD Chaplains will be utilized and supported as needed.

Appendix H

## GLOSSARY

ASMRO	Armed Services Medical Regulating Office, Scott AFB IL.  A Joint agency of the                                    Army, Navy and Air Force responsible for authorizing and coordinating transfers of                            military patients.

CHS	Contingency Hospital System - Combined health services of the Department of                                    Defense and Department of Veterans' Affairs.

EOC	Emergency Operations Center - Medical Center command center for coordination of                            this plan, public affairs, and information associated with implementation of CHS.

EPC	Emergency Preparedness Coordinator/VA/DoD Coordinator - Emergency Preparedness Coordinator.

EPP	Emergency Preparedness Plan - Current medical center policy for response to                                     emergencies.

FCC	Federal Coordinating Center - VAMC DETROIT; Medical treatment facility responsible for   	initiating and coordinating all NDMS activities.

NDMS	National Disaster Medical System - A joint National medical mutual aid system                                   developed by DoD, DHSS, DVA and FEMA to provide for medical needs of victims of a                       major disaster.

PAC	Patient Airlift Center - Air Force facility which will coordinate distribution of patients                           throughout the Continental United States.

PAT	Patient Administration Team (military) - Military personnel detailed from Wright                                  Patterson AFB, Dayton, Ohio, to handle soldiers' administrative matters, i.e., leave, pay,                     discharge, travel, and return to duty.

PRC	Primary Receiving Center - VAMC Ann Arbor is a PRC responsible for direct assignment                     of patients from ASMRO.

PRT	Patient Reception Team - The medical center triage team responsible for receiving and                        processing patients at the airport.

SSC	Secondary Support Centers - VAMC Saginaw and VAMC Battle Creek are SSCs.  Their                       bed availability, assignment of patients, and coordination with DoD is accomplished 	through the VAMC Ann Arbor.